Page 1

PHYSICAL ENVIRONMENT/FIRE SAFETY PRE-STRIKE QUESTIONNAIRE

1.	Have you consulted with the local police and fire department officials?  YES  NO

2.	What type of fuel or power is used for heating?

Electric         Oil           Natural Gas          Propane

If oil, tank capacity: _________________       Date last filled:____________

If propane, tank(s) capacity(ies)_________	  Date last filled:____________

Average daily consumption:____________ 	  Current capacity:__________

3.	Air Conditioning Systems:

(a)	Is a central or partial air conditioning system provided?      YES    NO   		(b)	The date is was last serviced: _________________________________________

(c)	Is a service contract in effect?      YES   NO

(d)	Name of service company: ___________________________________________

Town: ________________________ Tel. No. ______________________

4.        What type of fuel is used for cooking?Natural Gas:  Propane Gas:  Electrical

5.	Emergency Electrical Generator:

(a)	Type of fuel:    Diesel   Gasoline   Natural Gas   Propane 				Diesel or Gasoline:  	Size of tank _______________gallons

Date tank last filled:_________________________

Current capacity:    __________________________

Propane:		Size of tank(s) _____________gallons

Date tank last filled: _________________________

Current capacity:     __________________________

(b)	Do facility personnel know how to start the generator in the event the generator 			does not start automatically?        YES   NO

Specify Personnel:_________________________________________________

__________________________________________________

(c)	Date the generator was last serviced: ___________________________________

(d) 	Date the generator was last tested under full load conditions: ________________

(1)	Did the emergency generator and electrical systems function 				satisfactorily?  YES   NO

(e)	Date the generator batteries were last tested: ________  or replaced:__________

# Page 2

- Are all utility shut-off valves identified and maintained in a reference manual and is there staff on all shifts trained to shut off the valves in an emergency?  YES	NO

(a)	Where is manual located? ___________________________________________

7.	Fire Alarm System:

(a)	Date of last test: ______________Date of next inspection: ________________

(b)	Is the fire alarm control panel kept locked?   YES  NO

8.	Sprinkler System:

(a)	Date of last inspection: _______________

(b)	Date of next inspection: _______________

9.	Heating System(s)

(a)	Type _________________________________

(b)	Date last serviced: ______________________

(c)	Do you have a service contract?  YES    NO   NA

10.	Telephone System

(a)	Is the Telephone Equipment Room kept locked?  YES   NO

(b)	Do you have back up telephone system?               YES   NO  				If YES, explain the system:____________________________________

____________________________________

(c)	Is a pay telephone available?			          YES  NO

Indicate location and telephone number:________________ (    )________

(d)	If the internal facility telephone system is private, provide:

Name of Company____________________   Routine Number: ___________

Town: ______________________________   Emergency Number_________

11.	Fire Extinguishers

(a)	Date last inspected: ________________

(b)	Date kitchen hood system last inspected:  _______________

12.	Bomb Threats Contingency Plan

(a)	Has it been reviewed with the local police_______fire officials________?

YES ___ NO ____ Date of last review __________________________

By Whom: ________________________________________________

______________________________________

13.	Oxygen

(a)	What is the quantity of oxygen on hand? ___________________________

(b)	Approximate weekly use:  _______________________________________

Page 3

14.	Emergency Water Supply

(a)	Potable Water:

Vendor: _______________________________________________

Town:  _______________________________________________

Tel. No (s):  Day:______________ After hours: _______________

(b)	Bulk Carrier:	State Certified Carrier?        YES NO

Vendor: _______________________________________________

Town:  _______________________________________________

Tel. No (s):  Day:______________ After hours: _______________

15.	Method of Sewage Disposal (check)

(a)	Municipal Sewers______________________

(b)	Septic System:

1. Frequency of pumping out system:__________________________

2. Date of last service: _____________________________________

16.	Are reserves of emergency batteries for flashlights and essential equipment 			maintained in stock?   YES  NO

17.	Are all electrical panels identified as to circuits and kept locked?  YES  NO

18.	Are any construction or renovation projects currently underway?       YES    NO

(a)	What will be their status during a strike?

Continue to work__________; Cease all activities ________

Continue at a reduced rate _________________; or Other__________________

________________________________________________________________

________________________________________________________________