## DBP - Precursors
STATE OF CONNECTICUT
DEPARTMENT OF PUBLIC HEALTH
DRINKING WATER SECTION
DISINFECTION BYPRODUCT PRECURSORS MONITORING AND REPORTING FORM
1. Public Water System (PWS) Information:
PWSID:
PWS Name:
City/Town:
2. Analytical Results:
Lab Sample ID |  | Collection Date | Sample Type1 | Water System Facility ID | Sampling Point ID2 |  | CT Lab PH ID | Total Organic Carbon (TOC) (2920) (mg/L) |  | Alkalinity (1927) (mg/L)
Indicate (X) if individual analytical results were reported electronically:
3. Compliance Information: (Shall be completed and submitted quarterly)
Month | Year | A | B | C | D | E | F | G | H | I
|  | Source Water |  | Treated Water TOC | Actual % TOC Removed | % TOC Removal Required3 | Basis for Required Removal4 | Ratio of TOC Removed | Quarterly Average Ratio | Running Annual Average
|  | Alkalinity | TOC
|  | (mg/L) | (mg/L) | (mg/L) | (1-(C/B))x100 |  |  | (D/E)
January | bar: H to I
February | bar: H to I
March
April | bar: H to I
May | bar: H to I
June
July | bar: H to I
August | bar: H to I
September
October | bar: H to I
November | bar: H to I
December
1 Sample Type: RT - Routine, SP - Special
2 Sampling Point ID from approved Sampling Site Plan or as indicated in current Schedule of Water Quality Monitoring Requirements.
3 Obtained from Step 1 Required TOC Removal table or Step 2 required removal approved by the Department.
4 Enter 'Step 1' or 'Step 2' when using the calculated Ration of TOC removed for compliance. The utility may choose to assign a value of 1.0 in column G in lieu of the calculated value using one of the following list of alternative criteria:
A - Source or treated water TOC is less than 2.0 mg/L; RCSA 19-13-B102(j)(11)(A)(i)
B - Source water TOC RAA is less than 4.0 mg/L; source water alkalinity RAA is less than 60 mg/L; and either the TTHM and HAA5 RAAs are no greater than 0.040 MG/L and 0.030 MG/L; RCSA 19-13-B102(j)(11)(A)(ii)
C - TTHM and HAA5 RAAs are no greater than 0.040 mg/L and 0.030 mg/L, respectively, and the system uses only chlorine for primary disinfection and maintenance of a residual in the distribution system; RCSA 19-13-B102(j)(11)(A)(iii)
D - Source or finished water SUVA RAA is less than or equal to 2.0 L/mg-M; RCSA 19-13-B102(j)(11)(A)(iv)
E - RAA of treated water alkalinity of a system with an enhanced softening is less than 60 mg/L; RCSA 19-13-B102(j)(11)(A)(v)
F - RAA of treated water magnesium hardness of a system with an enhanced softening demonstrates a removal of at least 10 mg/L; RCSA 19-13-B102(j)(11)(A)(v)
Note on D17: Sample Type: RT - Routine SP - Special
Note on E17: Water System Facility ID as indicated in current Schedule of Water Quality Monitoring Requirements
Note on F17: Sampling Point ID from approved Sampling Site Plan or as indicated in current Schedule of Water Quality Monitoring Requirements