| DOCKET NO. 184A - Sprint Spectrum, L.P. d/b/a Sprint PCS and Litchfield Acquisition Corporation d/b/a AT&T Wireless Services amendment to the Certificate of Environmental Compatibility and Public Need for the existing telecommunications facility located at 20 Antolini Road, New Hartford, Connecticut. | } } } } | Connecticut Siting Council May 7, 2002 |
| --- | --- | --- |

Findings of Fact

Introduction

- Sprint Spectrum L. P. d/b/a Sprint PCS (Sprint) and Litchfield Acquisition Corporation d/b/a AT&T Wireless Services (AT&T) in accordance with provisions of General Statutes §§ 16-50g through 16-50aa applied to the Connecticut Siting Council (Council) on December 20, 2001, for an amendment to the Certificate of Environmental Compatibility and Public Need (Certificate) to an existing telecommunications facility at 20 Antolini Road, New Hartford, Connecticut.  On June 25, 1998, the Council issued a Certificate for construction of a 115-foot tower and equipment compound that accommodates AT&T, Nextel, SNET and South End Fire District.  Sprint proposes to increase the height of this existing monopole tower to 145 feet above ground level (agl) and expand the south fence line by four feet.  The purpose of the proposed facility is to provide personal communications service (PCS) to sections of U.S. Route 202 and State Route 219, in the Town of New Hartford, Litchfield County, Connecticut. (Sprint 1, pp. 1, 2, 5, and Exhibit D; Transcript (Tr.) dated January 24, 2001, 7:00 p.m., pp. 7, 12, 13, and 19)

- The party in this proceeding is the applicant. The Federal Communications Commission (FCC) licensed Sprint as the “B block” “Wideband PCS” license holder for the two-gigahertz PCS frequencies for the greater New York City area, which includes the entire state of Connecticut.  (Sprint 1, p. 1; Tr. pp. 5, 44, and 45)

- Public notice of the application, as required by General Statutes § 16-50l (b), was published in The Hartford Courant.  (Sprint 1, p. 3)

- Pursuant to General Statutes § 16-50m, the Council, after giving due notice thereof, held a public hearing on March 12, 2002, beginning at 7:00 p.m. in the South End Fire District meeting room, 20 Antolini Road, New Hartford, Connecticut.  (Tr., p. 3)

- The Council and its staff made an inspection of the existing tower site on March 12, 2002.  During this field inspection, the applicant flew a balloon at the site to simulate the height of the proposed extension.  (Sprint 1 p. 19; Council Pre-hearing Conference Notice dated February 5, 2002)

- As required by General Statute § 16-50l (e), Sprint provided the Town of New Hartford technical material on September 5, 2001, to propose an increase in height of an existing tower to locate Sprint’s antennas, and relocate existing antennas of South End Fire District, AT&T, SNET and Nextel to accommodate future collocation. (Sprint 1, p. 21)

- In November 1999, Sprint filed an application to build a new tower at 1074 Litchfield Turnpike, New Hartford.  The Town denied Sprint’s application requiring that Sprint consider collocating on existing towers such as the AT&T facility located at 20 Antolini Road before a new tower is built.  (Sprint 1, p. 16, and Exhibit S; Sprint 5, Timothy Keator Testimony)

Personal Communications Service Design

- Personal communications service (PCS) consists of low power transmitter/receiver stations known as cell sites.  The system design allows for a configuration of cell sites so that the same frequencies can be used at the same time in different cells (frequency reuse) and to provide uninterrupted service throughout a service area (hand-off).  (Docket No. 184, Finding of Fact No. 11)

- The location of cell sites is based upon key factors such as traffic demand, topography, site height, site availability, building density, and foliage. (Sprint 1, p. 8, Tab H; Docket No. 184 Finding of Fact No. 18)

- Sprint requires a minimum acceptable signal strength threshold of -94 decibels (dbm) to provide coverage in the New Hartford area.  Signal strength thresholds lower than -94 dbm may create coverage gaps within a cell’s coverage area that may prevent the establishment of a call or cause a call to be disconnected. Presently, a gap in coverage exists along Routes 202 and 219 in New Hartford and surrounding areas. (Sprint 1, p. 7, Exhibits E and H)

- Adjacent Sprint facilities that would hand off traffic with the proposed facility are as follows:

| Location | Distance and Direction from proposed facility | Status |
| --- | --- | --- |
| Garrett Road, New Hartford | 3.00 mi./east | Proposed |
| 1925-1930 East Main Street, Torrington | 3.24 mi./west | Operating |
| WSNG Radio Station - East of Route 72 and south of Route 4, Harwinton | 3.75 mi./south-southwest | Operating |
| 96 Powder Mill Road, Canton | 4.22 mi./east | Operating |
| O&G in north Torrington west of Route 8 | 4.50 mi./northwest | Proposed |
| Rust Road, Barkhamsted | 4.59/north | Proposed facility in Council Docket No. 182A |
| Executive Greetings, Greenwood Industrial Park, New Hartford | 4.90 mi./northeast | Operating |
| Burlington Town Library, Burlington | 4.90 mi./southeast | Proposed |
| Route 4 and Route 179 intersection, Burlington | 5.6 mi./southeast | Proposed |
| West of Route 202 and south of Route 4, Torrington | 6.00 mi./west-southwest | Proposed |

(Sprint 1, Exhibits E, H and O; Sprint 3, Qs. 1, 4 and 7)

Site Search

- In its search for a cell site in the New Hartford area, Sprint identified and investigated 3 potential sites, including the proposed site in the application.  The remaining sites were rejected because of inadequate coverage and Town of New Hartford preference for use of an existing tower. The other alternative would be construction of a new tower. (Sprint 1, p. 16; Sprint 5, Timothy Keator Testimony)

Need and Coverage

- In 1996, the United States Congress recognized a nationwide need for high quality wireless telecommunications services, including cellular telephone service.  The Federal Telecommunications Act of 1996 seeks to promote competition, encourage technical innovations, and foster lower prices for telecommunications services. Furthermore, the Federal government has preempted the determination of public need for wireless service by the states, and has established design standards to ensure technical integrity and nationwide compatibility among all systems. (Sprint 1, pp. 6-7; Telecommunications Act of 1996, Definition of Act, Sections 256, and 704)

- Coverage from existing and proposed facilities (see Finding of Fact # 11) within a two-mile radius of the Route 202 and Route 219 intersection indicates the following coverage gaps.  Gaps are defined as areas receiving less than -94 dbm coverage. The primary purpose of this application is to provide service to these gaps in coverage and provide hand-off capability to adjacent sites.

Existing Coverage

(See Appendix A)

| Route | Gaps (miles) < -94 dbm | Total Road Miles |
| --- | --- | --- |
| 202 | 1.3 | 4.85 |
| 219 | 1.6 | 2.00 |

(Sprint 1, Exhibit E; coverage model)

- Existing and proposed coverage combined with Sprint antennas on the proposed tower at a centerline height of 145 feet AGL within a two-mile radius of the Route 202 and Route 219 intersection as follows:

Proposed Tower at a centerline height of 145 feet AGL

(See Appendix B)

| Route | Gaps (miles) < -94 dbm | Total Road Miles |
| --- | --- | --- |
| 202 | 0.95 | 4.85 |
| 219 | 0.0 | 2.00 |

A tower of 300 feet would not provide complete coverage to Route 202 west of the proposed site; therefore, another tower would be required to provide coverage to the 0.85-mile gap along Route 202 west of the proposed site.  Presently, Sprint does not propose a site for this area of New Hartford.

(Sprint 1, Exhibit F coverage model; Tr. 1 pp. 23 and 33)

- Existing and proposed coverage combined with Sprint antennas on the proposed tower at a centerline height of 135 feet AGL within a two-mile radius of the Route 202 and Route 219 intersection as follows:

Proposed Tower at a centerline height of 135 feet AGL

(See Appendix C)

| Route | Gaps (miles) < -94 dbm | Total Road Miles |
| --- | --- | --- |
| 202 | 1.25 | 4.85 |
| 219 | 0.25 | 2.00 |

(Sprint 2, Q. 2; Sprint 7; Tr. 1, pp. 25-31 and 39

- Alternatives to monopole technology include microcell and repeater sites.  A microcell is a small version of a cell site.  A repeater is a low power system that borrows a channel from a nearby cell site and rebroadcasts it to a target area.  These alternatives fulfill small coverage gaps or provide service to a building but would not be applicable in the New Hartford area due to the large coverage gaps and the necessary height to place antennas would not alleviate the need for a tower.  (Sprint 1 pp. 15 and 16; Sprint 5, Anthony Wells Testimony; Tr. 1 pp. 31-39)

Proposed site

- The proposed site is an existing telecommunications facility owned and operated by AT&T Wireless Services and consists of a 115-foot monopole tower and three equipment buildings at the base of the tower within a 50-foot by 50-foot fenced compound.  (Sprint 1, p. 5; Sprint 3, Q. 7; Sprint 4, Alitz Abadjian Testimony; Tr. p.13)

- AT&T has a lease for a 75-foot by 75-foot area within an approximately 2.4-acre parcel of land owned by the South End Fire District.  This site is located approximately 105 feet east of Antolini Road with an elevation of 742 feet above mean sea level.  The South End Fire District property is zoned Residential (R-80). (Sprint 1, pp. 4, 5 and 13, Exhibit D)

- The New Hartford Zoning Regulations allow construction of antenna, towers, and communications facilities by special exception in any zone provided the tower is a minimum distance from any property line at least equal to the height of the tower. Also, the Town of New Hartford prefers locations of antennas or towers and wireless facilities be on existing structures, in locations where existing topography, vegetation, buildings or other structures provide the greatest amount of screening and have the least long range visual disturbance, or on town-owned land or buildings appropriate for a tower or antenna. (Sprint 1, pp. 4, 5 and 13, Exhibits D and S; Sprint 1a New Hartford Zoning Regulations; Docket No. 184 Finding of Fact No. 63)

- The proposed site is surrounded by land owned by the Town of New Hartford and is adjacent to the South End Fire District firehouse. Land use to the east is a salt storage area for the Town of New Hartford, to the south and east is the Ann Antolini Elementary School which includes town open space, to the west is wooded and undeveloped, and to the north are Routes 202 and 219. (Sprint 1, pp. 4, 5 and 13,  and Exhibit D; Docket No 184 Finding of Fact No. 33)

- Sprint would use an existing 12-foot wide by 110-foot long gravel covered access road. (Sprint 1, p. 8 and Revised Exhibit D; Sprint 4, Alitz Abadjian Testimony)

- Electric and telephone utilities exist at the facility that run 80 feet overhead from an existing distribution line and crosses Antolini Road then underground within the access road to the site. No permanent backup electrical system is proposed; however, Sprint relies on batteries for backup power and for outages lasting longer than 4 hours Sprint may use a portable electric generator. (Sprint 1, p. 8 and Revised Exhibit D; Tr. p. 20)

- There are no wetland areas within the existing leased parcel or within 100 feet of the compound. (Sprint pp. 9-10)

- There are two residential structures and an elementary school within a 1000-foot radius of the proposed alternate tower site. Both residences, one north and one southwest, are approximately 875 feet from the proposed site, while the elementary school is approximately 320 feet south of the proposed tower site. (Sprint 1, pp. 11and  13 and Exhibit I; Docket No. 184 Finding of Fact No. 33)

- The tower radius of the proposed 145-foot tower would cross the east and south property boundary by approximately 38 feet.  The Town of New Hartford owns the adjacent property. The facility site equipment buildings would be the only structures within the fall zone.  (Sprint 1, Exhibit D; Docket No 182 Finding of Fact Nos. 33 and 39)

- The estimated cost of construction for the proposed modifications to the facility would be:

Monopole extension 	$11,320

New platforms for all carriers	$19,200

Installation of platforms, antennas, and branching	$38,570

Ground site work and expansion of compound	$45,400

PCS radio equipment	$126,000

Total	$240,490

(Sprint 1, p. 19)

Facility Specifications

- Sprint proposes to extend the existing 115-foot monopole to a total height of 145 feet. Sprint proposes to install a 12-foot platform supporting 12 panel type directional antennas, four per sector, at a centerline height of 145 feet AGL.  A global positioning system antenna would be mounted at the 50-foot level of the tower.  (Sprint 1, Exhibit D; Sprint 3; Sprint 5, Alitz Abadjian Testimony)

- The existing compound would need to be expanded four feet on the south side to accommodate Sprint’s equipment. One tree would need to be removed for this expansion. Sprint would construct a new portion of the fence similar to the existing architectural design.  (Sprint 1, Exhibit D; Sprint 5, Alitz Abadjian Testimony; Tr. p. 19)

- Sprint would install an 8.5-foot by 20-foot concrete foundation within the fenced compound for equipment, a main power cabinet, secondary power cabinet, battery backup cabinet, and primary radio cabinet.  The foundation would accommodate three additional cabinets in the future. (Sprint 1, Exhibit D; Sprint 5, Alitz Abadjian Testimony; Tr. p. 19)

- AT&T proposes to relocate its 12 panel antennas on a 12-foot wide platform from its centerline height of 90 feet agl to an antenna centerline height of 135 feet agl.  AT&T holds a PCS license for Litchfield County, Connecticut and would proposes to provide data services.  AT&T would operate both at 1900 MHz frequency and at the 850 MHz frequency.  The minimum horizontal and vertical separation distance between PCS and cellular antennas is four feet and ten feet respectively. No modification to its equipment building is proposed. (Sprint 1, p. 6 and Exhibit D; Sprint 3; Sprint 5, Alitz Abadjian Testimony; EM-AT&T-005-018-031-055-068-092-111-125-153-162-168-011121, Edwards and Kelsey o/b/o AT&T Wireless Services; Tr. 57-59)

- Nextel currently has three omni directional whip antennas (14 feet long by 3 inches in diameter) at a centerline of radiation of 101 feet agl. Nextel proposes to remove these whip antennas and replace them with panel antennas on a platform at a centerline of radiation 125 feet.  This would increase coverage and possibly eliminate a future tower in the New Hartford area.  No modification to its equipment building is proposed. (Sprint 1, p. 6 and Exhibit D; Sprint 4; Sprint 5, Alitz Abadjian Testimony; Sprint 6)

- SNET proposes to relocate its 12 panel antennas on a 12-foot wide platform from its centerline height of 84 feet agl to an antenna centerline height of 113 feet agl. No modification to its equipment building is proposed. (Sprint 1, p. 6 and Exhibit D; Sprint 4; Sprint 5, Alitz Abadjian Testimony Sprint)

- South End Fire District proposes to relocate two whip antennas and siren on the top of the existing tower to the top of the proposed extension. (Sprint 1, p. 6 and Exhibit D; Sprint 4; Sprint 5, Alitz Abadjian Testimony)

- The tower and foundation is designed to a height of 145 feet and to accommodate up to six carriers.  Elevations for future carriers would be available at the 100-foot and 90-foot levels of the tower. The tower would be designed to withstand pressures equivalent to an 80-mph wind with one-half inch solid ice accumulation. (Sprint 1, p. 5 and Exhibit D; Sprint 3; Sprint 5, Alitz Abadjian Testimony)

- No air navigation marking and or lighting is proposed consistent with Federal Aviation Administration criteria. (Sprint 2, Q. 8)

Environmental Considerations

- There is no known or existing populations of federal or State endangered, threatened or special concern species occurring at the proposed site.  (Sprint 1, p. 12 and Exhibit L; Docket No. 184 Findings of Fact No. 50)

- The State Historic Preservation Officer determined that the proposed extension of the existing tower would have no effect with respect to historic, architectural, or archeological resources listed on or eligible for the national or State register of historic places.  (Sprint 1, p. 12- and Exhibit N)

- Noise associated with the construction of the proposed site would be temporary.  After construction, noise would be from the operation of an air-conditioning unit and from a portable emergency generator used during extended power outages. (Sprint 1, p. 11; Docket No. 184 Finding of Fact No. 55)

- A small amount of traffic would occur during construction.  After construction, Sprint would make monthly visits for inspection and maintenance.  (Sprint 1, p. 11)

- State Route 202 is designated as a State scenic road from the Canton/New Hartford town line for approximately five miles to just west of an intersection with Route 219. ( Sprint 2, Q. 10; Docket No. 184 Finding of Fact No. 55)

- Visibilities of existing 115-foot tower and proposed 145-foot tower.

| New Hartford Locations | Distance / Direction | Existing 115-foot Tower Visible? | Proposed 145-foot tower with extension Visible? |
| --- | --- | --- | --- |
| Antolini School driveway | 0.10 mi./northwest | yes | yes |
| Route 219 and Route 202 intersection | 0.20 mi./southeast | yes | yes |
| Route 202 and Timberline Road intersection | 0.32 mi. /west | no | no |
| Carpenter Road north of Route 202 | 0.72 mi./southwest | no | yes |
| Route 202 in Bakersville | 0.71 mi./east | no | no |
| Route 202 and Carpenter Road intersection | 0.71 mi./west | no | yes |
| Route 202 | 0.95mi./west | no | yes |
| Route 202 | 1.60 mi./west | no | no |
| Vista from Valley Outlook Trail, Nepaug State Forest | 2.25 mi./west | no | no |
| Tipping Rock Trail, Nepaug State Forest | 2.60 mi./west | no | no |
| Tunxis trail | 2.00 to 3.00 mi./southwest | no | no |

(Sprint 1, p. 11 and Exhibit M; Sprint 2, Qs. 10, and 11; Docket No. 128 Finding of Fact 61 and 62; Tr. pp. 53 and 54)

- The cumulative worst-case electromagnetic radio frequency power densities for all carriers at the base of the proposed tower would be 27.55 percent of the 1992 American National Standards Institute (ANSI) standard as adopted by the FCC and the Connecticut Department of Environmental Protection General Statutes § 22a-162.  (Sprint 1, Exhibit Q; OET Bulletin No. 65, Evaluating Compliance with FCC Guidelines for Human Exposure to Radio Frequency Electromagnetic Fields, FCC, Office of Engineering and Technology, August 1997; IEEE Standard for Safety Levels with Respect to Human Exposure to Radio Frequency Electromagnetic Fields, 3 kHz to 300 Ghz, approved by the American National Standards Institute, November 18, 1992; Guidelines for Evaluating the Environmental Effects of Radiofrequency Radiation, Federal Communications Commission’s Report and Order, adopted August 1, 1996)

Appendix A

Existing Coverage

Green equates to coverage at -94 dbm or greater and white areas equate to no coverage.

(Sprint 1, Exhibit E)

Appendix B

Proposed Tower at a centerline height of 145 feet AGL

Green equates to coverage at -94 dbm or greater and white areas equate to no coverage.

(Sprint 1, Exhibit F)

Appendix C

Proposed Tower at a centerline height of 135 feet AGL

Green and black equates to coverage at -94 dbm or greater and white areas equate to no coverage.

(Sprint 2, Q. 2)