Petition No. 362

Connecticut Light & Power Company

Staff Report

November 21, 1996

On October 28, 1996, the Connecticut Light and Power Company (CL&P) petitioned the Connecticut Siting Council (Council) for proposed modifications to the North Bloomfield Substation to Agawam Substation (in Massachusetts), 115-kV transmission line, and modifications within the North Bloomfield Substation in Bloomfield, Connecticut.  CL&P proposes to reverse a bundling of two circuits into one circuit accomplished in 1981.  CL&P would remove the existing six 4/O (212 kcmil) ACSR conductors and replace them with six 556 kcmil SSAC conductors placed on the existing structures in reverse phasing configuration, thereby recreating a two-circuit line from Agawam to North Bloomfield.  Transmission line towers that do not have the structural integrity to support the new conductors, would be strengthened by reinforcing existing tower members or replacing undersized members where necessary.  Conductor suspension insulators would be converted to horizontal strain configuration to offset greater sags created by the heavier SSAC cables.  New non-ceramic insulators would replace existing porcelain disk insulator strings.

Within the North Bloomfield Substation, CL&P would install three 115-kV circuit breakers, two disconnect switches, a 150 MVAR capacitor bank, current-limiting reactors, and associated protective relay and control equipment.  All proposed additions would be lower in height than existing structures; would visually blend into the background of station structures; would not increase sound levels; would not be located in a 100-year flood zone, stream encroachment line, wetland, or waterway; would not contain PCB’s; and would not create radio or TV interference.

The proposed project and other related projects would allow CL&P to support voltage and increase the import of approximately 150 to 300 MW from generation sources outside the State.  The project is part of CL&P’s plans to reinforce the transmission system in preparation for alleviating Connecticut generation shortages during peak periods.

Construction would commence during the first quarter of 1997 and would be completed by mid-May 1997.

JMR:TEF:mmb