Petition No. 363

Connecticut Light & Power Company

Staff Report

November 21, 1996

On November 4, 1996, the Connecticut Light and Power Company (CL&P) petitioned the Connecticut Siting Council (Council) for proposed modifications within the existing Southington Substation, located off Belleview Avenue in Southington, Connecticut.  CL&P proposes to install a 115-kV, a 150 MVAR capacitor bank, two circuit breakers, three current-limiting reactors, three circuit switchers, two disconnect switches, associated protective relay and control equipment, and extend the 115-kV bus on the north side of the substation.  All proposed additions would be lower in height than existing substation structures; would visually blend into the background of station structures; would not increase sound levels; would not be located in a 100-year flood zone, stream encroachment line, wetland, or waterway; would not contain PCB’s; and would not create radio or TV interference.

The proposed project and other related projects would allow CL&P to support voltage and increase the import of approximately 150 to 300 MW of electricity into Connecticut from generation sources outside the State.  The project is part of CL&P’s plans to reinforce the transmission system in preparation for alleviating Connecticut generation shortages during peak periods.

Construction would commence during December 1996, and would be completed by the end of May 1997.

JMR:TEF:mmb