Petition No. 367

Connecticut Light & Power Company

Glenbrook Substation

Staff Report

February 5, 1997

On January 22, 1997, the Connecticut Light and Power Company (CL&P) petitioned the Connecticut Siting Council for proposed modifications within the existing Glenbrook Substation, located off Hamilton Avenue and Lincoln Street in Stamford, Connecticut.  CL&P proposes to install a 115-kV, 40 MVAR capacitor bank, one circuit switcher, and associated protective relay equipment on the south side of the substation.  All proposed additions would be lower in height than existing substation structures; would visually blend into the background of station structures; would not increase sound levels; would not be located in a 100-year flood zone, stream encroachment line, wetland, or waterway; would not contain PCB’s; and would not create radio or TV interference.

The proposed project and other related projects would allow CL&P to support voltage along existing transmission lines from importation of electricity into Connecticut during the time the Long Island Sound 138-kV submarine transmission line is out of service.

Construction is expected to commence in February 1997, and to be completed by the end of June 1997.

Thomas E. Fanning, Jr.

Siting Analyst

TEF:mmb