Petition No. 441

Omnipoint Communications

Staff Report

December 8, 1999

On December 6, 1999, Connecticut Siting Council (Council) member Edward S. Wilensky, and Council staff Steve Levine met Omnipoint representatives Brendan Sharkey, Chetan Dhaduk, and Brian Raggozine in Redding for inspection of an electric transmission structure.  The structure is owned by Connecticut Light and Power Co. (CL&P).  Omnipoint, with the agreement of CL&P, proposes to modify the structure for telecommunications use and is petitioning the Council for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need (Certificate) is required for the modification.  Omnipoint submits that the proposed modification will not have a substantial adverse environmental effect and will reduce the need for new telecommunications towers by utilizing an existing structure.

Omnipoint proposes to place a pipe-mount with two panel antennas atop existing CL&P structure #3275, which is located within the CL&P right-of-way between Route 7 and Mountain Road in Redding.  The monopole-style tower is 68 feet tall.  Associated equipment would be mounted on a new 7 ft. by 10 ft. fenced concrete slab poured near the base of the tower.  Access to the site would be by private easement along an existing driveway that leads to near the base of the tower.  Utility service would be routed underground along the driveway from an existing CL&P distribution pole.

As proposed, Omnipoint’s equipment would extend approximately 11.5 feet above the tower, bringing the total height to approximately 80 feet.  The antenna structure itself would consist of 5.5 foot-high antennas with approximately 6 feet of pipe showing between the antenna bottoms and the top of the lattice structure.  The pipe would be 4 inches in diameter, and the asymmetrical antenna cluster would measure between approximately 10 inches and 2 feet in width, depending on the direction of view.

The proposed antennas and associated equipment will not increase the noise levels at the existing site, under normal operating conditions, by six decibels or more.  The worst case power density for the telecommunications operations at the site has been calculated to be 2.52% of the applicable standard for uncontrolled environments.  Omnipoint contends that the proposed installation will not cause a substantial adverse environmental effect, and for this reason would not require a Certificate.