Petition No. 461

Connecticut Light and Power Company

Berlin Substation

May 24, 2000

On May 23, 2000, Gerald Heffernan of the Connecticut Siting Council (Council) and Robert K. Erling of the Council staff met Robert Charpentier, Aaron L. Goucher, and Charles Ponte of the Connecticut Light and Power Company (CL&P) for a field review at CL&P’s Berlin Substation.  CL&P is petitioning the Council for a determination that no Certificate of Environmental Compatibility and Public Need would be required for proposed modifications to the Berlin Substation.

CL&P proposes to install one 115-to 23-kV power transformer and one 23-kV feeder position within the Berlin Substation to improve electric reliability and provide load relief to the Town of Cromwell.

The location of the proposed work is not within a 100-year flood zone or wetland.  The area surrounding the site is wooded, and no homes were visible from the substation.  The highest of the proposed structures would not exceed 22 feet in height.

CL&P expects to begin construction in November 2000 and complete the project by the end of March, 2001.