Petition 504

Remote Meter Reading Project - Cell Master Units

The United Illuminating Company

Staff Report

April 12, 2001

On December 7, 2000, and April 4, 2001, Connecticut Siting Council (Council) member Gerald J. Heffernan and Council staff Paul M. Aresta met United Illuminating Company (UI) representatives Brian M. Horgan and Bohdan Katreczko for field reviews at Mohegan Road Drive, in Shelton, and Merrimac Drive, in Trumbull.  UI is petitioning the Council for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need would be required for the placement of an antenna and associated equipment on an existing telecommunications tower at Merrimac Drive in Trumbull, and on a 79-foot distribution pole at Mohegan Road Drive in Shelton.

UI proposes to install two Cell Master Units (CMU), each consisting of an approximately ten-foot high by three-inch diameter antenna and base station equipment at each of the two proposed locations.  Each proposed CMU would serve as a regional data collector for receiving transmitted metering information from micro cell controllers (MCCs), and then forward the metering data via land line to UI’s corporate headquarters.  The proposed base station equipment cabinet would be approximately 49 inches high by 44 inches wide by 20 inches deep.

At the Mohegan Road Drive site in Shelton, UI would replace an existing approximately 34-foot tall distribution pole (UI pole #9399) with a new 79-foot tall wooden pole.  The equipment cabinet would be mounted directly to the 79-foot wood pole approximately two feet above the ground.  The proposed CMU at Mohegan Road Drive in Shelton would transmit a signal to the MCCs it serves while operating at a maximum of five watts on one channel at a height approximately 79 feet above ground level for a predicted maximum electromagnetic power density of 0.046 percent of the applicable ANSI standard for the general population.

At the Merrimac Drive site in Trumbull, UI would attach the proposed ten-foot antenna at the 50 foot level of an existing approximately 60-foot tall steel monopole tower.  The proposed base station equipment cabinet would be mounted approximately two feet above the ground level to an approximately eight-foot tall wooden stub pole.  The proposed CMU at Merrimac Drive in Trumbull would increase the predicted maximum electromagnetic power density by 0.11 percent of the applicable ANSI standard for the general population, while transmitting a signal to the MCCs it serves at a maximum of five watts on one channel at a height approximately 50 feet above ground level.

UI has contacted each of the towns of the proposed installations.  UI contends that the proposed project uses existing structures and areas within rights-of-way or easements to the extent possible, minimizing the visual impact; and no wetlands would be impacted nor would any vegetation be removed or cleared.