Petition No. 587

Spectrasite Communications

135 Honey Hill Road

East Haddam, Connecticut

October 23, 2002

On October 15, 2002, Connecticut Siting Council members Colin Tait and Gerry Hefferan and Council staff member David Martin met with Julie Donaldson Kohler of Hurwitz & Sagarin who was representing SpectraSite Communications, which filed a petition for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is needed for the operation and maintenance of a wireless telecommunication facility located at 135 Honey Hill Road, East Haddam.

The existing facility consists of a 150-foot tall monopole with a 50-foot by 64-foot fenced in enclosure for accessory ground equipment. At the time of the visit, there were no wireless antennas on the pole. However, Nextel has received approval from the Town of East Haddam’s Planning and Zoning Commission to locate at the 150-foot level of the monopole. Under this petition, Sprint is seeking Council’s approval to share the use of this tower by locating its antennas at the 140-foot level. At the site meeting, Attorney Kohler informed Council representatives that Verizon is also interested in locating on this tower.

This facility was originally approved by the East Haddam Planning and Zoning Commission acting on an application for a Special Exception Permit submitted by Nextel. Following a public hearing held on May 8 and continued to June 12 and June 26, 2001, the Commission voted to approve Nextel’s application on July 10, 2001. Nextel received a building permit for the monopole on November 29, 2001. Completion of the tower occurred sometime after July, 2002. Subsequently, Nextel assigned its interests in the facility to SpectraSite.

The facility is located in a rural area with a few residences in the vicinity. Although there are some small trees planted along the enclosure’s fence line, woods and vegetation provide good visual screening from the nearest residences. Utilities to the site will come underground from Tater Hill Road, a dirt road approximately 650 feet away from the site. There is also a power right-of-way near the facility; the nearest lines are approximately 150 feet from the tower.

According to propagation maps submitted as part of this petition, this tower would enable Sprint to fill a sizeable service gap in the southern East Haddam area. Using radio frequency data submitted for Nextel and Sprint, Council staff calculates the power density of this facility to be 16.96% of the applicable federal and state standard.

It was the consensus of the Council members present that this facility does not represent a significant, adverse environmental impact.