Petition No. 653E

The Connecticut Light and Power Company

Branford 11J Substation

Branford, Connecticut

December 22, 2003

~~~

On November 10, 2003, The Connecticut Light and Power Company (CL&P) submitted to the Connecticut Siting Council (Council) a petition for a declaratory ruling that the addition of one 115-kV, 37.8 -MVAR capacitor bank, would not have a substantial adverse environmental effect and therefore would not require a Certificate of Environmental Compatibility and Public Need from the Council.  On December 10, 2003, Philip T. Ashton of the Council and Derek Phelps of the Council staff met Ali R. Karimi, Senior Engineer, CL&P Substation Engineering & Design, and Ray Gagnon, CL&P Project Engineer for a field review of this petition in Branford, Connecticut.

The work will take place at the Branford 11J Substation located on East Main Street in the Town of Branford.  See attached Key Map, Drawing No. SKWSP-100803.  This substation is fed from three 115-kV transmission lines and services the local distribution feeders through two step-down transformers.  The proposed work, which consists mainly of the addition of one 115-kV, 37.8 -MVAR capacitor bank, is needed to support voltage and to supply the necessary reactive component of power (VARS) necessary to the electrical.

The existing substation, as modified by the proposed new construction associated with this petition, is shown in plan form on Drawing No. 11401-92001.  The proposed construction includes: Installation of one, 37.8-MVAR, 115-kV capacitor bank; Installation of one 115-kV circuit breaker; Installation of one set of current-limiting reactors; Installation of one 115-kV disconnect switch; and Installation of associated protective relay and control equipment in an existing relay and control enclosure; and Installation of 115-kV underground cable and associated terminal structures

This new addition will be entirely contained within the existing substation fence and surrounded by existing structures and equipment.  Therefore, this addition will have essentially no visual impact.  All new structures will be of a lower elevation than the highest existing structure at the substation.  There will be no sound-level increase due to this installation.  The proposed project is not within a 100-year flood zone or any stream-channel encroachment lines.  No wetland or waterways will be affected.  There will be no television or radio interference from this proposed addition.  The capacitors' insulating fluid will not contain PCB contaminants, but contains a non-toxic mineral oil.

Construction is anticipated to begin during March, 2004 and to be completed by the end of May, 2004.

Staff recommends approval.