Petition No. 671

Connecticut Light & Power

Haddam Neck 14B Substation

Haddam, Connecticut

May 19, 2004

On May 6, 2004, the Connecticut Light & Power Company (CL&P) submitted a petition to the Connecticut Siting Council (Council) that no Certificate of Environmental Compatibility and Public Need would be required for proposed additions to the existing Haddam Neck 14B Substation in Haddam, because the proposed additions would not have a substantial adverse environmental effect.

On May 14, 2004, Edward S. Wilensky of the Council and Robert K. Erling of the Council staff met Richard Orlowski and Gerald Overbaugh of CL&P for a field review of this petition in Haddam.

CL&P is proposing to add a 95KW 120/140 volt single phase emergency generator within the substation.  The generator would be fueled by liquid propane.  The new emergency generator would replace the existing backup supply for the substation which was provided by the Connecticut Yankee Nuclear Generating Station.  This backup power supply is being removed as part of the decommissioning of Connecticut Yankee.  The Northeast Power Coordinating Council requires two independent sources of electrical power for a bulk power substation’s auxiliary equipment.

CL&P would install the emergency generators within the existing substation fence.  A new 1000 gallon liquid propane tank would be installed within the substation and be surrounded with a new security fence.  A concrete block safety wall would also be placed on two sides of the propane tank.

The Haddam Neck Substation in a location remote from any neighbors, and no visual or noise impacts are likely as a result of the proposal.