Verizon Wireless

138 Main Street, Coventry

Petition No. 909

Staff Report

July 22, 2009

On June 25, 2009, the Connecticut Siting Council (Council) received a Petition (Petition) for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for Cellco Partnership d/b/a Verizon Wireless’ (Verizon Wireless) proposed project at 138 Main Street, Coventry.  Specifically, Verizon Wireless seeks to extend an existing 92-foot Pelletier Builders Inc.-owned monopole by 10 feet and install 15 panel antennas at the 102-foot level of the tower.  The antennas would be installed on a low-profile platform.

Verizon Wireless would also install a 12-foot by 30-foot equipment shelter (with a backup generator inside) near the base of the tower.  Verizon Wireless would also install a 1,000-gallon propane tank for the backup generator.  The equipment compound is not fenced, but Verizon Wireless would install bollards to protect the equipment shelter and propane tank.

The site is commercial in nature and contains construction equipment.  The nearest home is approximately 350 feet to the northwest.  Any increase in visibility is not expected to be significant.  According to the visibility analysis, no new areas of visibility would result from the proposed extension.  The areas of existing visibility would increase from 11 acres to 13 acres.

Verizon Wireless provided written notice to the Town of Coventry (Town) on June 15, 2009 and provided a copy of the petition to the Town and the property owner Pelletier Builders Inc. on June 25, 2009.  Abutting property owners were also notified in writing on June 23, 2009.  No comments have been received from the Town, the property owner, or any abutting property owners.

The Petition was field reviewed by Council member Brian Golembiewski and Michael Perrone of the Council staff on July 13, 2009.  Rachel Mayo, Land Use Analyst, Robinson & Cole LLP, representing Verizon Wireless, also appeared at the field review.