Petition No. 997

The Connecticut Light and Power Company

Southington, Connecticut

Staff Report

July 28, 2011

On June 20, 2011, the Connecticut Siting Council (Council) received a petition from The Connecticut Light and Power Company (CL&P) for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for proposed modifications to CL&P’s Southington Substation located at 315 Belleview Avenue in Southington, Connecticut. Council member Larry Levesque and staff member Robert Mercier visited the site on July 25, 2011 to review the proposal. Helen Taylor, Glen Miemiee and Elizabeth Hale represented CL&P at the field review.

CL&P seeks to replace three 345-kV puffer switches with three new circuit switchers and an existing 345-kV circuit switcher with a new circuit switcher.  The replacements are necessary to replace obsolete equipment.

The new equipment would be similar in size and appearance to the equipment being replaced and no visual impact would occur.  All work would be within the existing, fenced substation. The substation is located on a large CL&P-owned parcel.  Residential development occurs to the north but mature trees provide a buffer to the substation.  There is no residential development adjacent to the east and south sides of the substation.  Belleview Avenue is located to the west.

CL&P’S proposed modifications to the substation would not have a substantial adverse environmental effect.