| DOCKET NO. 252 - AT&T Wireless PCS, LLC d/b/a AT&T Wireless application for a Certificate of Environmental Compatibility and Public Need for the construction, maintenance and operation of a wireless telecommunications facility at one of two sites at 201 Granite Road, Guilford, Connecticut. | } } } } | Connecticut Siting Council October 14, 2003 |
| --- | --- | --- |

# Findings of Fact

Introduction

- AT&T Wireless PCS, LLC d/b/a AT&T Wireless (AT&T), in accordance with provisions of General Statutes §§ 16-50g through 16-50aa, applied to the Connecticut Siting Council (Council) on April 16, 2003, for the construction, operation, and maintenance of a wireless telecommunications facility in Guilford, Connecticut.  The proposed facility would provide wireless coverage to existing coverage gaps in western Guilford and the areas surrounding Interstate 95, Route 1, Moose Hill Road, and a portion of eastern Branford.  The basic trading area (BTA) is for Site A and Site B is the New Haven-Waterbury-Meriden BTA.  Proposed Site A and Site B are located at 201 Granite Road, Guilford, Connecticut.  (AT&T 1, p. 1, 2, 5, 6)

- AT&T is a limited liability company that is licensed by the Federal Communications Commission (FCC) to operate a personal wireless services system (PCS).  (AT&T 1, p. 3)

- The parties in this proceeding are the applicant and the Guilford Land Conservation Trust, Inc. (GLCT).  (Tr. 1, 3:00 p.m., p. 6; Tr. 2, 7:00 p.m., p. 4)

- Pursuant to General Statutes § 16-50m, the Council, after giving due notice thereof, held a public hearing on July 30, 2003, beginning at 2:00 p.m., and continuing at 7:00 p.m. in the Menunkatuck Room of the Nathanael B. Greene Community Center, 33 Church Street, Guilford, Connecticut.  (Tr. 1, p. 3; Tr. 2, p. 3)

- The Council and its staff made inspections of the proposed sites on July 30, 2003.  During the field inspection, the applicant flew a balloon at proposed Site A at 160 feet above ground level (AGL) and a balloon at proposed Site B at 140 feet AGL with a flag at 100 feet AGL, to simulate the heights of the proposed towers.  (AT&T 1, p. 13; Tr. 1, p. 30)

- On November 25, 2002, AT&T submitted a letter and technical report for the proposed project to the Town of Guilford and the Town of Branford, which is within 2,500 feet of the proposed sites.  At the time, the Towns of Guilford and Branford had no comments regarding the proposed project.  (AT&T 1, p. 19, 20, Tab 8)

- Public notice of the application was published in the New Haven Register on April 10 and 11, 2003 and the Shoreline Times on April 12 and 16, 2003.  AT&T notified all adjacent landowners of the proposed project, return receipt requested, on March 26, 2003.  Two of the notices to abutting landowners went unclaimed at the post office.  AT&T sent another copy to the two landowners that did not claim the notice, via certified mail, return receipt.  (AT&T 1, p. 4, Tab 11; AT&T 2, Q. 1; AT&T 3, Q. 17)

- Pursuant to General Statutes ( 16-50j (h), the following state agencies were notified of the project on May 13, 2003: Department of Environmental Protection (DEP), Department of Public Health (DPH), Council on Environmental Quality (CEQ), Department of Public Utility Control (DPUC), Office of Policy and Management (OPM), Department of Economic and Community Development (DECD), and the Department of Transportation (DOT).  (record)

- Comments were received from the DOT on June 2, 2003 and from the DEP on July 29, 2003.  (record)

- The following agencies did not offer comments on the application; DPH, CEQ, DPUC, OPM, and the DECD.  (record)

# Need

- In issuing cellular licenses, the Federal government has preempted the determination of public need for cellular service by the states, and has established design standards to ensure technical integrity and nationwide compatibility among all systems. (Council Admin. Notice, no. 7, Telecom. Act 1996)

- In 1996, the United States Congress recognized a nationwide need for high quality wireless telecommunications services, including cellular telephone service.  Through the Federal Telecommunications Act of 1996, Congress seeks to promote competition, encourage technical innovations, and foster lower prices for telecommunications services.  (Council Admin. Notice, no. 7, Telecom Act 1996)

# Site Search

- AT&T identified two existing communications towers within approximately two miles of the proposed sites: a 140-foot tower owned by Sprint, located at 21 Acorn Road, Branford; and a 90-foot tower owned by Sprint, located at 1919 Boston Post Road, Guilford.  AT&T currently has antennas on the two existing towers within two miles of the proposed sites, which would interact with the proposed tower.  (AT&T 1, p. 8, 9; AT&T 2, Q. 2)

- AT&T identified and investigated nine potential sites, including proposed Site A and Site B, within or near a search ring in Guilford.  The potential sites investigated and rejected by AT&T include a CL&P transmission pole; 775-779 East Main Street (Route 1), Branford; Industrial Road, Branford; the Municipal Transfer Station, Route 1, Branford; Pin Oak Road, Branford; and commercial properties on Boston Post Road, Guilford, all of which were rejected because they would not provide adequate coverage to the area.  An application by another carrier for a telecommunications tower on a property at Walden Three Condominiums, Granite Road, Guilford, was rejected by the Town of Guilford.  (AT&T 1, Tab 4)

Site and Equipment

- Site A is located in the northeast section of an approximately 21 acre property owned by the Guilford Retirement Residence Limited Partnership, located at 201 Granite Road, Guilford.  Site B is located in the southeast section of a 58 acre parcel, which is associated with the 21 acre parcel, also owned by the Guilford Retirement Residence Limited Partnership, located at 201 Granite Road, Guilford.  Both proposed sites are at the property known as the Gable’s.  (AT&T 1, p. 2)

- Proposed Site A and Site B would include a 100-foot by 100-foot leased parcel on which AT&T would develop a 75-foot by 75-foot equipment compound.  AT&T proposes to place equipment cabinets on a 12-foot by 24-foot equipment pad.  The proposed tower and equipment compound would be enclosed by an 8-foot high security fence.  A gravel surface would be established within the tower compound and access road.  AT&T would use a battery back up system to provide power for approximately eight hours.  During a substantial power outage, AT&T would use a portable diesel generator.  (AT&T 1, p. 10, 11, Tab 5, Tab 6; AT&T 3, Q. 18)

- No carriers have expressed an interest in locating antennas at the proposed sites.  AT&T would provide the Town of Guilford space on the proposed tower for the purpose of installing public safety communications equipment. (AT&T 1, p. 10; AT&T 2, Q. 5, 15)

- The tower setback radius of the proposed towers would be contained within the lessor’s property.  There are no existing or planned structures within the tower setback radius of proposed Site A or Site B.  (AT&T 1, Tab 5, Tab 6; AT&T 2, Q. 6)

- The approximate costs of construction for the proposed Site A and Site B are estimated as follows:

|  | SITE A | SITE B |
| --- | --- | --- |
| Electronic Equipment | $ 86,200 | $ 101,800 |
| Tower & Antennas | 147,000 | 145,000 |
| Site Development | 56,200 | 110,500 |
| Total Costs | $ 289,400 | $ 357,300 |

(AT&T 1, p. 21)

# Proposed Site A/ Site B

- The elevation of Site A is 81 feet above mean sea level (amsl).  The elevation of Site B is 105 feet amsl.  The average tree height in the area surrounding the proposed sites is approximately 70 feet AGL.  (AT&T 1, p. 2, Tab 5, Tab 6; Tr. 1, p. 51)

- Site A and Site B are located within a Planned Residential District (PRD) zone.  The Town of Guilford’s Zoning Regulations indicate a preference for communications towers and antennas with co-location on existing structures or towers.  The Town would least prefer a new communication tower in a residential district.  (AT&T 1, p. 10, 11)

- There are two residences within a 1,000-foot radius of proposed Site A and two residences within a 1,000-foot radius of Site B.  The nearest residence structure to Site A is the Gables building located approximately 375 feet to the east.  The closest residence that is not located on the Gables property is approximately 550 feet to the north of proposed Site A.  The nearest residence to Site B is approximately 820 feet to the east.  (AT&T 1, p. 13; AT&T 3, Q. 22)

- AT&T proposes to construct a 160-foot monopole at Site A or a 140-foot monopole at Site B, both of which would be designed to accommodate five additional carriers with a 10-foot center-to-center vertical separation.  The minimum height AT&T needs to provide coverage at Site B is 100 feet AGL.  AT&T requested a 140-foot monopole to accommodate potential tower sharing.  (AT&T 1, p. 10, 11, Tab 5, Tab 6; Tr. 1, p. 45)

- Access to Site A would be an existing paved access road extending from Granite Road along the Gables driveway for 900 feet, then a new 12-foot wide gravel access drive would be constructed from the paved edge of the driveway to the site for an additional 50 feet.  Telephone and electrical utilities would be installed underground from an adjacent utility pole along the proposed access road to the proposed compound at Site A.  Access to Site B would be an existing paved access road extending from Granite Road for a distance of approximately 2,700 feet along the Gables driveway, then a new 12-foot wide gravel access drive would be constructed from the paved edge of the driveway to the site for an additional 300 feet.  Telephone and electrical utilities would run from a nearby utility pole on the Gables property and then be installed underground along the proposed access road to the Site B compound.  (AT&T 1, p. 10, 11, Tab 5, Tab 6)

# Environmental Considerations

- Wetlands extend to approximately 30 feet to the south and southwest of the Site A leased area.   The closest body of water to Site A is a brook approximately 100 feet to the east.  A soil erosion control silt fence would be installed around the Site A construction area, in accordance with the 2002 Connecticut Guidelines for Soil Erosion and Sediment Control, to minimize impacts to wetlands. Site A could be moved approximately 30 feet farther away from the wetlands while remaining within the leased area.  Wetland soils were found approximately 280 feet to the east of the Site B leased parcel.  The nearest body of water to Site B is a brook located approximately 500 feet to the east.  (AT&T 1, Tab 5, Tab 6; AT&T 1, Q. 3, 4; Tr. 1, p. 46, 47)

- There are no known existing populations of Federal or State Endangered, Threatened or Special Concern Species at proposed Site A or Site B.  (AT&T 1, Tab 5, Tab 6)

- The State Historic Preservation Office (SHPO) recommended that a professional reconnaissance survey be undertaken to identify and evaluate archeological resources that may exist at Site A and Site B.  An archaeological resources survey, commissioned by AT&T, found no cultural resources.  The SHPO then determined that construction of the proposed facilities would have no effect on Connecticut’s archaeological heritage.  (AT&T 1, Tab 5, Tab 6)

- Hiking trails managed by the Guilford Land Conservation Trust are located near the proposed sites.  The nearest hiking trail is the green trail portion of the West Woods Trail system in Guilford, located approximately 0.2 miles to the south of proposed Site A and approximately 0.11 miles south of proposed Site B.  (AT&T 3, Q. 19; Tr. 1, p. 38)

- Clearing of approximately 12 trees with diameters of six inches or greater at breast height at Site A and 38 trees with diameters of six inches or greater at breast height at Site B would be required to construct the proposed site compounds and access roads.  (AT&T 3, Q. 23)

- AT&T consulted the FCC’s TOWAIR program to determine if the proposed towers located at Site A or Site B would require registration with the Federal Aviation Administration (FAA).  The proposed sites would not have to be registered with the FAA and would not require marking or lighting.  (AT&T 1, p. 20)

- The electromagnetic radio frequency power densities, calculated using the FCC Office of Engineering and Technology Bulletin 65, using conservative worst-case approximation of radio frequency power density levels at the base of each tower, would be 4.2 percent of the American National Standards Institute (ANSI) Standard for Site A and 10.8 percent for Site B.  (AT&T 1, Tab 5, Tab 6)

# Visibility

- AT&T generated visibility maps of the proposed Site A (Figure 3) and Site B (Figure 4) towers using a field study during leaf on conditions.  During the field study, balloons were flown at Site A at 160 feet AGL, and at Site B at 140 feet AGL with a red flag at 100 feet AGL.  Potential visibility was verified by driving all public roads within a two mile radius of the proposed sites and hiking the West Woods Trails and the Trails of the Stony Creek Quarry Preserve.  (AT&T 3, Q. 25)

- The visual impact of proposed Site A at 160 feet AGL would primarily occur within approximately one-eighth of a mile to the north and south, mostly within the Gables property.  The visual impact of proposed Site B at 140 feet AGL would primarily occur within approximately one-half of a mile to the northwest and west, within the Gables property, along Granite Road to the south of I-95, and on the I-95 overpass directly above Granite Road.  Predicted visibility of a 100-foot monopole at proposed Site B would be less.  The balloons were not visible from the hiking trails.  Some additional areas of seasonal visibility would be expected during non-foliage months.  (AT&T 3, Q. 25; Tr. 1, p. 31, 32, 34, 46)

- AT&T would consider constructing a stealth tower at either of the proposed sites and suggests that a silhouette tower would be most appropriate for the area.  Other alternatives to a traditional monopole type tower at the proposed site include a flush mount or low-profile antenna mount.  (AT&T 3, Q. 24; Tr. 1, p. 59, 61)

# Coverage Needs

- Existing facilities in Guilford, and Branford (to the west) leave gaps in wireless coverage in the western Guilford area.  Gaps are defined as areas receiving less than -85 dBm coverage.  The minimum signal level threshold for AT&T is –85 dBm, which would provide a level of service consistent with in-vehicle coverage and some coverage within structures.  The primary purpose of this application is to provide coverage to gaps along Interstate 95 and the surrounding area.  (AT&T 1, Tab 3; AT&T 2, Q. 11)

- The minimum height requirements for AT&T antennas on the proposed towers would be at the 160 foot level on the proposed Site A tower and at the 100-foot level on the proposed Site B tower.  The proposed Site B tower is 140 feet AGL, which is higher than what is necessary for AT&T to provide adequate coverage to the area.  AT&T would install their antennas at the top of the 140-foot tower, if approved.  (AT&T 1, Tab 3, Tab 5, Tab 6; AT&T 2, Q. 10)

# Existing wireless coverage, at 1900 mhz, within a three mile radius of the proposed sites is as follows:

# Existing Coverage

# (see Figure 5)

| Route | Existing Gaps (miles) < -85 dBm | Total Road Miles within a Four Mile Radius |
| --- | --- | --- |
| I-95 | 2.1 | 6.5 |
| Moose Hill Road | 3.2 | 5.2 |
| Total | 5.3 miles | 11.7 miles |

(AT&T 2, Q. 12)

- Existing coverage combined with antennas on the proposed towers at listed height above ground level, both at 1900 mhz, would leave the following gaps within a three mile radius of the proposed Site A and Site B as follows:

# Proposed Site A at 160-Feet AGL

# (see Figure 6)

| Route | Gaps (miles) < -85 dBm | Total Road Miles within a Three Mile Radius |
| --- | --- | --- |
| I-95 | 1.3 | 6.5 |
| Moose Hill Road | 2.1 | 5.2 |
| Total | 3.4 miles | 11.7 miles |

# (AT&T 2, Q. 12, 13)

# Proposed Site B at 100-Feet AGL

# (see Figure 7)

| Route | Gaps (miles) < -85 dBm | Total Road Miles within a Three Mile Radius |
| --- | --- | --- |
| I-95 | 1.3 | 6.5 |
| Moose Hill Road | 1.5 | 5.2 |
| Total | 2.8 miles | 11.7 miles |

# (AT&T 2, Q. 12, 14)

# Figure 1.  Site A location.  (AT&T 1, Tab 5)

Figure 2.  Site B location (AT&T 1, Tab 6)

Figure 3. Visibility Analysis of Site A at 160 feet AGL.  (AT&T 3, Q. 25)

Figure 4. Visibility Analysis of Site B at 140 feet AGL.  (AT&T 3, Q. 25)

Figure 5.  Existing AT&T coverage within a 3-mile radius in the Town of Guilford.

(AT&T 2t, Q. 12)

Figure 6.  Existing coverage with coverage from proposed Site A at

160-feet AGL (1900 MHz). (AT&T 2, Q. 13)

Figure 7.  Existing coverage with coverage from proposed Site B at 100 feet AGL (1900 MHz). (AT&T 2, Q. 14)