MINUTES

ELEVATOR INSTALLATION, REPAIR AND MAINTENANCE WORK EXAMINING BOARD

APRIL 10, 2006

The meeting was called to order by John R. DeRosa, Acting Chairman at 9:47a.m. in Room 117 of the State Office Building, 165 Capitol Avenue, Hartford, Connecticut.

Members Present:	Paul Farnsworth, Contractor

Joseph Bayusik, Contractor

Michael D. Griffin, Journeyperson

John R. DeRosa, Jr., Journeyperson

Gary Bazzano, Public Member

Members Absent:				Thomas J. O’Reilly, Contractor

Board Vacancies:				Two Public Members, appointed by the Governor

Board Counsel Present:			None

DCP Staff Present:				Nelson Leon, Board Secretary

Richard M. Hurlburt, Director

Public Present:				Neil A. Alan

Thana Nguyen

Matt Randazzo

Lawrence S. Pirone

Steven Roth

Steven A. Bruno

Daniel Kelly

Note:	The administrative functions of this Commission are carried out by the Department of Consumer Protection, Occupational and Professional Licensing Division.  For information, call Richard M. Hurlburt, Director, at (860) 713-6135.

Agency Web site:	www.ct.gov/dcp

MINUTES FROM PREVIOUS MEETINGS

Review and approve minutes of the January 9, 2006 meeting.

The Board voted unanimously to approve minutes of the January 9, 2006 meeting, with amendments to page-1, to reflect Board member Joseph Bayusik present, removal of former Board member Michael T. Molleur under Members Absent, Board vacancies to reflect two Public Members, and on page-2, under “Previously submitted applications” to reflect that Mr. Smothers was not present at today’s meeting.

APPLICATIONS

Thomas J. Darnley, Queensbury, NY – (R-1) Unlimited Contractor Application – Denied

The Board voted unanimously to deny Mr. Darnley’s application due to submittal of an incomplete application (lack of notarized statements from occupational related employers and transcripts regarding school related instructional experience).

Jeffrey M. Fox, Buxton, ME – (R-1) Unlimited Contractor Application – Denied

The Board voted unanimously to deny Mr. Fox’s application due to submittal of an incomplete application (pag-2 not completed, lack of notarized statements from occupational related employers and transcripts regarding school related instructional experience).

Benjamin D. Hall, Putnam, CT – (R-6) Limited Journeyperson Application – Denied

The Board voted unanimously to deny Mr. Hall’s application due to submittal of an incomplete application (lack of transcripts regarding school related instructional experience, current elevator helpers card, and explanation why Brandon Carter’s (R-5) Contractor license number is not identified on the notarized occupational statement from Whitaker of Connecticut).

Kevin L. Joost, Conyers, GA – (R-1) Unlimited Contractor Application – Denied

The Board voted unanimously to deny Mr. Joost’s application due to insufficient occupational related experience.

Jason A. Weinzimmer, Clinton, CT - (R-2) Unlimited Journeyperson Application – Approved

The Board voted unanimously to conditionally approve Mr. Weinzimmer’s application, subject to receipt of a current notarized statement from the (R-1) Contractor at his current employer (Otis Elevator) as to  dates and duties of employment.

LATE ARRIVING APPLICATIONS

The Board voted unanimously to review the following late arriving applications:

Clint T. Howson, Plantsville, CT – (R-2) Unlimited Journeyperson Application – Approved

The Board voted unanimously to approve Mr. Howson’s application.

David B. Milton, Prospect, CT – (R-2) Unlimited Journeyperson Application – Approved

The Board voted unanimously to conditionally approve Mr. Milton’s application, subject to receipt of a current notarized statement from his current employer as to dates and duties of employment.

John W. Render, Danbury, CT – (R-2) Unlimited Journeyperson Application – Approved

The Board voted unanimously to conditionally approve Mr. Render’s application, subject to receipt of a current notarized statement from his current employer (Kone Elevator Co.) as to dates and duties of employment.

Jose J. Torres, Jr., New Britain, CT – (R-2) Unlimited Journeyperson Application – Approved

The Board voted unanimously to approve Mr. Torres’ application.

RECONSIDERATION OF PREVIOUSLY SUBMITTED APPLICATIONS

Michael T. Bowes, Meriden, CT – (R-2) Unlimited Journeyperson Application – Denied

The Board voted to conditionally approve Mr. Bowes’ application at their 11/14/05 meeting, subject to receipt of a current Apprenticeship Training Card and current notarized statement from his occupational related employers as to dates and duties of employment.

After further review of Mr. Bowes’ application at today’s meeting, the Board voted unanimously to deny his application due to submittal of an incomplete application (page-2 not completed, lack of notarized statement from occupational related employers as to dates and duties of employment, and transcripts of occupational school related instructional experience).

CORRESPONDENCE

- Report dated 1/11/06, regarding disciplined, revoked, surrendered, suspended licensees.

- Roster dated 1/20/06, regarding active elevator license holders.

- Correspondence dated 2/23/06, regarding DCP enforcement account.

- State adopted new standard; A18.1 (2003) regarding the (R-5) Limited Contractor and (R-6) Limited Journeyperson scope of work.

- Correspondence dated 1/17/06, subject title “penetrate the floor ceiling of the building”.

- Correspondence dated 2/17/06, regarding “Nationwide Lifts”.

- Correspondence dated 1/18/06 and 2/7/06 from Pelton’s Health Care Center, regarding the (R-5) Limited Contractor scope of work.

Stanley D. Brooks, and Matt Randazzo, Division Manager at Pelton’s Home Health Care Center discussed the matter concerning penetration by accessibility equipment thru a floor or ceiling, in addition to seeking clarification on the scope of work concerning the (R-5) Limited Contractor license and the (R-6) Limited Journeyperson license, known as an accessibility license.

Board member Paul Farnsworth stated that the statute prohibiting an (R-5) or (R-6) from penetrating a floor for installation was established in the early 1990’s. At the time, it was required that an (R-1) or

(R-2) install any type of lift that was in a shaft while penetrating a floor. The accessibility contractors petitioned the state for a limited license. Public hearings were held, and limited licenses were eventually approved by the state legislature and the governor, and become the law of the State of Connecticut.

The exclusion that was given at the time to the scope of work that a limited license can perform was any equipment that did not penetrate the floor, and it was felt that at the time, that work should be preserved under the (R-1) and (R-2) contractor mechanics because of the complexity of two way communication, hoist way door interlocks, entrapments, proper lighting, and other requirements that were not necessarily familiar to the accessibility contractor. The limited licenses were an exception to the licensing requirement, and they were broadening the fact that other people without the full unlimited licenses wouldn’t necessarily have to perform that work unless they held the (R-5) or (R-6).

Board member Paul Farnsworth and Michael D. Griffin will submit a written response to

DCP Commissioner Edwin Rodriguez concerning this matter.

STATE ADOPTS NEW STANDARD; A18.1 (2003)

Elevator Board noted today that changes have occurred with a new elevator code adoption that would allow more than one floor of the building in which the equipment is to be installed and that the current definitions of (R-5) and (R-6) may have to be changed as noted below.

Elevator R-5, R-6 scope of work

STATE ADOPTS New standard; A18.1 (2003)

ASME A18.1a Safety Code Aligns Inclined Platform Lifts with ADA Accessibility Guideline

This safety Standard covers the design, construction, installation, operation, inspection, testing, maintenance, and repair of inclined stairway chairlifts and inclined and vertical platform lifts intended for transportation of a mobility impaired person only. The device shall have a limited vertical travel, operating speed, and platform area. Operation shall be under continuous control of the user/attendant. The device shall not penetrate more than one floor. A full passenger enclosure on the platform shall be prohibited.

A18.1 allows penetration by accessibility equipment thru a floor or ceiling limited to one floor.

Please note: Currently definition of R-5 license holder “license scope of work” allowed prevents such installer to install such equipment penetration for accessibility equipment thru a floor or ceiling.

R-1 Contractor license must be used not because of equipment type, but due to defined scope of work allowed under R-5 and R-6 limited license types.

Discussed new / old revisions shown, underlined is new wording that would be added below.

(c) Limited contractor elevator license (R-5).

This license shall be known as an accessibility contractor's license. The holder of this license may perform, except as hereinafter stated, installation, repair and maintenance work on all equipment as defined in section 20-332-3a of these regulations. A person must have served at least two years as an R-2 or R-6 journeyperson or have equivalent experience to qualify for the R-5 examination. Accessibility contractors who have practiced their craft in the State of Connecticut for at least two (2) years or more prior to the adoption of these regulations, shall be considered to have equivalent experience. The holder of this license may not perform any work on equipment as defined in section 20-332-3a of these regulations if the platform of said equipment is to penetrate more than one [the] floor [or ceiling] of the building in which the equipment is to be installed.

(d) Limited journeyperson elevator license (R-6).

This license shall be known as an accessibility journeyperson's license. The holder of this license may perform, except as hereinafter stated, installation, repair and maintenance work on all equipment as defined in section 20-332-3a of these regulations and only while in the employ of a duly licensed elevator contractor. A person must have completed an elevator accessibility apprenticeship program or have equivalent experience to qualify for the R-6 examination. Pursuant to Section 31-51d of the Connecticut General Statutes the labor commissioner will formulate work training standards for apprentices in the craft of installing accessibility equipment. Journeypersons who have practiced their craft in the State of Connecticut for at least one (1) year or more prior to the adoption of these regulations, shall be considered to have equivalent experience. The holder of this license may not perform any work on equipment as defined in section 20-332-3a of these regulations if the platform of said equipment is to penetrate more than one [the] floor [or ceiling] of the building in which the equipment is to be installed.

OLD BUSINESS

- The Board requested at their 11/14/05 meeting that DCP send all licensed (R-1) Unlimited Contractors a letter requesting proof of offering such (R-1) Unlimited Contractor services to the general public and are requesting a follow-up to this matter.

DCP is in the process of following-up concerning this matter.

- The Board is requesting a following-up regarding the matter discussed at their 7/11/05, 9/12/05, and 11/14/05 meeting concerning correspondence received by Chairman Michael Molleur dated 4/15/05 from Steven A. Bruno, Business Manager at IUEC, Local 91, concerning an (R-2) Unlimited Journeyperson application submitted by Albert Bissonnette under false pretense. The correspondence along with related materials was mailed to Assistant Attorney General Gary Hawes on 5/9/05 and again on 7/11/05 for his review, input and recommendation. Assistant Attorney General Raul Rodriguez was also copied on 7/11/05. The Board is requested an update on the matter and any related court case information.

Steven A. Bruno will follow-up with a formal complaint concerning this matter.

There being no further business, the meeting adjourned at 12:10 P.M.

Respectfully submitted,

Nelson Leon

Board Secretary

The next regular meeting of this Board is scheduled for Monday, July 10, 2006 in Room 117.