#### PROTOCOL:  PULSE OXIMETER OXYGEN SATURATION MEASUREMENT

I.  Purpose:  Non-invasive monitoring of the oxygen saturation of arterial blood.

Definitions: Licensed Nurse:  A Registered Nurse (R.N.) or a Licensed Practical Nurse (L.P.N.), working under the direction of a registered nurse, who holds a current license issued by the State of Connecticut under Chapter 378 of the Connecticut General Statutes.

II. Responsibility:

- Training:  Training will be conducted by a licensed nurse.

- Performance:

  - Direct care staff who have completed:

    - baseline competency training checklist of DDS

    - procedure task specific training

  - Trained staff will follow individual procedural guidelines including notifying the licensed nurse as indicated

- Monitoring:

  - The licensed nurse

  - Trained staff performing the task under the clinical direction of the licensed nurse will notify the nurse of issues and/or outcomes as directed by the nurse.

- Documentation:

  - Individuals who perform the tasks will record all pertinent information as instructed by the licensed nurse.

  - Licensed Nurse will ensure agency compliance with required documentation.

III. Training to Include:

- Initial:  Overview of the procedure, its purpose.  Demonstration of techniques by licensed nurse and return demonstration by the student.

- Documentation of Training and Monitoring:

  - Training:  Licensed nurse completes training record of staff on “DDS Nursing Delegation Procedure Performance Evaluation Form”.

  - Monitoring:  Licensed nurse completes DDS “Nursing Delegation Task Competency Monitoring Form”.

- Frequency of Monitoring and Task Performance:

  - Staff will be monitored in their proficiency at this skill as determined by the licensed nurse, but not to exceed 12 months.

IV. Related Knowledge:

- Background of the disease

- Medical history of the person

# PROCEDURE:  PULSE OXIMETER OXYGEN SATURATION MEASUREMENT

Name:

Residence:

Order Date:      						Dates Renewed:

(in pencil)

Order (if applicable):

I.  Diagnosis:

II. Purpose of Procedure (why person needs procedure)

_________________________________                          ______________________

Signature of Delegating RN                                                        Date

## III. Procedure

| TASK | RATIONALE |
| --- | --- |
| A. Gather Equipment: |  |
| - Pulse oximeter - Alcohol wipe - Nail polish removed, if indicated - Clean gauze | - Needed to perform testing |
| B. Perform Task: |  |
| - Wash hands - Explain procedure to individual - Prepare site - Use alcohol wipe to gently cleanse site - Remove nail polish from finger, if needed - Apply sensor unit - Place LED/photo detector unit onto chosen site - Ensure proper alignment. The LED/sensors should be directly opposite each other. - Turn the pulse oximeter to the ON position - Listen for beep and note bar of light on front of pulse oximeter. - Note reading on the display area. - Report reading to nurse as per established parameters | - Reduces transfer of microorganisms - Decreases anxiety and facilitates cooperation - Ensures that area is clean & dry - Colored nail polish may interfere with pulse oximetry reading - Sensors that are not properly aligned will not yield an accurate reading - The emitting sensors will transmit red and infrared light through the tissue - Oxygen saturation will be measured by the data received from these units - Each beep indicates a pulse detected by the pulse oximeter - A desired reading would be between 90% and 100% |
| C. Other: |  |
| 1.Wash hands | - To prevent spread of infection |
| D. Clean Equipment |  |
| 1. Utilize alcohol wipe or saturate clean gauze with alcohol 2. Wipe all surfaces of sensor and cable 3. Dry all surfaces with clean gauze | - Reduces the transfer of microorganisms |
| E. Documentation |  |
| 1. Date and time 2. Location of sensor 3. Percentage of oxygen saturation 4. Percentage of oxygen (or room air) client is receiving 5. Any reporting/interventions that took place | - No task is completed until documentation & reporting occurs |

## PLEASE NOTE:  NO TASK IS CONSIDERED COMPLETED UNTIL DOCUMENTATION AND

REQUIRED REPORTING OCCURS. ANY CHANGE OR VARIATION FROM THE

INDIVIDUAL’S BASELINE SHOULD BE REPORTED PROMPTLY TO THE NURSE.