#### PROTOCOL:  TYMPANIC (EAR) TEMPERATURE MEASUREMENT

## I.  Purpose:  To determine body temperature by tympanic measurement

Definitions: Licensed Nurse:  A Registered Nurse (R.N.) or a Licensed Practical Nurse (L.P.N.), working under the direction of a registered nurse, who holds a current license issued by the State of Connecticut under Chapter 378 of the Connecticut General Statutes.

II. Responsibility:

- Training:  Training will be conducted by a licensed nurse.

- Performance:

  - Direct care staff who have completed:

    - Baseline competency training checklist of DDS.

    - Procedure task specific training.

  - Trained staff will follow individual procedural guidelines including notifying the licensed nurse as indicated.

- Monitoring:

  - The licensed nurse.

  - Trained staff performing the task under the clinical direction of a licensed nurse, will notify the nurse of issues and/or outcomes as directed by the nurse.

- Documentation:

  - Individuals who perform the tasks will record all pertinent information as instructed by the licensed nurse.

  - The licensed nurse will ensure agency compliance with required documentation.

III. Training to Include:

- Initial:  overview of the procedure, its purpose.  Demonstration of techniques by  licensed nurse and return demonstration by the student.

- Documentation of Training and Monitoring:

  - Training:  Licensed nurse completes training record of staff on “DDS Nursing Delegation Procedure Performance Evaluation Form”.

  - Monitoring:  Licensed nurse completes DDS “Nursing Delegation Task Competency Monitoring Form”.

- Frequency of Monitoring and Task Performance:

  - Staff will be monitored in their proficiency at this skill as determined by the licensed nurse but not to exceed 12 months.

IV. Related Knowledge:

- Definition of temperature

- Types of thermometers

- Contraindications for temperature measurement by each task

- Cleaning thermometers

- Storing thermometers

### PROCEDURE:  TYMPANIC TEMPERATURE MEASUREMENT

Name:      						 	Baseline Temperature:

Residence:

Order Date:      						Dates Renewed:

(in pencil)

Order (if applicable):

I.  Diagnosis:

II. Purpose of Procedure (why person needs procedure)

_________________________________                          ______________________

Signature of Delegating RN                                                        Date

## III. Procedure

| TASK | RATIONALE |
| --- | --- |
| A. Gather Equipment: |  |
| 1. Wash hands 2. Gather equipment – thermoscan, probe cover, paper and pen | To prevent spread of infection Should be prepared for task |
| B. Individual’s Preparation: |  |
| 1. Explain to individual what you are going to do 2. Individual should be in a comfortable position sitting, standing or lying | Reduce individual anxiety Individual should be comfortable to keep head straight and staff should be able to reach ear |
| C. Perform Task: |  |
| 1. Place probe cover on thermometer 2. Pull the pinna (upper ear) up and back to straighten the ear canal 3. Insert the probe into the ear using a slight rocking motion and seal the ear canal 4. Press and hold the activation button per manufacturer’s instruction 5. Remove from ear, read temperature and discard thermometer cover 6. If temperature is below 95( or below baseline, repeat process using new probe cover and/or try other ear 7. Wash hands | Thermometer will not register without cover, and cover is needed for infection control This will expose the tympanic membrane (ear drum) so an accurate temp can be obtained This will allow the probe to register the temperature Cover should be disposed of in trash Inaccurate reading can be obtained if canal is not straight, excessive wax is present, ear infection, etc. and re-check in other ear. Prevents spread of infection |
| D. Check Individual’s Status: |  |
| 1. Any measurement outside of normal should be handled according to order and referred to the nurse as specified | Staff should be aware of norms and follow-up action when elevated readings are noted |
| E. Care of Equipment |  |
| 1. Store thermometer | Prevents damage to unit |
| F. Documentation: |  |
| 1. Date and time 2. Document temperature by writing measurement followed by letter “Tym” or by ear (e.g. 101.4(Tym) in appropriate location 3. Any action taken | Temps should be promptly recorded and indicate that the temp was taken by ear |

## PLEASE NOTE: NO TASK IS CONSIDERED COMPLETED UNTIL DOCUMENTATION AND

REQUIRED REPORTING OCCURS. ANY CHANGE OR VARIATION FROM THE

INDIVIDUAL’S BASELINE SHOULD BE REPORTED PROMPTLY TO THE LICENSED

NURSE.