## Header P25
Test Date: | Result | 4D | PASS
Site Code & Name: |  | George Washington Univ. Hosp | FAIL
Fletcher Johnson
Building Manager contact info: | Building rep.technical contact info: | Georgetown Univ. Hosp.
Tel: | Company: | One Judiciary Sq.
Company: | Tel: | Reeves Ctr.
Address: | Email: | Rhode Island
City, State Zipcode |  | St. Elizabeth's Hospital
Email: | Rep to CTS technical Name | UDC Bldg. 41
Company:
Emergency Contact info | Tel:
Company: | Email:
Tel:
Email: | Fiber DAS HeadEnd located in room
Number of remotes
BDA located in room: | Fiber DAS Brand/Model Number
BDA Brand/Model Number | FiberDAS HeadEnd UL Received signal
IP address | FiberDAS HeadEnd DL Received signal
UserName
Password | Donor Site Name
Host Site Noise Reference Level
BDA Uplink Gain | Path Loss (dB)
BDA Downlink Gain | BDA UL Output noise
BDA Uplink Squelch Threshold | Noise Contribution to host site
Isolation | Max signal received at donor site
Min signal received at donor site
Description of building readiness & other comments as necessary

## Check List P25
Date: | 0 | R | 0
Site: | 0
TESTING | Required | PASS | FAIL | Value | Comment (include what failed/passed)
Head End Room
Grounding
NEMA4-Type Enclosure BDA
NEMA4-Type Enclosure Fiber DAS Headend
NEMA4-Type Enclosure Batteries
Labeling (cables, antennas, Remotes)
Enclosure signage
Rooftop
Antenna
Grounding
Surge Arrestor
Top 3 UL Sites
Top 3 UL RSSI
Donor Site
Bda pathloss
Path Loss(unpadded)
Control Channel DL RSSI
BDA/Headend Battery/Alarming
Battery Verification
Battery Back up Test
Local shut down test
Alarms
Remote access to BDA
BDA Check
29 Frequencies programmed (UL & DL)
Channels 12.5 kHz wide
Spectrum scan check |  |  |  |  | Attach screen capture
Level check across band
Uplink gain adjustment
Host noise measurement
Near Signal measurement @ BDA Input
BDA Coverage pad UL/DL
Active DAS coverage pads entered on DAS Tab
Near Signalmeasurement @ host after adjustment
Lowest signal measurement @ host after adjustment
UL Gain
DL Gain
Near-Far Test
Noise measurement out of BDA
Donor Hard Pad
Uplink Noise contribution evaluation
Squelch adjustment
Uplink DAS noise measurement
Squelch Threshold
Isolation Test
Update of link Budget UL completed
Update link Budget DL completed
Frequencies availability verification (BDA or Remotes Tab
Commercial DAS interference check (if applicable)
Private LMR radio system interference check (if applicable)
Audio Test results (DAQ 3.0/3.4)
Coverage Test plot and statistics (-95 dBm)
Remote access to monitoring
DAS Antennas RSSI measurements baseline (Remotes check tab)

## Remotes Check P25
|  | Date: | 0
|  | Site: | 0
Number of Remotes:
[7 empty] | Frequencies | [29 empty] | OK
|  | Remotes | Room Location | Labeling | Battery battery Check | Battery function Check | Channel 1 | Channel 2 | Channel 3 | Channel 4 | Channel 5 | Channel 6 | Channel 7 | Channel 8 | Channel 9 | Channel 10 | Channel 11 | Channel 12 | Channel 13 | Channel 14 | Channel 15 | Channel 16 | Channel 17 | Channel 18 | Channel 19 | Channel 20 | Channel 21 | Channel 22 | Channel 23 | Channel 24 | Channel 25 | Channel 26 | Channel 27 | Channel 28 | Channel 29 | Hot Link Level | KO | Attenuation Added | Hotlink after attenuation
1 | 0 |  |  | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK
2 | 0
3 | 0
4 | 0
5 | 0
6 | 0
7 | 0
8 | 0
9 | 0
10 | 0
11 | 0
12 | 0
13 | 0
14 | 0
15 | 0
16 | 0
17 | 0
18 | 0
19 | 0
20 | 0
21 | 0
22 | 0
23 | 0
24 | 0
25 | 0
26 | 0
27 | 0

## Coverage Baseline P25
Date: | 0
Site: | 0
|  | Fringe areas: | Those are elevators lobbies, exist stairs, exit path ways, emergency and standby power rooms, and any location the testing sowed the coverage was the weakest.
|  | Area ID | Name | RSSI | Location description
ANTENNA BASELINE REFERENCE LEVELS
|  | Floor 13 |  |  | Floor 12 |  |  | Floor 11 |  |  | Floor 10
|  | Floor 9 |  |  | Floor 8 |  |  | Floor 7 |  |  | Floor 6
|  | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI
|  | Floor 5 |  |  | Floor 4 |  |  | Floor 3 |  |  | Floor 2
|  | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI
|  | Floor 1 |  |  | Floor B1 |  |  | Floor B2
|  | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI | Active. # | Ant. Label | RSSI