## GW Level Reporting Form
State Of Connecticut Department of Public Health Groundwater Level Monitoring and Reporting Form
Pursuant to RCSA Section 19-13-B102(n)(4)
Section A: Basic Information
Public Water System (PWS) |  |  |  |  | Log Date: |  |  |  | Water Level Measurement Reference Point
PWS ID: | CT | [8 empty] | TOC | Measuring Tube
Name: |  |  |  |  | Measurement Method |  |  |  | Above Land Surface
Address: |  |  |  |  | Steel Tape | Sounder | Air Hose Line |  | Below Land Surface
# of Supply Wells in this PWS: | [8 empty] | Land Surface
Well ID: |  |  | TOC Elevation of this well (ft): |  |  |  | Population Served by the PWS of which this well is a part:
Original Reference Static Water Level Elevation(ft.): | [6 empty] | Original Reference Pumping Water Level Elevation(ft.):
Section B: Measurements and Readings
Measurement |  | Well Status |  |  |  | DTW | Water Level Elevation |  | Water Pumping Rate |  | Measured
Date | Time | Static |  | Dynamic |  | From TOC | Static | Pumping | Weekly Instantaneous | Monthly | By
|  | Yes/No | Pump off time (hrs) | Pumping | Rising/Falling | (ft.) | (ft.) | (ft.) | (gpm) | (gal)
Change In Original Reference Static Water Level Elevation: |  |  |  |  | #DIV/0! | Change In Original Reference Pumping Water Level Elevation: |  |  |  |  | #DIV/0!
Section C: Comments
Date | Description: Weather / Rainfall / Measurement point changes / Well dynamic state (rising, falling, flowing) / Missed or Inaccurate measurement / Other
For DPH-DWS Use Only
Date Report was Received: |  |  |  |  | Comments:

## GW Level Measuring Tips
State of Connecticut Department of Public Health Groundwater Level Monitoring and Reporting Tips |  |  | State of Connecticut Department of Public Health Groundwater Level Monitoring and Reporting Tips
Pursuant to RCSA Section 19-13-B102(n)(4) |  |  | Pursuant to RCSA Section 19-13-B102(n)(4)
The collection of groundwater elevation data is fundamental to monitoring and assessing seasonal and long term groundwater availability for |  |  | Which systems must be measured? All public water system wells (Production Wells serving more than 1000 people) must be measured regardless
domestic use. Groundwater level monitoring also estimates water storage, evaluates the response of aquifers to groundwater pumping, manages |  |  | of whether they are TNCs, NTNCs or Community. Measurements must be done by operators or personnel who are well trained in groundwater
water use and assists in the diagnosis of well production issues state-wide. To ensure a sustainable groundwater management program in the |  |  | level measurements. Water level measurements are normally done using Water Level Sounders, Flat Steel Tapes, Air Hose Lines or Pressure
State of Connecticut, weekly and instantaneous groundwater pumping rates and water level elevations are required to be submitted to the |  |  | Transducers. Note that for wells that have no access port or the well cap is not easily removed, the Air Hose Line method for groundwater level
CT Department of Public Health (DPH) on a monthly basis by all unconsolidated unconfined groundwater systems (Production Wells serving more |  |  | measurement is most often used. Population served means the population served by the entire public water system of which the well is part.
than 1000 people), pursuant to Regulations of Connecticut State Agencies (RCRA) Section B102(n)(4).
When should measurements be made? Static water level is the depth of the water in the well when the pump is off allowing the aquifer to return
The attached Groundwater Level Monitoring and Reporting Form must be used to report daily groundwater measurements. |  |  | to its normal level. Static water level is preferred because it best represents water conditions in the surrounding aquifer and should be measured
Please note the following: |  |  | early in the morning before customers use much water and when no pumping had occurred for at least 4 hours. Pumping water level is the depth
1.DTW from TOC – Height of Casing from Land Surface = DTW from Land Surface |  |  | of the water in the well when the pump is on. The same measuring instrument (example Water Level Sounder) should be used for all measurements.
2.Land Surface Elevation – DTW from Land Surface = Water Level Elevation
3. Land Surface Elevation – DTW from TOC + Height of Casing from Land Surface = Water Level Elevation |  |  | What are the measurements that must be taken? The measurements that must be taken on a weekly routine basis are DTW from TOC, weekly
4.TOC Elevation = Land Surface Elevation + Height of Casing from Land Surface |  |  | instantaneous pumping rates in gpm and monthly pumping rates in gal.
5.Land Surface Elevation = Depth to Bottom of well from Land Surface
6.DTW = Depth to Water |  |  | What are the required measurement and reporting frequencies? Groundwater weekly instantaneous pumping rates, monthly pumping rates and
7.TOC = Top of Casing |  |  | water level elevations (static and/or pumping) are required to be measured weekly and submitted on a monthly basis. Complete and submit one
8. PWS = Public Water System |  |  | form for each well in your water system if your water systems has multiple active wells. Reporting spreadsheet forms must be filled online and
completed reports are due by the 9th of the month following every monitoring month and must be sent electronically via the DWS website to
Use TOC as a reference point (measurement point). |  |  | DWDCompliance@ct.gov. Printed and filled paper reporting forms that are mailed or scanned and emailed are not acceptable.
If there is a measuring tube, use the top of measuring tube as the reference point and future measurements should be taken from the same spot.
In this case, TOC will refer to Top of Measuring Tube. When filling the form, Height of Casing from Land Surface is negative if TOC or |  |  | What can affect water level measurement? Surrounding water uses and seasonal patterns affect the static water level. Generally, higher water
measurement point is below land surface. |  |  | levels occur in the winter due to higher recharge rates and less pumping and lower in the summer due to lower recharge rates and high pumping.
If no measurement was taken, indicate on the form in the Comments section a reason such as: |  |  | Where Can I find more information? Most Well Construction (Initial / Aquifer Test) Reports may have information such as the TOC, original reference
i. Pump House locked | v. Well has been destroyed |  | static and pumping water levels, land surface elevation and / or depth to bottom of the well. Otherwise, use your first static and pumping water level
ii. Tape hung up | vi. Leaky casing |  | elevation measurements done in or after February 2017 as the original reference level elevation. Click on the following to learn more on how to take
iii. Can’t get tape in casing | vii. Temporarily inaccessible |  | water level measurements:
iv. Unable to locate well |  |  | http://www.oregon.gov/owrd/gw/docs/water_level_booklet.pdf
http://www.twdb.texas.gov/groundwater/docs/UMs/UM-52.pdf
If the measurement was inaccurate, indicate on the form in the Comments section a reason such as: |  |  | https://www.bookstore.ksre.ksu.edu/pubs/MF2669.pdf
a. Oil in casing | c. Caved or deepened | e. Other significant observations | http://www.globalw.com/support/groundwater.html
b. Nearby pump operating | d. Pumping on going or pumped a short while ago |  | http://www.farmsreach.com/welcome/wp-content/uploads/2014/03/GroundwaterLevelMonitoring.pdf
If you need additional space to enter your comments, use the Additional Comments Sheet.

## Sheet1 (hidden)
Yes | Falling
No | Rising