##### Instructions

Following the construction, water quality testing, and yield testing of a new public water system (PWS) water supply well, this application should be completed and submitted to the Department for review and determination of suitability of the well water quality and quantity. Note that this application is step 2 of a four-step approval process which is required to be followed prior to active use of the new well. The other approval steps include step 1 (Well Site Suitability), step 3 (treatment, piping, etc.), and step 4 (Well Use Approval).

| Section A. General Information |
| --- |
| 1. | PWS Name: PWSID #: CT Town: |
| 2. | Name of the primary contact person who can answer technical questions regarding this project: Name: Title: Company: Address: Phone Number: Fax Number: E-mail: |
| 3. | The following information, at a minimum, must be submitted with this application: |  |  |  |
| a. | A completed Public Water System General Application for Approval or Permit for this project | Yes | No |  |
| b. | A copy of the Well Drilling Permit | Yes | No |  |
| c. | A copy of the Well Drilling Completion Report | Yes | No |  |
| d. e. | A copy of the Yield Test Log Hardcopy of water quality test results (Laboratory Report) | Yes Yes | No No |  |
| f. | Reference map identifying the location of the well | Yes | No |  |

| 4. | Has any additional supporting information/documentation been submitted along with this application? If yes, identify: | Yes | No |  |
| --- | --- | --- | --- | --- |
| Section B. Well Information |
| 1. | Well Name and or proposed number: |
| 2. | Type of Well (select one): Bedrock Gravel Packed Other: |
| 3. | Primary Purpose of Well (select one): Primary Source of Supply Backup to Existing Source of Supply Emergency Source of Supply Other: |
| 4. | Is this well a replacement for an existing well? If yes, indicate the name of the existing well that is being replaced by this well: | Yes | No |  |
| 5. | Site Location: Latitude/Longitude of Well: Latitude: ° ' " Longitude: ° ' " |
| 6. | Date Well Site Suitability Certification Issued by Drinking Water Section: |
| 7. | Well Construction Information (if not applicable, indicate N/A): Name of Licensed Well Driller: State of CT Well Drilling License #: Date Well Completed1: Well Depth (ft)2: Well Casing Diameter (in): Well Casing Length (ft): Grout Depth (ft)2: Well Casing Material: Well Screen Type: Depth to Top of Screen (ft)2: Make and Model of Well Cap3: 1. Per Well Drilling Completion Report 2. Measured from ground surface level 3. Include manufacturer’s cut sheet |
| 8. | Well Pump Information: Pump Type (select one): Submersible Vertical Turbine Jet Variable Frequency Drive Controller? Yes No Pump Make and Model1: Pump Capacity (gpm)1: Motor Size (hp): Depth to Well Pump (ft)2: 1. Include manufacturer’s pump curve 2. Measured from ground surface level |
| 9. 10. | Point of Entry (POE) Information: POE is defined as a location after treatment and before the entrance to the distribution system New Entry Point Existing Entry Point1 Raw Water Sample Tap2: Yes No Raw Water Meter Installed3: Yes No 1. If well is being connected to an existing POE, please identify the Facility ID# or name of the existing POE and submit a plumbing schematic or diagram of how the new well will connect to the system. 2. Smooth, threadless type installed prior to any other system components 3. Applicable for CWS wells only, but strongly recommended for any well. Will there be any treatment for this well? | Yes | No |  |
|  | If yes, briefly describe what type of treatment is proposed and why treatment is proposed to be installed (for new treatment processes). New treatment proposals must be submitted separately to the DPH for review using applications as may be available on the DPH’s website. |
| Section C. Yield Test |
| 1. | Date(s) of Yield Test: Duration of Yield Test (hours): Yield Test Performed By: Static Water Level Depth (ft)1: Static Water Level Observation Date: Stabilized Drawdown Depth (ft): Duration of Stabilized Drawdown (hours): Stabilized Pumping Rate (gpm): Safe Yield in gpd2: 1. Measured from ground surface level 2. Safe yield in gpd = stabilized pumping rate (gpm) X 18 X 60; and X 0.9 (for bedrock wells only) If stabilized pump rate is greater than approved rate per Well Site Suitability Certification, a system can pursue a new certification, or install a pump or flow restrictor to maintain pumping rate per certification. |
| Section D. Water Quality |
|  | The following table outlines the water quality testing that must be conducted depending on the type of system for which this well was drilled. Please refer to RCSA Section 19-13-B102(a) “Definitions” if further clarification with respect to system type is needed. Public Water System Type: Required Monitoring: Community (CWS) Tables A through H1 and I2 Non-Transient Non-Community (NTNC) Tables A through E, G, H1 and I2 Transient Non-Community (TNC) Tables A, B, C (only nitrate and nitrite), D, G, & H1 1. Table H is only applicable to gravel packed wells that will be subject to a determination for Groundwater Under the Direct Influence of Surface Water 2. Table I incorporates a discussion of the corrosivity potential of the new well which is required for all CWS and NTNC wells. The discussion must be completed by the applicant, or applicant’s agent and include an assessment of water quality results from Table I as well as any other relevant system information. It should be noted that a neutral saturation index alone does not deem a well to be non-corrosive as corrosion control water chemistry is complex in nature and can change over time due to changes in system components. Additionally, activation of a new source of supply will require the PWS to resume standard monitoring for lead and copper to determine optimum corrosion control. Additionally, it is further recommended that NTNC and TNC systems test for all parameter categories outlined in this document. When to Monitor: A well must be chlorinated during or immediately upon completion of its construction. Water quality samples shall be collected just prior to the completion of a yield test. Under this scenario the water produced from a well and ground water bearing structure would be in a flushed condition and should have no remaining chlorine. It is important to have coordination with laboratory staff or State certified operator that will be conducting this sampling. |
| 1. | The following tables identify the standards, maximum contaminant levels (MCL), U.S. Environmental Protection Agency secondary maximum contaminant levels (SMCL), DPH guidance/action level list January 2003 and March 2004 (AL) applicable for each parameter. Additional abbreviations used in this document: mg/L – milligram per liter; μg/L – microgram per liter; pCi/L – picoCurie per liter; mrem – millirem (rem – Roentgen Equivalent Man); MDL – method detection limit; NTU – Nephelometric Turbidity Unit; MFL – million fibers per liter; mL – milliliter. The results of the required water quality monitoring as identified above must be entered into the applicable Results columns in the following tables. In addition, the name and certification number of the state certified laboratory which conducted the testing must be entered for each table. If any parameters were subcontracted, the name(s) and certification number(s) of the subcontracted laboratories must also be listed where applicable. Table A – Bacteriological Laboratory Name: Lab ID#: PH- Sample Collection Date: Parameter: Standard: Results: Total Coliform Absent / Zero (0) Fecal Coliform or Ecoli1 Absent / Zero (0) Total chlorine2 Zero (0) 1. Fecal Coliform or Ecoli are required to be analyzed if result for the total coliform is present/positive. 2. This is conducted in the field to verify that there is no chlorine present in the water that would invalidate a bacteriological sample. |
| 2. | Table B – Physical Parameters Laboratory Name: Lab ID#: PH- Sample Collection Date: Parameter: Standard: Results: pH 6.4 – 10.0 Color 15 color units Turbidity 5 NTU Odor 2 |
| 3. | Table C – Inorganic Chemicals (IOCs) Laboratory Name: Lab ID#: PH- Sample Collection Date: Were any parameters subcontracted to another lab? Yes No If yes, indicate the name and ID# of the subcontracted lab(s) and include the subcontracted lab ID# with the sample result in the results column for those parameters that were subcontracted. Subcontracted Lab(s): Subcontracted Lab ID #: PH- Parameter: MCL or as noted (mg/L): Results (mg/L): Antimony 0.006 Arsenic 0.01 Barium 2 Beryllium 0.004 Cadmium 0.005 Chromium 0.1 Cyanide 0.2 Fluoride 4.0 Mercury 0.002 Nickel 0.1 Nitrate 10 Nitrite 1 Selenium 0.05 Silver 0.05 Sulfate 250 [SMCL] Chloride 250 Thallium 0.002 Lead 0.015 [AL] Copper 1.3 [AL] Sodium 28 [notification level] |
| 4. | Table D – Volatile Organic Chemicals (VOCs) Laboratory Name: Lab ID#: PH- Sample Collection Date: Were any parameters subcontracted to another lab? Yes No If yes, indicate the name and ID# of the subcontracted lab(s) and include the subcontracted lab ID# with the sample result in the results column for those parameters that were subcontracted. Subcontracted Lab(s): Subcontracted Lab ID #: PH- Parameter: MCL or as noted (mg/L): Results (mg/L): Benzene 0.005 Bromobenzene * Bromomethane * n-Butyl Benzene * Carbon Tetrachloride 0.005 Chlorobenzene 0.1 Chloroethane * Chloromethane 0.055 [AL] o-Chlorotoluene * p-Chlorotoluene * Dibromomethane * m-Dichlorobenzene 0.21 [AL] o-Dichlorobenzene 0.6 p-Dichlorobenzene 0.075 1, 1-Dichloroethane 0.08 [AL] 1, 2-Dichloroethane (EDC) 0.005 1, 1-Dichloroethylene 0.007 cis-1, 2-Dichloroethylene 0.07 Trans-1, 2-Dichloroethylene 0.1 Dichloromethane (Methylene chloride) 0.005 1, 2-Dichloropropane 0.005 1, 3-Dichloropropane * 2, 2-Dichloropropane * 1, 1-Dichloropropene * 1, 3-Dichloropropene * Ethylbenzene 0.7 Methyl Tert Butyl Ether (MTBE) 0.07 [AL] Naphthalene 0.0065 [AL] n-Propyl Benzene * Styrene 0.1 1, 1, 1, 2-Tetrachloroethane 0.021 [AL] Table D is continued on next page… |
|  | Table D (VOCs) continued Parameter: MCL or as noted (mg/L): Results (mg/L): 1, 1, 2, 2-Tetrachloroethane 0.028 [AL] Tetrachloroethylene 0.005 Toluene 1 Total Trihalomethanes (TTHM) 0.080 Bromodichloromethane ** Bromoform ** Chlorodibromomethane ** Chloroform ** 1, 1, 1-Trichloroethane 0.2 1, 1, 2-Trichloroethane 0.005 1, 2, 4-Trichlorobenzene 0.07 Trichloroethylene 0.005 1, 2, 3-Trichloropropane 0.00005 [AL] 1, 2, 4-Trimethylbenzene 0.036 [AL] 1, 3, 5-Trimethylbenzene 0.036 [AL] Vinyl Chloride 0.002 Xylenes (total) 10 m-Xylene *** o-Xylene *** p-Xylene *** * MCL or AL has not been established for this chemical. ** The MCL for Total Trihalomethanes (TTHM) is the sum of these four (4) constituent Trihalomethanes. ***The MCL for Xylenes (total) is the sum of these three (3) constituent Xylenes. |
| 5. | Table E – Synthetic Organic Chemicals (SOCs) Laboratory Name: Lab ID#: PH- Sample Collection Date: Were any parameters subcontracted to another lab? Yes No If yes, indicate the name and ID# of the subcontracted lab(s) and include the subcontracted lab ID# with the sample result in the results column for those parameters that were subcontracted. Subcontracted Lab(s): Subcontracted Lab ID #: PH- Parameter: MCL or as noted (mg/L): Results (mg/L): Alachlor 0.002 Aldicarb * Aldicarb sulfoxide * Aldicarb sulfone * Aldrin * Atrazine 0.003 Benzo(A)pyrene 0.0002 Butachlor * Carbaryl * Carbofuran 0.04 Chlordane 0.002 Dalapon 0.2 Di(2-ethylhexyl)adipate 0.4 Di(2-ethylhexyl)phthalates 0.006 Dicamba * Dieldrin 0.00003 [AL] Dinoseb 0.007 Diquat 0.02 Dibromochloropropane (DBCP) 0.0002 2, 4-D 0.07 Ethylene dibromide (EDB) 0.00005 Endrin 0.002 Endothall1 0.1 Glyphosate 0.7 Heptachlor 0.0004 Heptachlor epoxide 0.0002 Hexachlorobenzene 0.001 Hexachlorocyclopentadiene 0.05 3-Hydroxycarbofuran * Lindane 0.0002 Methoxychlor 0.04 Table E is continued on next page… |
|  | Table E (SOCs) continued Methomyl * Metolachlor * Metribuzin * Oxamyl (vydate) 0.2 Picloram 0.5 Propachlor * Simazine 0.004 2,3,7,8-TCDD (dioxin)2 0.00000003 Polychlorinated biphenyls (PCB) 0.0005 Pentachlorophenol 0.001 Toxaphene 0.003 2,4,5-TP (silvex) 0.05 MCL or AL has not been established for this chemical. 1. The DPH may grant a waiver from monitoring for endothall if it is demonstrated that within the past year treatment with endothall has not been applied to any body of water, turf on sod farms or golf courses within the watershed or zone of influence of the source of supply. [Section 19-13-B102(e)(7)(C)(xiii) of the PHC] 2. The DPH may grant a waiver from monitoring for dioxin if it is demonstrated that the watershed or zone of influence has not been or is not being used for any of the following land uses: pesticides and herbicides manufacturer, pulp and paper manufacturer, plastics manufacturer, wood preservative manufacturer, landfill and domestic waste transfer station, or hazardous waste disposal facility. [Section 19-13-B102(e)(7)(C)(xii) of the PHC] Note: See definition for “zone of influence” under Sec.19-13-B102(a)(97) of the PHC. |
| 6. | Table F – Radionuclides Laboratory Name: Lab ID#: PH- Sample Collection Date: Were any parameters subcontracted to another lab? Yes No If yes, indicate the name and ID# of the subcontracted lab(s) and include the subcontracted lab ID# with the sample result in the results column for those parameters that were subcontracted. Subcontracted Lab(s): Subcontracted Lab ID #: PH- Parameter: MCL: Results: Gross Alpha1 15 pCi/L Radium-226 5 pCi/L (2) Radium-228 5 pCi/L (2) Uranium 30 µg/L (µg/L=1.49 X pCi/L) Beta Particle & Photon Emitters3 4 mrem/yr 1. Includes radium-226, excludes radon and uranium activities 2. MCL for combined radium-226 and radium-228 equals 5 pCi/L 3. Only required of community water systems with proposed source deemed “vulnerable”. PWS must test for Gross Beta, Tritium, and Strontium-90. |
| 7. | Table G - Sanitary Chemicals Laboratory Name: Lab ID#: PH- Sample Collection Date: Parameter: Standard: Results: Iron 0.3 mg/L [SMCL] Manganese 0.05 mg/L [SMCL] Hardness (as CaCO3) * Alkalinity * * MCL or AL has not been established for this parameter. |
| 8. | Table H - Microscopic Particulate Analysis (MPA) Laboratory Name: Lab ID#: PH- Sample Collection Date: Were any parameters subcontracted to another lab? Yes No If yes, indicate the name and ID# of the subcontracted lab(s) and include the subcontracted lab ID# with the sample result in the results column for those parameters that were subcontracted. Subcontracted Lab(s): Subcontracted Lab ID #: PH- Parameter: Relative Risk Factors (low, moderate or high Results: Biological indicators of surface water1 1. Giardia, Cryptosporidium, Coccidia, Diatoms. Algae, Insects/Larvae, Rotifers and Plant Debris |
| 9a. | Table I – Corrosivity Potential Assessment (includes discussion in 9b.) Laboratory Name: Lab ID#: PH- Sample Collection Date: Parameter: Standard: Results: pH** 6.4-10 Hardness** (as CaCO3) * Alkalinity** * Total Dissolved Solids * Conductivity (measured in the field) * Temperature (measured in the field) * Chloride** to Sulfate** Mass Ratio (Chloride result / Sulfate Result) * Saturation Index*** * * MCL or AL has not been established for this parameter. ** Already sampled as part of other tables ***In accordance with Standard Methodology 2330 9b. is continued on next page… |
| 9b. | Corrosivity Potential Assessment Discussion Use sample results listed above with any other relevant system information to provide an assessment of whether or not the new well has a high potential to cause corrosion problems in the distribution system once it is approved for use. Relevant system information should include but is not limited to sole source vs. multiple sources of supply for PWS, distribution system construction, and if applicable, similarities between water quality and construction of new source and old source it is replacing, current compliance with LCR, and any existing or proposed treatment, etc. |
| Section E. Certification |
| This application must be signed by the PWS administrative official, his/her authorized representative, or certified operator of the PWS. I hereby certify that I have examined the information contained in this application as submitted to the Department and found it to be accurate to the best of my knowledge: |
| Signature: | Date Signed: |
| Name (Print): | Telephone #: |
| Title and Relationship to PWS: |
| Drinking Water Section Use Only |
| DWD staff who conducted technical review: _________________________________ Date technical review completed: ________________ Water quality and quantity for this well is: Approved Rejected Comments: ______________________________________________________________________________________ ________________________________________________________________________________________________ ________________________________________________________________________________________________ ________________________________________________________________________________________________ |