STATE OF CONNECTICUT DEPARTMENT OF PUBLIC HEALTH

DRINKING WATER SECTION

Application for a Public Water System Well Site SUITABILITY CERTIFICATION

PLEASE REFER TO INSTRUCTIONS FOR COMPLETING THE APPLICATION FOR A PUBLIC WATER SYSTEM WELL SITE SUITABILITY CERTIFICATION PRIOR TO FILLING OUT.

Application will be returned if it is incomplete

Section A. Public Water System and Applicant Information

PWS Name: Project Name: Project Address: PWSID Number: CT PWS Type (select one): Community NTNC TNC Town: DPH Project Number (if known): Print Name of PWS Administrative Official: Title: Address: Phone Number: Fax Number: E-mail Address: Name of Consultant Company Name: Address: Phone Number: Name of Licensed Well Driller (must be licensed in CT): CT License Number: Address: Phone Number:

Section B. Well Information

1. Purpose of proposed well (Check One): New Public Water System Source Replacement Well Supplemental Well 2. Name of Proposed Well: Type: Bedrock Gravel Packed Other 3. Desired Withdrawal Rate (check one): <10 gallons per minute (gpm) 10-50 gpm >50 gpm 4. Indicate address where well will be located or closest town road or intersection: 5. Latitude and Longitude of proposed well site: Lat: ° ’ ” N Long: ° ’ ” W 6. Is proposed well site staked or marked in the field? Yes No

Section C. Well Site Characteristics

1. Is the proposed well site located above the FEMA100-year flood elevation? Yes No (See RCSA Section 19-13-B102(d)(1)(A) and instructions for completing.) 2. Does the public water system have full control (ownership) of the entire sanitary radius of the proposed well? If the public water system does not have control of the sanitary radius, indicate below how control will be obtained. 3. Indicate the locations of all nearby existing public and private wells, their corresponding distances to the proposed well and provide a brief description of potential effects the proposed new source of supply may have on these nearby systems.

Section D. Map Information

Attach a scaled site or street/zoning map certified by a Professional Engineer or Land Surveyor licensed in the State of Connecticut containing the following items: Location of proposed well(s) with GPS points noted Adjacent public and private active/inactive well(s) that will be tested for interference during the yield test, if applicable (CGS 25-33(b)) Show the appropriate sanitary radius as listed in Section E Table 2. Sanitary Land conservation easement boundary, if applicable Existing and potential sources of pollution within 200 feet (see Section E Table 2) Topographic contours appropriate for the scale of the map. 100-year flood elevation contour, if applicable North arrow Annual high water mark, wetland delineation, surface water bodies and watercourses (perennial and intermittent)

Section E. Sources of Pollution

1. Are there any known existing contaminated areas, as classified by the CT Department of Environmental Protection within a 1,500-foot radius of the proposed well site? Yes No; If yes, then describe below the current condition of the area and indicate separating distances from proposed well site. 2. Complete the following table: Required separation distances (feet) based on well pumping rate Actual Pollution Source < 10 gpm 10-50 gpm > 50 gpm Separation Distance (feet) Subsurface Sewage System (septic tank/leaching fields) 75 150 200 Sanitary Sewer-Minimum separating distances may be reduced under specific conditions. Refer to the instructions for details. 75 150 200 Storm Drain 25 50 50 Foundation, Floor Drain 25 50 50 Dry Well 75 150 200 High Water Mark for Surface Water Body 25 50 50 Liquid Fuel Storage Tank/Piping 75 150 200

Section F. Dioxin, Endothall, Beta Particle and Photon Emitter Assessment

The purpose of this section is to obtain an assessment to determine if the proposed site of a source of supply/well will be required to be tested for Dioxin, Endothall and /or Beta Particle and Photon Emitters. 1. Complete and attach “Certification Form for Dioxin and Endothall”. Required only for Community and Non-Transient Non-Community Water Systems; refer to the instructions for guidance. 2. Complete and Attach “Certification Form for Beta Particle and Photon Emitters”. Analyses required only for Community Water Systems, refer to the instructions for guidance

Section G. Certification Statement

I certify to the best of my knowledge that the information provided in this application is complete and correct. I understand that the information I provide will be used by the Department of Public Health, Drinking Water Section to determine if a Well Site Suitability Certification can be granted. I further understand that if an approval is issued, the well must be drilled in the location approved by the Department. ____________________________________________ ________________________________ Signature of Applicant Date ____________________________________________ ________________________________ Name of Applicant (print or type) Title (if applicable)

This application along with additional information on the public water system well approval process is located on the DPH Drinking Water Section’s web page:  www.ct.gov/dph  click on “Programs and Services” then “Drinking Water”

Drinking Water Section Use Only

Date Stamped: _____________________________________ Assigned Staff Person: _______________________________ Project No: _____________________