STATE OF CONNECTICUT

DEPARTMENT OF ECONOMIC AND COMMUNITY DEVELOPMENT

ENVIRONMENTAL ASSESSMENT CHECKLIST

Date: 11/16/2016	Staff Contacts:  Binu Chandy

Municipality: New Haven		Project Name: Dixwell Q House Project

Funding Source: Urban Act, DSS & State Library

State Funds: up to $16,500,000

This assessment is being conducted in conformance to the generic Environmental Classification Document to determine Connecticut Environmental Policy Act (CEPA) obligations

Project Description:

State grant funds will be used to assist with construction of a new Dixwell Q House Community Center.  The Center will house a wide variety of activities (gymnasium, senior center, youth resource rooms, museum, dance studio, meeting spaces, kitchen, etc.) along with potentially a branch of the Hill Health Center and the Stetson Branch of the New Haven Free Public Library. The old structure will be demolished using City funds.  Previous state funds (through the Department of Social Services) are being used for the design of the project.

Regulations of Connecticut State Agencies (RCSA) Sec. 22a-1a-3 Determination of environmental significance (Direct/Indirect)

- Impact on air and water quality or on ambient noise levels

- Air — The proposed project is not expected to cause significant adverse air quality effects.  The following are standard Department of Energy and Environmental Protection (DEEP) comments regarding mitigation of air quality impacts that should be observed during future planning and implementation of the project.

For large construction projects, the DEEP typically encourages the use of newer off-road construction equipment that meets the latest EPA or California Air Resources Board (CARB) standards. If that newer equipment cannot be used, equipment with the best available controls on diesel emissions including retrofitting with diesel oxidation catalysts or particulate filters in addition to the use of ultra-low sulfur fuel would be the second choice that can be effective in reducing exhaust emissions. The use of newer equipment that meets EPA standards would obviate the need for retrofits.

The DEEP also encourages the use of newer on-road vehicles that meet either the latest EPA or California Air Resources Board (CARB) standards for construction projects. These on-road vehicles include dump trucks, fuel delivery trucks and other vehicles typically found at construction sites. On-road vehicles older than the 2007-model year typically should be retrofitted with diesel oxidation catalysts or diesel particulate filters for projects. Again, the use of newer vehicles that meet EPA standards would eliminate the need for retrofits.

Additionally, Section 22a-174-18(b)(3)(C) of the Regulations of Connecticut State Agencies (RCSA) limits the idling of mobile sources to 3 minutes. This regulation applies to most vehicles such as trucks and other diesel engine-powered vehicles commonly used on construction sites. Adhering to the regulation will reduce unnecessary idling at truck staging zones, delivery or truck dumping areas and further reduce on-road and construction equipment emissions. Use of posted signs indicating the three-minute idling limit is recommended. It should be noted that only DEEP can enforce Section 22a-174-18(b)(3)(C) of the RCSA. Therefore, it is recommended that the project sponsor include language similar to the anti-idling regulations in the contract specifications for construction in order to allow them to enforce idling restrictions at the project site without the involvement of the DEEP.

- Water Quality — No negative impacts are anticipated.  The DEEP strongly supports the use of low impact development (LID) practices such as water quality swales and rain gardens for infiltration of stormwater on site. Key strategies for effective LID include: managing stormwater close to where precipitation falls; infiltrating, filtering, and storing as much stormwater as feasible; managing stormwater at multiple locations throughout the landscape; conserving and restoring natural vegetation and soils; preserving open space and minimizing land disturbance; designing the site to minimize impervious surfaces; and providing for maintenance and education. Water quality and quantity benefits are maximized when multiple techniques are grouped together. DEEP recommends the utilization of one, or a combination of, the following measures:

    - the use of pervious pavement or grid pavers (which are very compatible for parking lot and fire lane applications), or impervious pavement without curbs or with notched curbs to direct runoff to properly designed and installed infiltration areas,

    - the use of vegetated swales, tree box filters, and/or infiltration islands to infiltrate and treat stormwater runoff (from building roofs, roads and parking lots),

    - the minimization of access road widths and parking lot areas to the maximum extent possible to reduce the area of impervious surface,

    - if soil conditions permit, the use of dry wells to manage runoff from the building roofs,

    - the use of vegetated roofs (green roofs) to reduce the runoff from buildings,

    - incorporation of proper physical barriers or operational procedures to prevent release of pollutants from special activity areas (e.g. loading docks, maintenance and service areas, dumpsters),

The effectiveness of various LID techniques that rely on infiltration depends on the soil types present at the site. According to the Natural Resources Conservation Service’s Soil Web Survey, the soils at the property consist of urban land. These soils are unrated in their suitability for various stormwater management practices. However, infiltration practices may be suitable at this site. Soil mapping consists of a minimum 3 acres map unit and soils may vary substantially within each mapping unit. Test pits should be dug in areas planned for infiltration practices to verify soil suitability and/or limitations. Planning should insure that areas to be used for infiltration are not compacted during the construction process by vehicles or machinery. The siting of areas for infiltration must also consider any existing soil or groundwater contamination. Even if infiltration is limited at a site, it is still possible to implement LID practices such as green roofs on buildings or the use of cisterns to capture and reuse rainwater.

Stormwater discharges from construction sites where one or more acres are to be disturbed, regardless of project phasing, require an NPDES permit from the Permitting & Enforcement Division. The General Permit for the Discharge of Stormwater and Dewatering Wastewaters Associated with Construction Activities (DEEP-WPED-GP-015) will cover these discharges. The construction stormwater general permit dictates separate compliance procedures for Locally Approvable projects and Locally Exempt projects (as defined in the permit). Locally Exempt construction projects disturbing over 1 acre must submit a registration form and Stormwater Pollution Control Plan (SWPCP) to the DEEP. Locally Approvable construction projects with a total disturbed area of one to five acres are not required to register with the DEEP provided the development plan has been approved by a municipal land use agency and adheres to local erosion and sediment control land use regulations and the CT Guidelines for Soil Erosion and Sediment Control. Locally Approvable construction projects with a total disturbed area of five or more acres must submit a registration form to the DEEP prior to the initiation of construction. This registration shall include a certification by a Qualified Professional who designed the project and a certification by a Qualified Professional or regional Conservation District who reviewed the SWPCP and deemed it consistent with the requirements of the general permit. The SWPCP for Locally Approvable projects is not required to be submitted to the DEEP unless requested. The SWPCP must include measures such as erosion and sediment controls and post construction stormwater management. A goal of 80 percent removal of total suspended solids from the stormwater discharge shall be used in designing and installing post-construction stormwater management measures. The general permit also requires that post-construction control measures incorporate runoff reduction practices, such as LID techniques, to meet performance standards specified in the permit. For further information, contact the division at 860-424-3018. The construction stormwater general permit registrations can now be filed electronically through DEEP's e-Filing system known as ezFile. Additional information can be found on-line at: Construction Stormwater GP.

- Noise — No negative impacts are anticipated.

- Impact on a public water supply system or serious effects on groundwater, flooding, erosion, or sedimentation

- Water Supply — The Drinking Water Section of the DEPARTMENT of Public Health has reviewed the project for potential impacts to any sources of public drinking water supply. This project does not appear to be in a public water supply source water area.

- Groundwater — No negative impacts are anticipated.

- Flooding — The site is not within Connecticut’s coastal boundary as defined by section 22a-94 of the CGS nor within the 100-year or 500-year flood zones on the community's Flood Insurance Rate Map.

- Disruption or alteration of an historic, archeological, cultural or recreational building, object, district, site or surroundings — The original structure which is being demolished was built in 1970 and is adjacent to the National Register of Historic Places Winchester Repeating Arms Co. District.  The structure is listed in the New Haven Historic Resources Inventory register.  The State Historic Preservation Office (SHPO) has determined that the subject property may be eligible for listing on the State Register for Historic Places, but not the National Register of Historic Places.  The SHPO has approved the demolition of the original structure.  As mitigation, SHPO has recommended that the City complete a state-level documentation of the structure.  A final copy of the report will have to be sent to SHPO and the New Haven Preservation Trust.  The site as well as the surroundings was previously developed (and disturbed).  Therefore, the SHPO does not recommend any archaeological studies.  The SHPO has determined that the new construction will have no adverse effect to historic resources.

- Effect on natural land resources and formations, including coastal and inland wetlands, and the maintenance of in-stream flows — A majority of the proposed project site is presently developed with a building and parking lot.  The Natural Resources Conservation Service’s Soil Survey depicts the entire site as urban land. It does not appear that there are any areas which would be regulated as wetlands or watercourses as defined by section 22a-38 (15) and (16) of the Connecticut General Statutes (CGS), respectively.

- Effect on natural communities and upon critical species of animal or plant and their habitats: interference with the movement of any resident or migratory fish or wildlife species — The Natural Diversity Data Base, maintained by DEEP, contains no records of extant populations of Federally listed endangered or threatened species or species listed by the State, pursuant to section 26-306 of the CGS, as endangered, threatened or special concern in the project area. This information is not the result of comprehensive or site-specific field investigations. Current research projects and new contributors continue to identify additional populations of species and locations of habitats of concern as well as enhance existing data. Such new information is incorporated into the Data Base as it becomes available. Also be advised that this is a preliminary review and not a final determination. A more detailed review may be conducted as part of any subsequent environmental permit applications submitted to DEEP for the proposed site.

- Use of pesticides, toxic or hazardous materials or any other substance in such quantities as to create extensive detrimental environmental impact— No negative impacts are anticipated.

- Substantial aesthetic or visual effects — No negative impact are anticipated.

- Inconsistency with the written and/or mapped policies of the statewide Plan of Conservation and Development and such other plans and policies developed or coordinated by the Office of Policy and Management or other agency — Because this action involves improvement of real property in excess of $200,000, it is subject to the consistency requirement of the State Conservation and Development Plan of 2013-2018 (Plan) and its Growth Management Principles (GMP). In particular, this type of project supports GMP #1 (Redevelop and Revitalize Regional Centers and Areas with Existing or Currently Planned Physical Infrastructure).  In addition, the Plan requires that those projects deemed Growth Related be located in a Priority Funding Area.  This project has been determined to be a Growth Related Project as defined in the Plan and is located in a Priority Funding Area and is therefore consistent with the Plan.

- Disruption or division of an established community or inconsistency with adopted municipal or regional plans— No negative impacts are anticipated.

- Displacement or addition of substantial numbers of people — No negative impacts are anticipated.

- Substantial increase in congestion (traffic, recreational, other) — No negative impacts are anticipated.

- A substantial increase in the type or rate of energy use as a direct or indirect result of the action— In keeping with DEEP’s interest in furthering the use of alternate fuels for transportation purposes, the Department recommends that Level 2 electric vehicle charging stations be included at 3% of the parking spaces in the project design. Increasing the availability of public charging stations will facilitate the introduction of the electric vehicle technology into the state and serve to alleviate the present energy dependence on petroleum.

- The creation of a hazard to human health or safety — The following summarizes the Department of Public Health’s position with regard to lead, asbestos, and radon:

A. Lead-Based Paint:

It does not appear that renovation and demolition activities that may be associated with this project are subject to the Department of Public Health (DPH), Childhood Lead Poisoning Prevention and Control Regulations (19a-111-1 through 19a-111-11). However, there are other issues that must be addressed related to lead-based paint. Among these issues are the following:

- Testing of paint on existing structures marked for demolition or testing for lead in soils should be performed by a lead inspector or lead inspector/risk assessor certified by the DPH.

- Planned demolition or soil removal activities should be performed using lead-safe work practices.

- If lead-based paint or lead contaminated soil is identified, the classification and disposal of generated waste must comply with the Resource Conservation Recovery Act (RCRA) and Connecticut Department of Environmental Protection standards (e. g., Toxicity Characteristics Leaching Procedure [TCLP] testing, reporting, and record keeping requirements).

- Additionally, if lead-based paint, lead containing paint, or lead contaminated soil is identified, workers must be trained (as a minimum) according to the Occupational Safety and Health Administration (OSHA) lead standards (29 CFR 1926.62).

- Because other contaminants may also be present on the site, additional health and safety training may be required (c g., hazardous waste and/or asbestos).

B. Asbestos Program:

The demolition of an existing facility or structure in conjunction with this project may impact asbestos-containing materials. As required by the asbestos National Emission Standards for Hazardous Air Pollutants (40 C.F.R. Part 61, Subpart M) and in order to ensure compliance with DPH regulations, a thorough inspection must be conducted to determine the presence of asbestos prior to the commencement of the planned demolition activity. A DPH licensed asbestos consultant, with certification as an Inspector or a Management Planner, must be hired to conduct such an inspection. If asbestos is identified, it must be properly abated. A DPH licensed asbestos contractor must be hired to conduct asbestos abatement that involves more than three (3) linear feet or more than three (3) square feet of asbestos-containing material. Additionally, the DPH must be provided with notification prior to asbestos abatement that involves greater than ten (10) linear feet or greater than twenty-five (25) square feet of asbestos-containing material. Asbestos abatement must be performed in accordance with all applicable federal, state and local regulations.

C. Radon

The Connecticut Department of Public Health Radon Program recommends that during the construction of the building, radon resistant features should be built into the infrastructure of the building. The list below describes the basic components of radon resistant new construction:

- A gas permeable layer, such as 4-inch gravel, placed beneath the slab to allow soil gases to move freely underneath the building

- Plastic sheeting over the gas permeable layer and under the slab to help prevent soil gases from entering the home

- Sealing and caulking all openings in the foundation floor to reduce soil gas entry

- A vent pipe, such as 6 inch PVC pipe, to run from the gas permeable layer through the building to the roof to safely vent soil gases above the building

- An electrical junction box installed in case an electric venting fan is needed later

The facility should be tested for radon after construction is completed. If radon results are at or above 4.0 picocuries per liter (pCi/L), the existing system should be activated by installing an inline fan.

The following DEEP comments regarding building demolition projects should be observed, as applicable, during future planning and implementation of the project:

Prior to the demolition of any commercial, industrial or public buildings or buildings containing five or more residential units, they must be inspected for asbestos-containing materials (ACM) and any such materials must be removed by asbestos abatement contractors that are licensed by the Department of Public Health (DPH). Additional information on asbestos contractors may be found at: Asbestos Contractors. ACM must be properly containerized and labeled, and must be shipped off-site using an asbestos manifest. Written notice must be submitted to the DPH ten working days prior to the demolition of any structure in accordance with Section 19a-332a-3 of the Regulations of Connecticut State Agencies. For further information, contact DPH at 860-509-7367. Additional information concerning regulation of asbestos may be found on the DPH website at: Asbestos Program.

Asbestos-containing material is regulated as a “special waste” in Connecticut, and may not be disposed of with regular construction and demolition waste. Instead, it may only be disposed at a facilities that are specifically authorized to accept ACM. Currently, there are only two facilities that are authorized to accept asbestos-containing material in Connecticut: Red Technologies in Portland and Manchester Landfill in Manchester (which can only accept non-friable types of asbestos-containing materials). Although the disposal of asbestos-containing material is typically arranged for by the licensed asbestos abatement contractor, project proponents should ensure that the contractor disposes of all such materials at properly-licensed facilities.

Demolition debris may also include materials that contain polychlorinated biphenyls (PCBs). Such materials can include transformers, capacitors, fluorescent light ballast and other oil-containing equipment, and in certain building materials (i.e., paint, roofing, flooring, insulation, etc.). In recent years, EPA has also learned that caulk containing potentially harmful polychlorinated biphenyls (PCBs) was used around windows, door frames, masonry columns and other masonry building materials in many buildings starting in 1929 with increased popularity in the 1950s through the 1970s, including schools, large scale apartment complexes and public buildings. In general, these types of buildings built after 1978 do not contain PCBs in caulk. In 2009, EPA announced new guidance about managing PCBs in caulk and tools to help minimize possible exposure. The guidance can be found at: PCBs in Caulk. Where schools or other buildings were constructed or renovated prior to 1978, EPA and DEEP recommend that PCB-containing caulk removal be scheduled during planned renovations, repairs (when replacing windows, doors. roofs, ventilation, etc.) and demolition projects, whenever possible. However, the continued use of such PCB materials is prohibited and, where it is identified, it must be addressed. EPA recommends testing caulk that is going to be removed as the first step in order to determine what protections are needed during removal. Where testing confirms the presence of PCBs, it is critically important to ensure that they are not released to air during replacement or repair of caulk in affected buildings. Many such PCB removal projects will need to include sampling of the substrate and soil, as well as require plans to be approved by EPA in coordination with DEEP.

In addition to asbestos and PCBs, demolition debris may also be contaminated with lead-based paint, chemical residues, or other materials that require special disposal. For more information on these materials, see the DEEP’s Renovation and Demolition Web Page. Additional information concerning disposal of demolition debris is available in the DEEP’s Demolition Debris Web Page.

Deconstruction, an environmentally-friendly alternative to demolition, should be utilized in order to salvage as many of the reusable materials as possible, diverting them from the waste stream. Salvaged items typically include doors, windows, cabinets, lighting and plumbing fixtures, framing lumber, roofing materials, and flooring.

Demolition waste that is not contaminated with asbestos, PCBs, or other materials that require special handling is subject to Connecticut’s solid waste statutes and regulations, and must be reused, recycled, or disposed of accordingly. Construction and demolition debris should be segregated on-site and reused or recycled to the greatest extent possible. Waste management plans for construction, renovation or demolition projects are encouraged to help meet the State’s reuse and recycling goals. Connecticut’s Comprehensive Materials Management Strategy outlines a goal of 60% recovery rate for municipal solid waste by the year 2024. Part of this effort includes increasing the amount of construction and demolition materials recovered for reuse and recycling in Connecticut. It is recommended that contracts be awarded only to those companies who present a sufficiently detailed construction/demolition waste management plan for reuse/recycling.

One way that certain types of construction and demolition waste can be reused is as clean fill. Clean fill is defined in section 22a-209-1 of the Regulations of Connecticut State Agencies (RCSA) and includes only natural soil, rock, brick, ceramics, concrete and asphalt paving fragments. Clean fill can be used on site or at appropriate off-site locations. Clean fill does not include uncured asphalt, demolition waste containing other than brick or rubble, contaminated demolition wastes (e.g. contaminated with oil or lead paint), tree stumps, or any kind of contaminated soils. Land-clearing debris and waste other than clean fill resulting from demolition activities is considered bulky waste, also defined in section 22a-209-1 of the RCSA. Bulky waste is classified as special waste and must be disposed of at a permitted landfill or other solid waste processing facility pursuant to section 22a-208c of the Connecticut General Statutes and section 22a-209-2 of the RCSA.

Development plans in urban areas that entail soil excavation should include a protocol for sampling and analysis of potentially contaminated soil. Soil with contaminant levels that exceed the applicable criteria of the Remediation Standard Regulations, that is not hazardous waste, is considered to be special waste. The disposal of special wastes, as defined in section 22a-209-1 of the Regulations of Connecticut State Agencies (RCSA), requires written authorization from the Waste Engineering and Enforcement Division prior to delivery to any solid waste disposal facility in Connecticut. If clean fill is to be segregated from waste material, there must be strict adherence to the definition of clean fill, as provided in Section 22a-209-1 of the RCSA. In addition, the regulations prohibit the disposal of more than 10 cubic yards of stumps, brush or woodchips on the site, either buried or on the surface.

The Waste Engineering & Enforcement Division has issued a General Permit for Contaminated Soil and/or Sediment Management (Staging & Transfer) (DEP-SW-GP-001). It establishes a uniform set of environmentally protective management measures for stockpiling soils when they are generated during construction or utility installation projects where contaminated soils are typically managed (held temporarily during characterization procedures to determine a final disposition). Temporary storage of less than 1000 cubic yards of contaminated soils (which are not hazardous waste) at the excavation site does not require registration, provided that activities are conducted in accordance with the applicable conditions of the general permit. Registration is required for on-site storage of more than 1000 cubic yards for more than 45 days or transfer of more than 10 cubic yards off-site.

- Any other substantial impact on natural, cultural, recreational or scenic resources — No negative impacts are anticipated.

Conclusion:  After examining potential environmental impacts and reviewing all comments received from the various resource agencies, CTDECD has concluded that the preparation of an Environmental Impact Evaluation will not be required for the Dixwell Q House Community Project in New Haven.  However, the following mitigation measures, recommended by other agencies will be adopted to minimize any potential impacts that may arise during construction and implementation of the project.

Recommendations received by various State agencies as a result of the Scoping Process:

- From Department of Public Health (DPH):  The construction plans should include radon resistant features for occupied spaces.  The project includes demolition of the existing building; therefore, a plan must be in place to address lead-based paint, asbestos and lead contaminated soils since these types of construction activities could result in the disturbance of surfaces that may contain lead-based paint, asbestos and/or lead contaminated soils.

- From Department of Energy and Environmental Protection (DEEP): The DEEP has provided various recommendations to reduce potential adverse impacts, both during construction and implementation of the project.  A summary is provided below but details can be found in the Comments letter submitted by DEEP on April 16, 2015.

  - The DEEP recommends utilizing green infrastructure or Low Impact Development (LID) techniques to the greatest extent possible.

  - Required stormwater discharge permits will have to be obtained from DEEP.

  - In keeping with the DEEPs interest in furthering the use of alternate fuels for transportation purposes, DEEP recommends that Level 2 electric vehicle charging stations be included at 3% of the parking spaces in the project design.

  - The disposal of special wastes, as defined in section 22a-209-1 of the Regulations of Connecticut State Agencies (RCSA), requires written authorization from the Waste Engineering and Enforcement Division prior to delivery to any solid waste disposal facility in Connecticut.

  - To reduce air quality impacts during construction DEEP suggests either using newer off-road equipment, equipment equipped with controls on diesel/exhaust emissions.  DEEP also recommends using newer on-road vehicles that meet either the latest EPA or California Air Resources Board (CARB) standards for construction projects.  Additionally, Section 22a-174-18(b)(3)(C) of the Regulations of Connecticut State Agencies (RCSA) limits the idling of mobile sources to 3 minutes.