# STATE OF CONNECTICUT

# DEPARTMENT OF ENERGY & ENVIRONMENTAL PROTECTION

# OFFICE OF ENVIRONMENTAL REVIEW

# 79 ELM STREET, HARTFORD, CT 06106-5127

To:	Cameron Walden - Supervising Sanitary Engineer

DPH - Drinking Water Section, 450 Capitol Avenue, MS#51WAT, Hartford

From:	David J. Fox - Senior Environmental Analyst	Telephone:   860-424-4111

Date:	September 5, 2012	E-Mail:  david.fox@ct.gov

Subject:	Mohegan Park Water Tank, Norwich

The Department of Energy & Environmental Protection has received the Notice of Scoping for the project proposed by Norwich Public Utilities to construct a 2.0 million gallon concrete water tank at Mohegan Park in Norwich.  The following comments are submitted for your consideration.

If the water tank is to be tested and disinfected, the discharge would be covered by the General Permit for the Discharge of Hydrostatic Pressure Testing Wastewater (DEP-PERD-GP-011).  This general permit applies to all discharges of waters used to test the structural integrity of new or used tanks and pipelines that hold or transfer drinking water, sewage, or natural gas.  The general permit contains pH, chlorine, oil and grease, and suspended solids limits which will need to be complied with during the testing and verified through monitoring.  Registration is required to be submitted to the Department in order for the discharges to be authorized by this general permit.  A fact sheet, the general permit which includes the registration form, titled Notice of Coverage, and the Application Transmittal form may be downloaded at: Hydrostatic GP

The Natural Diversity Data Base, maintained by DEEP, contains no records of extant populations of Federally listed endangered or threatened species or species listed by the State, pursuant to section 26-306 of the Connecticut General Statutes, as endangered, threatened or special concern at the project area.  This information is not the result of comprehensive or site-specific field investigations.  Also, be advised that this is a preliminary review.  A more detailed review may be conducted as part of any subsequent environmental permit applications submitted to DEEP for the proposed site.  Consultation with the Natural Diversity Data Base should not be substituted for on-site surveys required for environmental assessments.  The extent of investigation by competent biologist(s) of the flora and fauna found at the site would depend on the nature of the existing habitat(s).  If field investigations reveal any Federal or State listed species, please contact the DEEP Geologic & Natural History Survey at 860-424-3540.

If the existing tank is to be demolished, the following comments would be applicable.

Norwich Public Utilities should be aware that large, painted above-ground tanks may have historically been painted with PCB paint and may also have PCB caulk associated with them.  Such materials must be managed properly should PCBs be present.  Prior to demolition, the paint and any caulk should be tested for the presence of PCBs.  In addition, leaching from painted surfaces can also cause adjacent soil contamination.  If PCB paint or caulk is confirmed, soil sampling is advisable.  Further information concerning PCBs can be found on-line at: PCB Info or by contacting Lori Saliby of the DEEP PCB Program at 860-424-3329 or lori.saliby@ct.gov.

The disposal of demolition waste should be handled in accordance with applicable solid waste statutes and regulations.  Demolition debris may be contaminated with asbestos, lead-based paint or chemical residues and require special disposal.  Clean fill is defined in section 22a-209-1 of the Regulations of Connecticut State Agencies (RCSA) and includes only natural soil, rock, brick, ceramics, concrete and asphalt paving fragments.  Clean fill can be used on site or at appropriate off-site locations.  Clean fill does not include uncured asphalt, demolition waste containing other than brick or rubble, contaminated demolition wastes (e.g. contaminated with oil or lead paint), tree stumps, or any kind of contaminated soils.  Landclearing debris and waste other than clean fill resulting from demolition activities is considered bulky waste, also defined in section 22a-209-1 of the RCSA.  Bulky waste is classified as special waste and must be disposed of at a permitted landfill or other solid waste processing facility pursuant to section 22a-208c of the Connecticut General Statutes and section 22a-209-2 of the RCSA.  Additional information concerning disposal of demolition debris is available on-line at: Demolition Debris.

Thank you for the opportunity to review this project.  If there are any questions concerning these comments, please contact me.

cc:	Robert Hannon, DEEP/OPPD

Lori Saliby, DEEP/PCB