| Skill No. | 5.3.14M | Primary Task: | Stop Water Flow from Sprinkler |
| --- | --- | --- | --- |
| Objective(s) : | 5.3.14, 5.3.14(B) | NFPA Standard: | 1001 Candidate # |  |
| Performance Evaluation Sheet |
| Task |
|  | 1st | 2nd |
| 1 | * Wears full protective equipment properly |  |  |
| 2 | Stops water flow from activated sprinkler head using wooden wedges or sprinkler wedge stopper |  |  |
| 3 | Identifies and closes main control valve |  |  |
| 4 | Identifies and opens main drain valve |  |  |
| * Critical Task | Failure of this task mandates failure on the entire objective | Safety is PARAMOUNT | Total number tasks candidate must complete to pass | 3 |