| Skill Sheet No. | 5.3.17A | Primary Task: | Safety Procedures for Lighting Equipment |
| --- | --- | --- | --- |
| Objective(s) : | 5.3.17, 5.3.17(B) | NFPA Standard: 1001 Candidate # |  |
| Performance Evaluation Sheet |
| Task |
|  | 1st | 2nd |
| 1 | Describes and identifies inverter (if applicable) |  |  |
| 2 | Describes and identifies generator (if applicable) |  |  |
| 3 | * Checks overhaul condition of tools, cords, plugs, and connectors |  |  |
| 4 | * Connects all lighting equipment in proper sequence |  |  |
| 5 | Takes safety precautions to avoid burns |  |  |
| 6 | Re-sets (GFI) Ground Fault Interrupter (if applicable) |  |  |
| 7 | Identifies “double insulated” tool (if applicable) |  |  |
| * Critical Task | Failure of this task mandates failure on the entire objective | Safety is PARAMOUNT | Total number tasks candidate must complete to pass | 5 |