| DOCKET NO. 381 - New Cingular Wireless PCS, LLC (AT&T) application for a Certificate of Environmental Compatibility and Public Need for the construction, maintenance and operation of a telecommunications facility located at 27 Gungy Road/322 Beaver Brook Road, Lyme, Connecticut. | } } } | Connecticut Siting Council December 18, 2009 |
| --- | --- | --- |

Findings of Fact

Introduction

- New Cingular Wireless PCS, LLC (AT&T), in accordance with the provisions of Connecticut General Statutes (CGS) §§ 16-50g through 16-50aa, applied to the Connecticut Siting Council (Council) on May 15, 2009 for the construction, operation, and maintenance of a 180-foot wireless telecommunications facility located at 27 Gungy Road/322 Beaver Brook Road, Lyme, Connecticut.  (AT&T 1, pp. 1-2)

- AT&T is a Delaware corporation with an office in Rocky Hill, Connecticut.  AT&T is licensed by the Federal Communications Commission (FCC) to construct and operate a personal wireless service system in Connecticut.  (AT&T 1, p. 2)

3.	The party in this proceeding is the applicant.  (Transcript 1 – 10/15/09, 3:05 p.m. [Tr. 1], p. 5)

4.	The purpose of the proposed facility is to provide wireless service for AT&T to northern Lyme and parts of East Lyme.  (AT&T 1, p. 1)

5.	Pursuant to CGS § 16-50m, the Council, after giving due notice thereof, held a public hearing on October 15, 2009, beginning at 3:05 p.m. and continuing at 7:10 p.m. at the Lyme Public Hall, 249 Hamburg Road (Route 156), Lyme, Connecticut.  (Council’s Hearing Notice dated August 4, 2009; Tr. 1, p. 2; Transcript 2 – 10/15/09, 7:10 p.m. [Tr. 2], p. 2)

6.	The Council and its staff conducted an inspection of the proposed site on October 15, 2009, beginning at 2:00 p.m.  The applicant flew a red balloon with a diameter of least three feet at the site from 12:00 p.m. to 6:00 p.m. to simulate the height of the proposed tower.  Weather conditions were blustery and rainy.  The balloon moved back and forth with the wind, but did reach its full height of 180 feet above ground level (agl) at times.  (Council’s Hearing Notice dated August 4, 2009; AT&T 1, pp. 2 and 10;Tr. 1, pp. 12-13)

7.	Notice of the application was provided to all abutting property owners by certified mail.  Public notice of the application was published in The Day.  (AT&T 1, p. 3 and Tab 9)

8.	AT&T installed a sign describing the proposed project adjacent to the access drive along Beaver Brook Road on October 5, 2009.  The sign contained date and location of the public field review and hearing.  (Tr. 1, p. 14; AT&T 1, Tab 3)

9.	Pursuant to CGS § 16-50l(b), AT&T provided notice to all federal, state and local officials and agencies listed therein.  (AT&T 1, Tab 8)

State Agency Comment

10.	Pursuant to General Statutes § 16-50j(h), on August 4, 2009 and October 16, 2009, the following State agencies were solicited to submit written comments regarding the proposed facility: Department of Environmental Protection (DEP), Department of Agriculture (DOAG), Department of Public Health (DPH), Council on Environmental Quality (CEQ), Department of Public Utility Control (DPUC), Office of Policy and Management (OPM), Department of Economic and Community Development (DECD), and the Department of Transportation (DOT).  (Record)

11.	The Council received a written response from the DOT’s Bureau of Engineering and Highway Operations on October 9, 2009, stating that the DOT has no comment.  (Record)

12.	No responses to the solicitations were received from the DEP, DOAG, DPH, CEQ, DPUC, OPM, or DECD.  (Record)

Municipal Consultation

13.	AT&T filed a technical report with the Town of Lyme on February 27, 2009.  AT&T also filed a technical report with the Town of East Lyme because the project would be located within 2,500 feet of East Lyme.  (AT&T 1, p. 18)

14. AT&T’s technical report described two possible sites: the proposed site on 27 Gungy Road/322 Beaver Brook Road and an alternate site at 482 Grassy Hill Road.  The Town of Lyme Planning and Zoning Commission (P&Z Commission) held a public information meeting on April 13, 2009 (AT&T 1, p. 18)

15.	By letter dated April 14, 2009, the Town of Lyme Zoning Enforcement Officer indicated that the P&Z Commission supports the site at 27 Gungy Road/322 Beaver Brook Road and believes it would have a minimal environmental and aesthetic effect.  The P&Z Commission expressed strong opposition to the site at 482 Grassy Hill Road for aesthetic and environmental reasons, including a proposed access road that would be located within the protected zone of Eightmile River Watershed Overly District.  (AT&T 1, pp. 18-19)

16.  No comments were received from the Town of East Lyme.  (AT&T 1, p. 19)

17.	AT&T was contacted by the Town of Lyme Fire Marshal David Roberge, who is interested in co-locating on the proposed tower for fire, emergency services, and police communications.  AT&T responded that space is available on the tower and would be provided with no compensation.  The Town of Lyme Fire Marshal David Roberge provided a limited appearance statement to the Council on October 15, 2009 expressing his support for the tower proposal and indicating an interest in utilizing the tower for public safety antennas. (AT&T 1, pp. 7 and Tab 8; Tr. 1, pp. 8, 15-16)

Public Need for Service

18.	In 1996, the United States Congress recognized a nationwide need for high quality wireless telecommunications services, including cellular telephone service.  Through the Federal Telecommunications Act of 1996, Congress seeks to promote competition, encourage technical innovations, and foster lower prices for telecommunications services.  (Council Administrative Notice  Item No. 7)

19.	In issuing cellular licenses, the Federal government has preempted the determination of public need for cellular service by the states, and has established design standards to ensure technical integrity and nationwide compatibility among all systems.  (Council Administrative Notice Item No. 7)

20.	The Telecommunications Act of 1996 prohibits local and state entities from discriminating among providers of functionally equivalent services.  (Council Administrative Notice Item No. 7)

21.	The Telecommunications Act of 1996, a Federal law passed by the United States Congress, prohibits any state or local entity from regulating telecommunications towers on the basis of the environmental effects of radio frequency emissions to the extent that such towers and equipment comply with FCC’s regulations concerning such emissions.  This Act also blocks the Council from prohibiting or acting with the effect of prohibiting the provision of personal wireless service.  (Council Administrative Notice Item No. 7)

22.	In an effort to ensure the benefits of wireless technologies to all Americans, Congress enacted the Wireless Communications and Public Safety Act of 1999. The purpose of this legislation was to promote public safety through the deployment of a seamless, nationwide emergency communications infrastructure that includes wireless communications services.  (AT&T 1, pp. 5-6)

23. AT&T would be able to provide enhanced 911 services to the target service area.  (AT&T 1, pp. 5-6)

Site Selection

24.	AT&T established a search ring for the target service area on December 2005.  This search ring is centered just north of the proposed site along Gungy Road and has a diameter of approximately one mile.  (AT&T 2, response 1; Tr. 1, p. 17)

25.	Prior to selecting the proposed site, AT&T considered ten existing structures located within a four-mile radius of the site search area.  These structures included nine telecommunications towers and one silo.  All of the structures were rejected due to inadequate coverage to the target service area.  (AT&T 1, Tab 1)

26.	One existing tower is located within two miles of the search area.  It is a 105-foot self-supporting lattice tower located at 331 Grassy Hill Road, Lyme.  (AT&T 1, Tab 1; Council Administrative Notice Item No. 13)

27. The existing tower at 331 Grassy Hill Road, Lyme would not fill the coverage gap.  (Tr. 2, p. 25)

28.	After determining there were no viable structures within the search area, AT&T searched for properties suitable for tower development.  AT&T investigated nine raw land sites, one of which was selected for site development.  The eight rejected parcels/areas and the reasons for their rejection are as follows:

a) 482 Grassy Hill Road – Owner: Edward Firgelewski – This property was originally considered an alternate site, but due to opposition from the Town P&Z Commission AT&T decided to only go forward with the 27 Gungy Road/322 Beaver Brook Road site in its application to the Council.  The Grassy Hill Road property also contains a 200-foot easement intended for access to a possible subdivision on a property to the south.  The Grassy Hill Road site also contains wetlands and presents potential flooding issues.

b) Gungy Road – Owner: Kevin Mazer – The owner has not responded to AT&T’s inquiries.

c) Gungy Road (Hartman Park) – Owner: Town of Lyme – This site contains recreational land.

d) Gungy Road – Owner: Lucius Stark, et al – The owner(s) have not responded to AT&T’s inquiries.

e) Gungy Road – Owner: G-Four LLC – The owner has not responded to AT&T’s inquires.

f) Gungy Road – Owner: Pamela & Charles Ingersoll – This parcel contains the location of Whitford Pond and associated feeder streams.

g) Beaver Brook Road – Owner: Lyme Land Conservation Trust, Inc. – This is conservation land with restricted access due to wetlands.

h) 273 Beaver Brook Road – Edward Firgelewski – This parcel is significantly constrained by wetlands throughout the rear portion of the parcel.

(AT&T 1, Tab 2, pp. 3-4; AT&T 1, pp. 7-8; Tr. 1, pp. 66-69)

29.	Microcells, repeaters, distributed antenna systems and other types of transmitting technologies are not viable technological alternatives for providing coverage to the identified coverage gap.  (AT&T 1, p. 6)

Facility Description

30.	The proposed facility is located on a 100-acre parcel owned by Ruth E. Young at 322 Beaver Brook Road (refer to Figures 1 and 2).  The property owner’s residence is located at the same address.  (AT&T 1, p. 7 and Tab 3)

31.	Land use in the general vicinity of the proposed facility consists of low-density single-family homes and open space.  (AT&T 2, response 2)

32.  The parcel is zoned Rural (RU-80).  (AT&T 1, p. 9; AT&T 1a)

33.  The tower site is located in the western portion of the property.  (AT&T 1, Tab 3)

34. AT&T proposes to construct a 180-foot self-supporting monopole at the site in a wooded area.  (AT&T 1, Tab 3)

35.	The tower would be designed to meet EIA/TIA-222-F structural standards.  It would be designed to support a total of three levels of carriers’ antennas (including AT&T) plus the Town’s emergency communication antennas.  (Tr. 1, pp. 14-15; AT&T 1, Tab 3)

36.	There are no plans to make the tower expandable to a height above 180 feet.  (Tr. 1, pp. 59, 86-87)

37.	AT&T proposes to construct a 75-foot by 75-foot equipment compound within a 100-foot by 100-foot lease area at the base of the tower.  The compound has sufficient space to accommodate a total of additional three levels of carriers’ equipment plus the Town’s emergency communications equipment.  The compound would be enclosed by an eight-foot high chain link fence without barbed wire.  (AT&T 1, Tab 3; Tr. 2, pp. 8-10)

38.	No other wireless carriers have expressed an interest in co-locating at the proposed tower at this time.  (Tr. 1, pp. 16-17)

39.	Access to the compound would extend northerly from Beaver Brook Road (through a lot identified as 322 Beaver Brook Road) along a new 12-foot wide gravel access drive for approximately 1,833 feet to the proposed compound located on property with an address of 27 Gungy Road.  The proposed access drive follows an existing dirt path.  (AT&T 1, p. 2)

40.	Utilities would originate from pole #2431 on Beaver Brook Road and run underground to the tower compound generally following the access drive.  (AT&T 1, p. 2)

41.	AT&T proposes to install six panel antennas on a low-profile, triangular platform at a centerline height of 177 feet agl.  AT&T’s antennas would be flush with the top of the tower.  AT&T could use T-arm mounts with no degradation of signal.    (AT&T 1, p. 2; AT&T 2, response 8; Tr. 1, 17, 84)

42.	Flush-mount configuration provides space for only three antennas at each level: six antennas would require two levels.  Since each level of antennas needs to be separated from the next by 10 feet, a flush-mount configuration in this case would increase the tower’s height to 190 feet.  (AT&T 2, response 8; Tr. 1, p. 84)

43.	AT&T proposes to install a 12-foot by 20-foot equipment shelter within the compound.  A 4-foot by 11-foot concrete pad to accommodate a diesel generator would also be installed within the compound.  (AT&T 1, Tab 3; AT&T 2, response 4)

44.	The backup generator would be permanently installed and would have an approximately 200-gallon fuel tank to provide up to 114 hours of power, depending on the load.  (AT&T 2, response 4; Tr. 1, p. 21)

45. AT&T would have a battery backup system to prevent the facility from experiencing a “re-boot” condition during the generator’s start-up period.  The battery backup system could supply approximately four to five hours of backup power in the event that the generator fails to start.    (AT&T 2, response 4; Tr. 1, p. 20)

46.	The tower setback radius would be contained within the site property and would not reach the existing residence, which is approximately 1,400 feet south of the proposed tower location.  (AT&T 1, Tab 3)

47.	There are no residences within 1,000 feet of the tower site.  (AT&T 1, Tab 3)

48.	The nearest off-site residence to the proposed tower site is approximately 1,320 feet to the west, owned by David & Maryann Cook, located at 51 Gungy Road.  (AT&T 1, Tab 3; Tr. 1, p. 14)

49.	The tower site is located at an elevation of 259 feet above mean sea level (amsl).  Surrounding terrain ranges in elevation from 220 feet amsl to over 265 feet amsl.  (AT&T 1, Tab 3)

50.	The estimated construction cost of the facility, not including AT&T’s antennas and radio equipment, is:

Tower and foundation	93,000.
	Site development	110,000.
	Utilities	48,000.
	Facility installation	48,000.

Total estimated cost	$303,000.	(AT&T 1, p. 18)

Environmental Concerns

51.	By letter dated January 13, 2009, the State Historic Preservation Office (SHPO) indicated that the projected area possesses moderate to high sensitivity for prehistoric archaeological resources and additional investigations are warranted.  (AT&T 1, Tab 1)

52.	Subsequently, AT&T’s consultant, The Ottery Group, performed a Phase I Archeological Indentification Survey  and issued a report dated May 2009.  In the report, The Ottery Group found that the construction of the telecommunications facility would not impact unrecorded prehistoric and historic archeological resources and recommended no further investigations.  (AT&T 1, Tab 7)

53.	Upon review of such report, the SHPO determined that the proposed facility would have no effect upon historic, architectural, or archaeological resources listed on or eligible for the National Register of Historic Places or upon properties of traditional cultural importance to Connecticut’s Native American community.  (AT&T 2, response 3)

54.	The site is not within any designated area indicating the presence of Federally threatened or endangered species or State endangered, threatened or special concern species.  (AT&T 1, p. 11 and Tab 5)

55.	The surface of the existing access road would be removed to a level of approximately 1 foot deep and filled with crush stone to make the proposed access drive more solid.  (Tr. 1, p. 23)

56.	A total of 98 trees with a diameter of six inches or greater at breast height would be removed during the development of the proposed access road and compound at the proposed site.  (AT&T 1, Tab 3)

57.	The nearest wetlands are 50 feet to west of the proposed access drive and 230 feet to the southeast of the proposed compound, respectively.  (AT&T 1, p. 18)

58.	AT&T’s backup generator’s fuel tank would consist of a steel containment chamber that is lined with a bladder to contain the fuel in the event of a fuel spill  (AT&T 2, response 5)

59. Operation of AT&T’s backup generators would meet applicable noise standards.  (Tr. 1, pp. 21-22)

60.	Construction of the tower site would not be located within the locally-designed 100-foot upland review area.  Construction of the access drive would be located within the upland review area.  (AT&T 2, p. 10)

61. To mitigate any possible adverse impact to wetlands and water resources, AT&T plans to utilize appropriate erosion and sedimentation controls and other best management practices.  (AT&T 1, p. 18)

62.	The amount of cut required to develop the proposed tower site and access drive will be approximately 950 cubic yards.  The amount of fill would be approximately 744 cubic yards.  (AT&T 2, response 9)

63.	If ledge is encountered during excavation, the ledge would be chipped rather than blasted and used as fill.  (Tr. 1, p. 58)

64.	Aircraft hazard obstruction marking or lighting of the tower is not required or proposed.  (AT&T 1, p. 12 and Tab 3)

65.	The cumulative maximum power density from the radio frequency emissions of the proposed AT&T antennas is calculated to be approximately 4.3 percent of the standard for Maximum Permissible Exposure, as adopted by the FCC, at the base of the proposed tower.  This calculation was based on methodology prescribed by the FCC Office of Engineering and Technology Bulletin No. 65E, Edition 97-01 (August 1997) that assumes all antennas would be pointed at the base of the tower and all channels would be operating simultaneously.  Any future carriers’ power density would be recalculated.  (AT&T 1, p. 11)

Visibility

66.	Visibility of the proposed tower from specific locations within a two-mile radius of the site is as follows:

| Specific Location and Area Receptors | Visible | Approximate Portion of Tower Visible | Approx. Distance to Tower |
| --- | --- | --- | --- |
| 1. Intersection of Beaver Brook Road and Grassy Hill Road, looking northeast | No | N/A | 0.49 miles northeast |
| 2. 482 Grassy Hill Road, looking northeast | No | N/A | 0.59 miles northeast |
| 3. 281 Beaver Brook Road, looking northeast | No | N/A | 0.52 miles northeast |
| 4. 322 Beaver Brook Road, looking north | Yes | 20 feet – obscured by trees | 0.28 miles north |
| 5. Gungy Road, looking south | No | N/A | 0.61 miles south |
| 6. Coult Cemetary, looking northeast | No | N/A | 0.63 miles northeast |
| 7. Grassy Hill Road, looking northeast | No | N/A | 0.64 miles northeast |
| 8. 254 Beaver Brook Road, looking northeast | Yes | 25 feet – obscured by trees | 0.56 miles northeast |
| 9. Intersection of Grassy Hill Road and Old Grassy Hill Road, looking north | No | N/A | 1.18 miles north |
| 10. 24 Old Grassy Hill Road, looking north | No | N/A | 0.82 miles north |
| 11. Griffin Cemetery, looking east | Yes | 30 feet – distant view | 1.90 miles east |
| 12. 108 Beaver Brook Road, looking east | Yes | 25 feet – distant view | 1.83 miles east |
| 13. Nehantic State Forest Road, looking southwest | No | N/A | 0.99 miles southwest |
| 14. Intersection of Whistletown Road and Grassy Hill Road, looking northwest | No. | N/A | 0.80 miles northwest |
| 15. 184 Grassy Hill Road, looking northwest | No | N/A | 0.87 miles northwest |

(AT&T 1, Tab 4, Photosimulations)

67.	The proposed tower would be visible year-round from approximately 45 acres within two miles of the proposed site (refer to Figure 3 and 4).  The tower would be seasonally visible from an additional 6 acres. (AT&T 1, Tab 4, Viewshed Analysis)

68.	The proposed tower would be visible year-round from approximately four residences on Beaver Brook Road.  In addition, the tower would be seasonally visible from approximately two residences on Beaver Brook Road.  (AT&T 1, Tab 4, Viewshed Analysis)

69.	The tower may be visible year-round from the Beaudette residence at 213 Beaver Brook Road.  (Tr. 2, pp. 15, 21-22)

70.	The tower would not be visible from the nearest off-site home located at 51 Gungy Road.  (Tr. 1, p. 14)

71.	The tower would not be visible from any hiking trails, parks, or other recreational areas.  (AT&T 1, Tab 4, Viewshed Analysis)

72.	There are no state or locally designated scenic roads within a two-mile radius of the proposed tower.  (AT&T 1, Tab 4)

73.	AT&T considered alternative “stealth” tower designs, but did not pursue any due to the limited visibility at this site.  (Tr. 1, p. 15)

Alternate Site Proposed to Town of Lyme – 482 Grassy Hill Road,  Lyme

74.	A tower at the alternate site would be visible year-round from approximately four residences on Beaver Brook Road and one residence on Grassy Hill Road.  In addition, the tower would be seasonally visible from approximately six residences on Beaver Brook Road and two residences on Gungy Road.  (AT&T 1, Tab 4, Viewshed Analysis)

75.	A tower at the alternate site would have greater visibility than the proposed site.  For instance, at the intersection of Beaver Brook Road and Grassy Hill Road, the entire tower would be seasonally visible.  Approximately 60 feet of the tower would be visible year-round at that location.  (AT&T 1, Tab 4, Photosimulations)

AT&T - Existing and Proposed Wireless Coverage

76.	AT&T operates in both the cellular (800 MHz) and PCS (1900 MHz) frequency bands.  However, initially, the proposed AT&T antennas at this site would only operate in the cellular band.  AT&T seeks -82 dBm to be its target minimum signal level, sufficient for in-vehicle coverage.  (AT&T 1, Tab 3; AT&T 2, responses 15 and 16; Tr. 1, p. 34.)

77.	1900 MHz PCS could be used for additional capacity in the future, but AT&T does not expect that it would be required at this time.  (Tr. 1, pp. 85, 87)

78.	AT&T has existing signal levels in the vicinity of the proposed tower ranging from less than -105 dBm to -82 dBm.  The largest portion of this area has a signal level ranging between -92 dBm and -105 dBm (refer to Figure 5). (AT&T 1, Tab 1)

79.	The existing cellular coverage gaps on Gungy Road, Grassy Hill Road, and Beaver Brook Road are approximately 3.1 miles, 2.9 miles, and 2.7 miles, respectively.  Installing antennas at 177 feet agl would reduce the gaps to 0.6 miles, 1.65 miles, and 0 miles on Gungy Road, Grassy Hill Road, and Beaver Brook Road, respectively (refer to Figure 6).  (Tr. 2, p. 27; AT&T 2, response 15; AT&T 1, Tab 1)

80.	The site would provide a cellular coverage footprint of 27.66 square miles with an antenna height of 177 feet.  (AT&T 2, response 17)

81.	Installing antennas at 167 feet agl would reduce the existing coverage gaps to 0.6 miles, 1.65 miles, and 0.35 miles on Gungy Road, Grassy Hill Road, and Beaver Brook Road, respectively.  (Tr. 2, p. 26)

82.	At an antenna height of 167 feet agl, the coverage footprint would be reduced to 23.76 square miles.    (AT&T 2, response 17)

83.	Installing antennas at 157 feet agl would reduce the existing coverage gaps to 0.85 miles, 1.90 miles, and 0.50 miles on Gungy Road, Grassy Hill Road, and Beaver Brook Road, respectively.  (Tr. 2, p. 26)

84.	At an antenna height of 157 feet agl, the coverage footprint would be reduced to 20.81 square miles.  (AT&T 2, response 17)

85. 	AT&T has search areas to the north, south, east and west of the proposed site to plan for future coverage.  (Tr. 1, pp. 18-19)

Alternate Site – 482 Grassy Hill Road,  Lyme

86.	The alternate site offers better coverage to the south, but the proposed site provides superior coverage to the north, and provides improved hand-off to an existing AT&T Cell Site #2234, which is near Route 11 in Salem.  (Tr. 1, p. 66; AT&T 1, Tab 1)

Figure 1: Location of site at 322 Beaver Brook Road/27 Gungy Road, Lyme.

(AT&T 1, Tab 3)

Figure 2: Location of site at 322 Beaver Brook Road/27 Gungy Road, Lyme.

(AT&T 1, Tab 3)

Figure 3: Projected visibility of proposed site.  Number locations correspond to Finding of Fact #68.  (AT&T 1, Tab 4)

Figure 4: Visibility Map Legend  (AT&T 1, Tab 4)

Figure 5:  AT&T existing cellular coverage.  	(AT&T 1, Tab 1)

Figure 6:  AT&T proposed cellular coverage with antennas mounted at 177 feet agl.  (AT&T 2, response 10)

Figure 7:  AT&T proposed cellular coverage with antennas mounted at 167 feet agl.  (AT&T 2, response 10)

Figure 7:  AT&T proposed cellular coverage with antennas mounted at 157 feet agl.  (AT&T 2, response 10)

Figure 8:  Alternate Site – Grassy Hill Road Existing and Proposed Cellular Coverage with antennas mounted at the proposed height of 157 feet.  (AT&T Late Filed Exhibit)