| DOCKET NO. 411 - New Cingular Wireless PCS, LLC application for a Certificate of Environmental Compatibility and Public Need for the construction, maintenance and operation of a telecommunications facility located at 1363 Boston Post Road, Old Saybrook, Connecticut. | } } } | Connecticut Siting Council April 28, 2011 |
| --- | --- | --- |

# Findings of Fact

Introduction

- New Cingular Wireless PCS, LLC (AT&T), in accordance with provisions of Connecticut General Statutes (CGS) § 16-50g through 16-50aa, applied to the Connecticut Siting Council (Council) on November 1, 2010 for the construction, maintenance, and operation of a telecommunications facility, which would include a 100-foot tall monopole tower, at 1363 Boston Post Road in the Town of Old Saybrook, Connecticut. (AT&T 1, pp. 1-2)

- AT&T is a Delaware limited liability company with an office at 500 Enterprise Drive, Rocky Hill, Connecticut. The company’s member corporation is licensed by the Federal Communications Commission (FCC) to construct and operate a personal wireless services system. The company does not conduct any other business in the State of Connecticut other than the provision of wireless services under FCC rules and regulations. (AT&T 1, p. 3)

- The party in this proceeding is the applicant. (Transcript, February 15, 2011, 3:05 p.m. [Tr. 1], p. 4)

- The purpose of the proposed facility would be to provide wireless communication coverage in the shoreline community of Old Saybrook, including portions of Route 1 (Boston Post Road), the Amtrak rail line, and local business, commercial properties, and residences in an area where there are existing deficiencies in reliable coverage. (AT&T 1, p. 2; Attachment 1- Current Coverage Plot)

- Pursuant to CGS § 16-50m, the Council, after giving due notice thereof, held a public hearing on February 15, 2011, beginning at 3:05 p.m. and continuing at 7:05 p.m. in the Acton Public Library, 60 Old Boston Post Road in Old Saybrook, Connecticut. (Tr. 1, p. 2 ff.)

- The Council and its staff conducted an inspection of the proposed site on February 15, 2011, beginning at 2:00 p.m.  On the day of the field inspection, the applicant attempted to fly a balloon at the site between 8:00 a.m. and 5:00 p.m. Weather conditions were not conducive for the balloon flight. Several balloons were lost, and when a balloon was aloft it did not approach the height of the proposed tower.  (Tr. 1, p. 25)

- Pursuant to CGS § 16-50l (b), public notice of the application was published in the Hartford Courant on October 13 and 14, 2010. (AT&T 1, p. 4, Attachment 10; Hartford Courant Affidavit of Publication, dated October 14, 2010)

- Pursuant to CGS § 16-50l(b), AT&T sent notices of its intent to file an application with the Council to each person appearing of record as owner of property abutting the property on which the proposed facility is located. (AT&T 1, p. 4, Attachment 10)

- AT&T received return receipts from all of the abutting property owners to whom it sent notice except one, James Bohan, Jr. AT&T sent a follow up letter dated October 2, 2010 to Mr. Bohan via first class mail. (AT&T 2, A1)

- Pursuant to CGS § 16-50l (b), AT&T provided notice to all federal, state, regional, and local officials and agencies listed therein.  (AT&T 1, p. 4, Attachment 9)

- On February 4, 2011, AT&T posted a sign on the host property informing the passing public of the time, date, and place of the hearing on this application. The sign was posted near Boston Post Road (Route 1). (Tr. 1, p. 24)

State Agency Comments

- Pursuant to CGS § 16-50l, the Council solicited comments on AT&T’s application from the following state departments and agencies: Department of Agriculture, Department of Environmental Protection (DEP), Department of Public Health, Council on Environmental Quality, Department of Public Utility Control, Office of Policy and Management, Department of Economic and Community Development, the Department of Transportation, and the Department of Emergency Management and Homeland Security. The Council’s letters requesting comments were sent on December 14, 2010 and February 16, 2011. (CSC Hearing Package dated December 14, 2010; Letter to State Department Heads dated February 16, 2011)

- No comments were received from any of the state agencies solicited. (Record)

Municipal Consultation

- AT&T filed a technical report with the Town of Saybrook (Town) on July 16, 2010. AT&T representatives contacted Town officials several times but did not receive any comments or preferences about its proposed facility. (AT&T 1, p. 14; Attachment 7)

- The Town has asked if space on the proposed tower could be made available for its emergency services antennas if needed. (AT&T 2, A6)

- AT&T would make space available for the Town’s antennas at no rental charge. (AT&T 1, p. 14)

Public Need for Service

- In 1996, the United States Congress recognized a nationwide need for high quality wireless telecommunications services, including cellular telephone service.  Through the Federal Telecommunications Act of 1996, Congress seeks to promote competition, encourage technical innovations, and foster lower prices for telecommunications services.  (Council Administrative Notice Item No. 8 - Telecommunications Act of 1996)

- In issuing cellular licenses, the Federal government has preempted the determination of public need for cellular service by the states, and has established design standards to ensure technical integrity and nationwide compatibility among all systems.  AT&T is licensed by the FCC to provide personal wireless communication service throughout the State of Connecticut.  (Council Administrative Notice Item No. 8 - Telecommunications Act of 1996; AT&T 1, p. 5)

- The Act prohibits local and state bodies from discriminating among providers of functionally equivalent services. (Council Administrative Notice Item No. 8 - Telecommunications Act of 1996)

- The Act prohibits any state or local agency from regulating telecommunications towers on the basis of the environmental effects of radio frequency emissions to the extent that such towers and equipment comply with FCC’s regulations concerning such emissions. This Act also blocks the Council from prohibiting or acting with the effect of prohibiting the provision of personal wireless service. (Council Administrative Notice Item No. 8 - Telecommunications Act of 1996)

- Congress enacted the Wireless Communications and Public Safety Act of 1999 (the 911 Act) to promote public safety through the deployment of a seamless, nationwide emergency communications infrastructure that includes wireless communications services.  (Council Administrative Notice Item No. 9 - Wireless Communications and Public Safety Act of 1999; AT&T 1, p. 6)

- AT&T would provide Enhanced 911 services from its proposed site in compliance with the 911 Act. (AT&T 1, p. 6)

Existing and Proposed Wireless Coverage

- In Old Saybrook, AT&T is licensed to use the 850 MHz “b” band, the 1900 MHz A3, D, E, and C1 bands, and a newly purchased 700 MHz band. (AT&T 2, A7)

- AT&T’s proposed facility would be designed to address coverage needs and capacity needs experienced at its adjacent facilities. (Tr. 1, pp. 19-20)

- AT&T designs its system for -82 dBm in-vehicle coverage and -74 dBm in-building coverage. (AT&T 2, A8)

- AT&T’s existing signal strength in the area that would be covered from the proposed facility ranges from -105 dBm to -50 dBm due to terrain fluctuations. (AT&T 2, A9)

- AT&T is seeking to cover existing service gaps along Interstate Highway I-95 (Connecticut Turnpike), U.S. Route 1 (Boston Post Road), Great Hammock Road, and the Amtrak rail line as well as other local roads in the vicinity from the proposed facility. (AT&T 2, A12)

- From its proposed facility, AT&T would be able to cover 0.10 mile on I-95, 0.14 mile on Route 1, 0.23 mile on Great Hammock Road, and 0.36 mile on the Amtrak rail line. AT&T would also be able to cover 4.99 miles along local roads in the vicinity, including 0.39 mile on Old Post Road, 0.33 mile on Schoolhouse Road, and 0.30 mile on Old Rock Road. (See Figures 4 and 5) (AT&T 2, A13)

- The rate of dropped calls in the area that would be served by the proposed facility is approximately two times what AT&T’s network typically achieves. Blocked calls are experienced at a rate of up to three times the rate experienced by AT&T’s network in normal conditions. (AT&T 2, A14)

- AT&T’s proposed facility would hand off signals with the adjacent facilities identified in the following table.

| Site Location | Distance and Direction from Proposed Site |
| --- | --- |
| 315 Spencer Plain Road, Westbrook | 1.3 miles to west |
| 170 Ingham Hill Road, Old Saybrook | 1.5 miles to north northeast |
| 1542 Boston Post Road, Westbrook | 1.7 miles to west northwest |
| Route 9, Middlesex Turnpike, Old Saybrook | 2.8 miles to north northeast |
| 798 Toby Hill Road, Westbrook | 2.8 miles to northwest |
| 226 Ferry Road, Old Saybrook | 3.5 miles to northeast |

(AT&T 2, A15)

- At cellular frequencies and at a signal strength of -74 dBm, AT&T could cover an area of 2.77 square miles from the proposed facility. (See Figures 4 and 5) (AT&T 2, A11)

- The minimum height at which AT&T could achieve its coverage objectives is the proposed height of 100 feet above ground level (AGL) with an antenna centerline height of 97 feet AGL. (AT&T 2, A16)

- At ten feet below the proposed height, AT&T’s coverage would decrease in the area around the intersection of Route 1 and Donnelly Road, and coverage would be lost along Gregor Place, Hartford Avenue, and Schenker Avenue. (AT&T 2, A17)

Site Selection

- AT&T began a site search in this area in 2008. (AT&T 1, p. 2)

- The center of AT&T’s search ring was located at latitude 41° 17’ 36.6” North and longitude 72° 24’ 4.68” West. Its radius was approximately 2,000 feet. (AT&T 2, A2)

- There are 15 communications towers within a radius of approximately four miles of the proposed site. AT&T has antennas on seven of these towers. None of these towers was found to be adequate for AT&T’s coverage purposes. The towers are listed in the table below.

| Tower Location | Height, Type of Tower | Tower Owner | Approx. Distance and Direction |
| --- | --- | --- | --- |
| 315 Spencer Plains Road, Westbrook | 180 feet, self-supporting lattice | DPS/Valley Shore | 1.3 miles to W |
| 1542 Boston Post Road, Westbrook | 127 feet, water tank | Town of Westbrook | 1.7 miles to SW |
| 782 Old Clinton Road, Westbrook | 160 feet, monopole | Sprint | 3.5 miles to W |
| 63 Pilot’s Point Marina, Westbrook | 33 feet, building mount | Verizon | 3.7 miles to SW |
| 798 Toby Hill Road, Westbrook | 150 feet, monopole | Sprint | 2.8 miles to NW |
| Route 9, Old Saybrook | 190 feet, guyed lattice | Crossroad Communications | 2.8 miles to NE |
| Route 9, Old Saybrook | 200 feet, guyed lattice | Crossroad Communications | 2.8 miles to NE |
| 77 Springbrook Road, Old Saybrook | 175 feet, monopole | Crossroad Communications | 2.7 miles to NE |
| 2 Ferry Place, Old Saybrook | 110 feet, smokestack | Etherington | 3.1 miles to NE |
| Route 1, Old Saybrook | 150 feet, monopole | Amtrak | 1.8 miles to E |
| 430 Middlesex Turnpike, Old Saybrook | 175 feet, monopole | Crown (Sprint) | 1.8 miles to E |
| 40-3 River Street, Old Saybrook | 130 feet, monopole | American Tower | 1.7 miles to E |
| 170 Ingham Hill Road, Old Saybrook | 150 feet, monopole | SBA | 1.5 miles to NE |
| 130 Ingham Hill Road, Old Saybrook | 50 feet, monopole | M&J Bus Company | .9 miles to E |
| 225 Main Street, Old Saybrook | 157.5 feet, monopole | Town of Old Saybrook | 1.5 miles to E |

(AT&T 1, Attachment 1)

- AT&T investigated eight properties as potential locations for its proposed facility. Information about these properties is presented in the table below.

| Location | Owner | Size of Property | Determination of Suitability |
| --- | --- | --- | --- |
| 1363 Boston Post Road, aka Tompkins Road | Wilcox Family, LLC | 7.53 acres | Site of proposed facility |
| 130 Ingham Hill Road | Ingham Hill Realty, LLC | 3.97 acres | Existing 50’ monopole is too short to provide adequate coverage |
| Donnelley Road | WS Old Saybrook Realty, LLC | 29.64 acres | Property owners rejected several AT&T offers after showing initial interest |
| 45 Schoolhouse Road | YSI VI, LLC | 3.5 acres | Owners were unresponsive to AT&T’s attempts to contact them |
| 90 Schoolhouse Road | Chiat | 27 acres | Owners were unresponsive to AT&T’s attempts to contact them |
| 1375 Boston Post Road, aka Tompkins Road | Sandy Point LC | 4.7 acres | Wetlands present in only possible tower location on property |
| Schoolhouse Road | Morell, et al | 15.6 acres | Location was rejected by AT&T RF engineers |
| 1111 Boston Post Road (Old Saybrook High School) | Town of Old Saybrook | 34.34 acres | This location rejected based on evaluation of visibility and other factors. |

(AT&T 1, Attachment 2)

- Repeaters, microcell transmitters, distributed antenna systems and other types of transmitting technologies are not a practicable or feasible means of providing service within the coverage objective area, and there are no equally effective and feasible technological alternatives to the construction of the proposed tower. (AT&T 1, p. 7)

Facility Description

- AT&T’s proposed site is located on a 7.5 acre parcel, north of Route 1 and south of the Amtrak rail line. The property is owned by the Wilcox Family, LLC. It is improved with buildings used for various purposes including an electrical supply wholesaler, car storage, motorcycle parts sales, a martial arts studio, and a residence. (See Figures 1 and 2) (AT&T 1 pp. 2, 8; Attachment 3)

- The Wilcox Family property is within a Gateway Business B-4 Zoning District, which allows for regional businesses on lots of at least 20,000 square feet if public water supply is available and 40,000 square feet if public water is not available. Old Saybrook’s zoning regulations do not currently address wireless telecommunications facilities. (AT&T 1, p. 13; Bulk Filing – Town of Old Saybrook Zoning Regulations)

- AT&T would locate its proposed facility in the northerly half of the Wilcox Family property. It would lease a 100-foot by 100-foot parcel, within which it would develop a 45-foot by 80-foot compound that would include a 100-foot tall monopole tower. The compound would be enclosed by an eight-foot high chain link fence. AT&T would house its ground equipment in a 12-foot by 20-foot shelter. (See Figure 3) (AT&T 1, pp. 2, 8; Attachment 3)

- The proposed tower would be designed in accordance with the American National Standards Institute TIA/EIA-222-G “Structural Standards for Steel Antenna Towers and Antenna Support Structures” and  the 2003 International Building Code with the 2005 Connecticut Amendment. It would have a diameter of approximately four and one-half feet at its base and approximately two feet at its top. The proposed tower would be designed to be expandable to a height of 120 feet. (AT&T 1, Attachment 3)

- At its proposed height of 100 feet, AT&T’s tower could accommodate one additional wireless carrier. If extended to 120 feet, the proposed tower could accommodate two additional wireless carriers, for a total of four carriers. (AT&T 1, p. 8)

- The proposed tower would be located at 41º 17’ 23.2” north latitude and 72º 24’ 21.4” west longitude. Its ground elevation would be 11 feet above mean sea level (amsl). (AT&T 1, Attachment 3 – Site Evaluation Report)

- AT&T would initially deploy nine antennas at a centerline height of 97 feet AGL. (Tr. 1, p. 9)

- The use of T-arms to mount the antennas would minimize the possibility that ospreys or other birds could use the proposed tower as a nesting place. (Tr. 1, pp. 60-61)

- For backup power, AT&T would primarily rely on a diesel generator. In addition, AT&T would also have a battery backup to prevent the facility from experiencing a “re-boot” condition during the generator start-up delay period. The diesel generator would typically provide 114 hours of service. The generator fuel tank would be a 210-gallon steel containment chamber lined with a bladder to contain fuel in the event of a fuel spill. (AT&T 2, A18)

- Approximately 206 cubic yards of cut would be required along the access road and in front of the compound for the installation of the 12 inches of crushed rock. Minor fill would be required at the middle and rear of the compound to level the area. (AT&T 2, A3,  Attachment 2)

- Vehicular access to the proposed facility would be over Tompkins Road, an existing asphalt road, for a distance of approximately 641 feet and then over a new 382-foot gravel drive. (AT&T 1, p. 8; Attachment 3)

- Utility service for the proposed facility would be extended underground from an existing transformer and telecommunications pedestal near the end of Tompkins Road and would follow the edge of the new gravel access drive. (AT&T 1, p. 8; Attachment 3 – Drawing C02)

- No blasting is anticipated, pending the results of a geotechnical survey. Should ledge be encountered, mechanical means would be the preferred method of removal. (AT&T 2, A4)

- The setback radius of the proposed tower would extend approximately seven feet onto two adjacent properties to the east. (AT&T 2, A19)

- In order to avoid having the proposed tower’s setback radius extend onto adjacent properties, AT&T could adjust its location, either within the proposed compound or within the lease area. (Tr. 1, pp. 23-24)

- There are 13 residences located within 1,000 feet of the proposed site. (AT&T 1, Attachment 3)

- The nearest residences are located 440 feet to the east at 39 and 35 Schoolhouse Road. The residences are owned by Scott and Darlene Lisle and James Bohan Jr. respectively. (AT&T 1, Attachment 3)

- Land use in the general proximity of the proposed facility includes commercial and residential uses, wooded and undeveloped land, and major transportation arteries including U.S. Interstate Highway 95, Route 1, and the Amtrak rail line. (AT&T 1, Attachment 3)

- The estimated cost of construction of the proposed facility is:

| Tower and foundation costs | $ 90,000 |
| --- | --- |
| Site development costs | 51,150 |
| Utility installation costs | 30,690 |
| Facility installation | 93,000 |
| Electronic equipment | 170,000 |
| Antennas & related equipment | 80,000 |
| Total estimated costs | $ 514,840 |

(AT&T 1, p. 14; AT&T 2, A5)

Environmental Considerations

- The State Historic Preservation Office determined that the proposed facility would have no adverse effect on cultural resources listed or eligible for listing on the National Register of Historic Places, with the condition that any antennas and equipment not in use for six consecutive months shall be removed by the telecommunications facility owner at the end of the six-month period. (AT&T 1, Attachment 8 – Letter from State Historic Preservation Office, dated March 15, 2010)

- There are no extant populations of Federal or State Endangered, Threatened or Special Concern Species that occur on the property where the proposed facility would be located. (AT&T 1, Attachment 8 – Letter from DEP Bureau of Natural Resources, Wildlife Division, dated November 16, 2009)

- The U.S. Fish and Wildlife Service lists the Piping Plover as a threatened or endangered species that occurs in Old Saybrook. Piping Plovers typically use beach habitats. The proposed facility is located approximately three-quarters of a mile from the nearest beach and would not be likely to impact the Piping Plover. (Tr. 1, pp. 40-41)

- AT&T’s proposed facility would comply with the recommendations of the U.S. Fish and Wildlife Service for minimizing the potential for telecommunications towers to impact bird species. (Tr. 1, pp. 42-43)

- AT&T’s proposed facility is not located near an Important Bird Area (IBA) as designated by the Connecticut Audubon Society. (Tr. 1, p. 43; AT&T’s Post-Hearing Submission, Attachment 1, p. 3)

- Seven trees with diameters of six inches or more at breast height would be removed in the construction of the proposed facility. (AT&T 1, Attachment 3 – Site Evaluation Report III.G.)

- A wetland area traversing the entire width of the Wilcox Family property lies to the north of the proposed tower site. The closest point of disturbance to this wetland area would be where the proposed access road passes approximately 50 feet to the south. The wetland area is a predominantly forested habitat with occasional patches of dense understory species. It is approximately 10 feet lower in elevation than the proposed facility’s construction area. (AT&T 1, pp. 13-14; Attachment 3 – Site Evaluation Report II.E.; Attachment 5 – Wetland & Watercourse Delineation Report prepared by Kleinfelder East, Inc.)

- Throughout the construction of the proposed facility, AT&T would establish and maintain appropriate soil erosion and sedimentation control measures, in accordance with the 2002 Connecticut Guidelines for Soil Erosion and Sediment Control, as amended, established by the Connecticut Council for Soil and Water Conservation, in cooperation with the DEP. (AT&T 1, p. 14)

- The establishment of soil erosion measures would prevent adverse impacts to the wetland areas in the vicinity of the proposed facility. (AT&T 1, p. 14)

- The proposed site is located outside of the 100-year flood area and within the 500-year flood area. (Tr. 1, pp. 49-50)

- The Town of Old Saybrook is within the Coastal Area as defined by CGS § 22a-94(a), and AT&T’s proposed facility is located within the Coastal Boundary as defined by CGS § 22a-94(b). No adverse impacts to Coastal Resources are anticipated, however. Views of the proposed tower from Long Island Sound are distant and do not impact any scenic viewpoints or vistas. No tidal wetlands would be disturbed, and no degradation or destruction of wildlife, finfish, or shellfish habitat would occur as the property on which the proposed tower would be located is developed and actively used for commercial and residential purposes. (AT&T 2, A20)

- AT&T utilized the FCC’s TOWAIR program to determine if this proposed site would require registration with the Federal Aviation Administration (FAA). The results of this program indicated that no registration would be required for this site and that the proposed tower not would require lighting or marking. (AT&T 1, pp. 11-12; Attachment 5 – Federal Airways & Airspace Summary Report)

- The cumulative worst-case maximum power density from the radio frequency emissions from the operation of all proposed antennas is 14.3% of the standard for Maximum Permissible Exposure, as adopted by the FCC, at the base of the proposed tower.  This calculation was based on methodology prescribed by the FCC Office of Engineering and Technology Bulletin No. 65E, Edition 97-01 (August 1997) that assumes all antennas would be pointed at the base of the tower and all channels would be operating simultaneously, which creates the highest possible power density levels.  Under normal operation, the antennas would be oriented outward, directing radio frequency emissions away from the tower, thus resulting in significantly lower power density levels in areas around the tower.  (AT&T 1, Attachment 5 – C2 Systems Power Density Calculation)

Visibility

- The proposed tower would be visible on a year-round basis from approximately 905.5 acres within a two-mile radius of the proposed site. Most of this acreage occurs on the waters of Long Island Sound. (See Figure 6) (AT&T 1, Attachment 4 – Visual Analysis Report)

- Viewed from Long Island Sound, the proposed tower would not appear as a dominant feature on the landscape. (Tr. 1, pp. 51-52)

- The proposed tower would be visible on a seasonal basis from an additional approximately 36.3 acres. (AT&T 1, Attachment 4 – Visual Analysis Report)

- The proposed tower would be visible from the following local roads for the distances identified in the table below.

| Road | Length of Road Visibility (Seasonal) | Length of Road Visibility (Year-round) |
| --- | --- | --- |
| Cottage Avenue | - | 300 feet |
| Bel Aire Manor | - | 1,100 feet |
| Bliss Street | - | 240 feet |
| Chandler Street | - | 240 feet |
| Cranton Avenue | - | 560 feet |
| I-95 | - | 1,200 feet |
| Boston Post Road | 430 feet and 1,200 feet | 540 feet |
| School House Road | 300 feet and 900 feet | 620 feet |
| Gilbert Road | 320 feet | 300 feet |
| Ingham Road | 670 feet | 880 feet |
| Shetucket Trail | 300 feet | - |
| Old Post Road | 900 feet | - |
| Allendale Road | 440 feet | - |
| Meadowood Lane | 140 feet | - |
| Lookout Hill Road | 2,400 feet | - |

(AT&T 1, Attachment 4 – Visual Analysis Report)

- The proposed tower would be visible year-round from approximately 53 residential properties and on a seasonal basis from approximately 62 residential properties. The streets on which these properties are located are listed in the following table.

| Road | Number of Residences with Year-round Visibility | Number of Residences with Seasonal Visibility |
| --- | --- | --- |
| Cottage Avenue | 5 | - |
| Bel Aire Manor | 33 | - |
| Bliss Street | 6 | - |
| Chandler Street | 1 | - |
| Cranton Avenue | 6 | - |
| Colonial Lane | - | 2 |
| School House Road | - | 5 |
| Gilbert Road | 2 | 2 |
| Ingham Road | - | 8 |
| Shetucket Trail | - | 12 |
| Old Post Road | - | 5 |
| Allendale Road | - | 11 |
| Meadowood Lane | - | 2 |
| Lookout Hill Road | - | 15 |

(AT&T 1, Attachment 4 – Visual Analysis Report)

- The visibility of the proposed tower from different vantage points in the surrounding vicinity is summarized in the following table. (See Figure 6)

| Location | Visibility | Approx. Portion of (100’) Tower Visible (ft.) | Approx. Distance and Direction to Tower Site |
| --- | --- | --- | --- |
| 1 – Boston Post Road | Year round | 20’ | 1,000 feet; N |
| 2 – Chandler Street | Year round | 20’ | 4,258 feet; N |
| 3 – Cottage Avenue | Year round | 30’ | 4,030 feet; N |
| 4 – I-95 Rest Area | Year round | 5’ | 6,333 feet; E |
| 5 – School House Road | Year round | 50’ | 559 feet; W |
| 6 – Gilbert Road | Seasonal | 30’ | 1,342 feet; SW |
| 7 – Gilbert Road | Year round | 30’ | 1,085 feet; SW |
| 8 – Ingham Hill Road | Year round | 20’ | 3,424 feet; W |
| 9 – Elisha Bushnell House | Seasonal | 30’ | 1,332 feet; NE |
| 10 – Boston Post Road | Seasonal | 10’ | 1,069 feet; N |
| 11 – Boston Post Road | Seasonal | 10’ | 966 feet; N |
| 12 – School House Road | Seasonal | 20’ | 523 feet; W |
| 13 – School House Road | Seasonal | 40’ | 1,027 feet; SW |
| 14 – Lookout Hill Road | Seasonal | 10’ | 1,379 feet; SE |
| 15 – Lookout Hill Road | Seasonal | 10’ | 1,076 feet; S |
| 16 – Allendale Road | Seasonal | 10’ | 1,368 feet; N |
| 17 – Old Post Road | Seasonal | 10’ | 1,500 feet; NW |
| 18 – Colonial Lane | Seasonal | 20’ | 1,546 feet; NW |
| 19 – Shetucket Trail | Seasonal | 20’ | 4,387 feet; N |
| 20 – Ingham Hill Road | Seasonal | 10’ | 3,428 feet; W |
| 21 – Plum Bank Beach | None | n/a | 8,332 feet; NW |
| 22 – Old Kelsey Point Road | None | n/a | 6,673 feet; NE |
| 23 – Daisy Ingraham School | None | n/a | 9,749 feet; E |
| 24 – Great Cedars (East) Conservation Area, Yellow Trail | None | n/a | 6,854 feet; SW |
| 25 – Great Cedars (East) Conservation Area, Blue Trail | None | n/a | 9,310 feet; SW |
| 26 – Sherwood Terrace | None | n/a | 7,942 feet; W |

(AT&T 1, Attachment 4 – Visual Analysis Report)

- The proposed tower would be seasonally visible from the Elisha Bushnell House. (AT&T 1, Attachment 4 – Visual Analysis Report)

- The proposed tower would be seasonally visible from small portions of the following designated scenic roads: School House Road and Ingham Road. (AT&T 1, Attachment 4 – Visual Analysis Report)

Figure 1: Location of Proposed Facility

(AT&T 1, Attachment 3)

Figure 2: Aerial Photograph of Vicinity of Proposed Facility

(AT&T 1, Attachment 3)

Figure 3: Site Plan for Proposed Facility

(AT&T 1, Attachment 3, Site Access Map)

Figure 4: AT&T’s Existing Coverage at -74 dBm

(AT&T 1, Attachment 1)’

Figure 5: AT&T’s Coverage with Proposed Facility at -74 dBm

(AT&T 1, Attachment 1)

Figure 6: Visual Analysis

(AT&T 1, Attachment 4)