## Slide 1: New Canaan Planning & Zoning Commission
Presentation to the CT Siting Council
July 9, 2020
John Goodwin, Chairman
Lynn Brooks Avni, AICP, Town Planner

## Slide 2: History of the Sect. 7.8 New Canaan Zoning Regulations for Telecommuni-cations
Sect. 7.8 was added to the Regulations on June 18, 2018
“These Regulations are intended to establish guidelines and standards for the siting of different types of antenna facilities in New Canaan in order to protect the public safety and general welfare and, through design, siting, and screening, to minimize any adverse effects.”
Our Zoning Regulations encompass antennas that require a Zoning Permit, Site Plan approval or Special Permit, as well as those regulated by the Connecticut Siting Council (CSC).
The Regulations specify preferences for Location, Antenna Type, Design, Equipment Shelters and the Operation and Maintenance of Towers/Antennas.

## Slide 3: Planning & Zoning Commission Recommendations
Overall adherence to Sect. 7.8 of New Canaan Zoning Regulations
Sect. 7.8.G.1 Minimize Visual Impacts. Due to the topography of the site and the variety of elevations in the area, the intended site will be visible from approximately 35 acres, 10 of those on a seasonal basis.
Sect. 7.8.G.5 Proposed external mount on a tower is not a preferred option.
Sect. 7.8.G.7 New towers should be located away from property lines and habitable buildings at least as far as the height of the tower, including antenna. It is approximately 20 feet from the nearest property line.
Sect. 7.8.G.13 Equipment shelters shall be concealed within a building and set back from property lines. The proposed site is in a Four Acre Zone where the setback is 50 feet. Currently, one side yard setback is 20 feet.
Sect.7.8.G.16 Enclose site in a shadow box fence: Applicant has agreed, in lieu of a chain link fence, to use a shadow box fence. Consider a review of the final rendering with the Town Planner.
Sect.7.8.G.17. While the Commission is appreciative for a landscaping plan for the proposed installation, a more robust plan that includes more intensive coverage and native plants would be a significant improvement. Consider a final plan review of landscaping with the Town Planner.
The commission asked the applicant to consider cladding the telecom pole in a bark like texture to help it blend into the landscaping in the neighborhood