Petition No. 1023

UTC Power Corporation Fuel Cell Project

Connecticut Transit Bus Maintenance Facility, Hartford

Staff Report

February 16, 2012

On January 11, 2012, the Connecticut Siting Council (Council) received a petition from UTC Power Corporation (UTC) for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed installation of a 400 kW fuel cell for a customer-side distributed resource project at the Connecticut Transit Bus Maintenance Facility (CT Transit) at 100 Leibert Road in Hartford, Connecticut. Council member Larry Levesque and Siting Analyst Robert Mercier visited the site on February 8 2012 to review the proposal. John Nguyen, representing UTC, and Henry Lukasik representing CT Transit were also in attendance.

The fuel cell would provide some of CT Transit’s daily electric load as well as use heat from fuel cell operations to provide space heating in some of the garage bays adjacent to the fuel cell.

The fuel cell would be located in a small grass courtyard area at the front the bus facility. The factory assembled fuel cell is approximately 29 feet long by 9 feet wide by 10 feet tall. The proposed installation would also include a separate cooling module that is approximately 17 feet long by 7 feet wide by 6 feet tall. The fuel cell and cooling module would be installed on a concrete pad.

Numerous safety features are designed into the fuel cell including gas sensors and thermal fuses to detect any unduly high temperatures. The fuel cell system will automatically shut down should it detect the presence of combustible gas mixtures and high temperatures. The fuel cell would also have an emergency stop button on the outside of its enclosure for immediate shutdowns, if necessary. The system also has a gas shut-off valve and electrical disconnect switch easily accessible to service or emergency personnel.

The CT transit facility is located in an industrial and commercial area. No residences are nearby.  Noise from the fuel cell unit would not exceed regulatory standards. Due to the developed nature of the fuel cell location and surrounding industrial area, the proposed installation is not expected to have any substantial adverse environmental effect.