Petition No. 453

Town of Wallingford, Electric Division

Wallingford, Connecticut

Site Plan Change

Staff Report

August 31, 2000

On Friday, August 18, 2000, PPL Wallingford submitted a plan of the proposed 115-kV transmission lines from the Wallingford 13M substation to the interconnection to be located on the west side of Pent Road in Wallingford, Connecticut.  The revised plan includes a new pole #8 which would support both circuits and replaces poles 8A and 8B.  The height of Pole #8 would be 85 feet; the same height as poles 8A and 8B.

PPL Wallingford will submit foundation details for the proposed transmission line support structures prior to construction.