Petition No. 454

Town of Wallingford, Electric Division

Wallingford, Connecticut

Site Plan Change

Staff Report

August 31, 2000

On Friday, August 18, 2000, PPL Wallingford submitted a plan for proposed changes to the Wallingford 13M Substation and electric switchyard located at 195 East Street, Wallingford, Connecticut.  PPL Wallingford in consultation with the Town of Wallingford Electric Division, and CL&P seeks to change the substation from the proposed six-breaker configuration to a five-breaker configuration.

The proposed changes would not effect the Town of Wallingford, but may effect the availability of generation capacity for PPL Wallingford.  The five-breaker configuration would meet the necessary requirements for the Town of Wallingford and CL&P, and would provide the same reliability and redundancy as the previous six-breaker configuration.

The proposed changes would reduce costs, equipment, and space requirements for the expansion of the Wallingford 13M Substation.  The proposed reduction in switchyard area would allow PPL Wallingford to relocate the gas metering station and ammonia storage tanks to the east of Access Road B.