Petition 500

The United Illuminating Company

Staff Report

February 8, 2001

UI is petitioning the Council for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need would be required for the placement of an antenna and associated equipment at the Mix Avenue Substation, 690 Mix Avenue in Hamden, Connecticut.

UI proposes to install a receive-only 24-inch antenna at the 79-foot level of an existing 79-foot wood pole that currently supports a Cell Master Unit antenna and associated equipment cabinet.  UI would install the proposed utility cables underground, and would install the base station equipment within the existing substation building.  The proposed equipment is being relocated from UI's former service center on Skiff Street in Hamden, and is required to maintain reliable radio communications between personnel in the transmission and distribution departments

UI contends that the proposed project would use an existing telecommunications structure; all work would be done entirely on UI's substation property; the visual impact would be limited; and no wetlands would be impacted nor would any vegetation be removed or cleared.  The proposed antenna would not increase the maximum electromagnetic power density.