Petition No. 532

Connecticut Light and Power Company

Montville-Card Street 115kV Line

Montville, Connecticut

Staff Report

December 11, 2001

On November 20, 2001, the Connecticut Light and Power Company (CL&P) submitted to the Connecticut Siting Council (Council) a petition for a determination that no Certificate of Environmental Compatibility and Public Need would be required for proposed modifications to the existing Montville-Card Street 115kV electric transmission line between Montville Substation and the Mohegan Tribal Utility Authority’s Fort Hill Farms Substation in Montville, Connecticut.  On December 7, 2001, Philip T. Ashton of the Council and Robert K. Erling of the Council staff met Michael Carlson of CL&P for a field review of this petition.

CL&P proposes to replace an existing overhead shield wire on the existing 1080 line between Montville Substation and structure #6325 outside Fort Hill Farms Substation, and install underground fiber optic cable from structure #6325 into the Fort Hill Farms Substation.  The project is required for high-speed protective relaying communications on the 1090 circuit between the Fort Hill Farms and Montville Substation, a distance of approximately 3.45 miles.

CL&P proposes to complete construction on this project by January 31, 2002.

Robert K. Erling

Staff Analyst