Petition No. 582

September 25, 2002

The Connecticut Light and Power Company

Farmington Substation

Farmington, Connecticut

On, September 24, 2002, Connecticut Siting Council (Council) member Pamela B. Katz and Fred Cunliffe of the Council staff met Chris Aberg of the Connecticut Light and Power Company (CL&P) and Martin Tartanglino of the Town of Farmington Planning and Zoning Department at the Farmington Substation off Old Mountain Road, Farmington, Connecticut for a field review of this petition.  CL&P is petitioning the Council that its proposed modifications to the existing Farmington Substation would have no substantial adverse environmental effect.

CL&P proposes to install one 115-kV to 23-kV power transformer, two 115-kV circuit breakers, six disconnect switches, one 115-kV circuit breaker, four 23-kV circuit breakers, two sets of 23-kV current-limiting reactors and 23-kV bus and switches on new steel structures within the existing fenced substation.  No structures would be taller than existing structures. The proposed transformer would be the same as the existing one and is already in place. Forested areas are located to the north and west of the substation, an existing transmission right-of-way is located to the south with office buildings located further south.  The nearest residences are located approximately 200 feet east across Old Mountain Road; however; mature vegetation separates the substation to adjacent land uses.  Sound pressure levels are expected not to increase by more than three decibels but is expected to be within state noise standards.

Construction is proposed to take place between October 2002 and May 2003 during daytime hours. The proposed equipment would increase the capacity of the substation and improve its reliability by decreasing the likelihood of electric outages.

The Town of Farmington requests that construction activity be limited to the hours of 7:00 a.m. to 6:00 p.m. Monday through Saturday consistent with Town ordinances, that NU perform noise survey upon completion of construction, and suggests that lighting within the substation be limited during emergency events.