Petition No. 966

The Connecticut Light and Power Company

New London, CT

October 5, 2010

Staff Report

On September 16, 2010, the Connecticut Siting Council (Council) received a Petition from The Connecticut Light and Power Company (CL&P) for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for modifications to CL&P’s Williams Substation in New London.  On October 5, 2010, Council member James J. Murphy, Jr., Executive Director Linda Roberts, and Christina Walsh of the Council staff met with CL&P representatives John R. Morissette, James W. Borowitz, P.E., Helen M. Taylor, and Ezzeddine Zayati at the site.

All proposed work would be entirely within the fence line of the existing Williams Substation located at 469 Williams Street, New London, CT.  The substation contains two 115-kV transmission circuits and ten 13.8-kV circuits.

The proposed project includes the installation of two 115-kV circuit switchers to replace two motor-operated disconnect switches, modification of foundations, structures and conduits for the new circuit switchers, modification of the 115-kV bus connection, and modification of the existing transmission and distribution protection schemes.  The proposed project is needed to improve transmission reliability.

The new equipment would be similar in height and appearance to the existing equipment within the substation.

Construction is expected to begin during winter 2010 and be completed by the end of spring 2011.