| PETITION NO. 841 – Bridgeport Energy II, LLC petition for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the construction, maintenance, an operation of a 350 MW Peaking Facility located at 10 Atlantic Street, Bridgeport, Connecticut. | } } } | Connecticut Siting Council June 5, 2008 |
| --- | --- | --- |

Decision and Order

Pursuant to the record in this proceeding, Bridgeport Energy II, LLC’s (BEII) proposed 350 megawatt (MW) peaking facility located at 10 Atlantic Street in Bridgeport, will not have a substantial adverse environmental effect, and pursuant to General Statutes § 16-50k(a), we hereby declare that the project will not require a Certificate of Environmental Compatibility and Public Need.

The proposed facility shall be implemented substantially as specified in the Council’s record in this matter and subject to the following conditions:

1.	Bridgeport Energy II, LLC shall comply with all applicable Department of Environmental Protection (DEP) permits.

2.	Bridgeport Energy II, LLC shall submit a copy of the final New Source Review Permit as approved by the DEP.

3.	Bridgeport Energy II, LLC shall comply with all state and local noise regulations.  BEII shall conduct a noise survey, if deemed necessary by either BEII or the Council, to determine compliance with state and local noise standards.

4.	Any required noise mitigation methods shall be submitted to the Council for review and approval.

5.	The transmission line connection plans shall be filed with the Council as a petition for a declaratory ruling and include a magnetic field profile.  Such plans shall be consistent with the Council’s Best Management Practices for Electric and Magnetic Fields.

6.	Bridgeport Energy II, LLC shall submit a final air hazard determination to the Federal Aviation Administration (FAA) if the Connecticut Department of Environmental Protection determines the final height of the generator exhaust stack must be greater than 213 feet above ground level to meet air quality standards.  In such cases, BEII shall submit the final FAA determination to the Council, including the specifications of the associated marking and/or lighting scheme.

7.	Bridgeport Energy II, LLC shall submit a Development and Management Plan (D&M Plan) including the following elements:

- A final site plan depicting the access drives and placement of all power plant equipment including the model and type of combustion turbines, any buildings, and associated structures and such plans shall mitigate impacts to the 100 year flood plain;

- Plans for primary and secondary containment of fuel oil and ammonia;

- Plans for lighting and/or marking of the exhaust stacks as required by the Federal Aviation Administration;

- Plans for erosion and sedimentation controls and storm water drainage; and

- A landscaping plan and any aesthetic upgrades.

8.	Bridgeport Energy II, LLC should strongly consider the following modifications to the site plan in the preparation of its D&M Plan:

  - Relocate the fuel oil tank slightly to increase space for landscaping.

  - Cooperate with PSEG to relocate the driveway northeast along Henry Street.

9.	Bridgeport Energy  II, LLC shall prepare the D&M Plan in consultation with the City of Bridgeport, 60 Main Street et al., and Michael Mauzerall.

10.	Bridgeport Energy II, LLC should consult with the State Historic Preservation Officer in the event that excavation for the outfall occurs significantly outside the previously dredged areas.

11.	Bridgeport Energy II, LLC, or its successors, shall apply to the Council for approval of any substantial modifications to the site design or equipment, as set forth in the Council’s record in this matter.

CERTIFICATION

The undersigned members of the Connecticut Siting Council (Council) hereby certify that they have heard this case, or read the record thereof, in PETITION NO. 841 – Bridgeport Energy II, LLC petition for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed construction, maintenance, and operation of a 350 MW electric generating peaking facility at 10 Atlantic Street, Bridgeport, Connecticut, and voted as follows to approve the proposed project:

Council Members						      Vote Cast

__________________________________				Abstain

Daniel F. Caruso, Chairman

__________________________________	Yes

Colin C. Tait, Vice Chairman

__________________________________				Yes

Commissioner Donald W. Downes

Designee:  Gerald J. Heffernan

__________________________________				Yes

Commissioner Gina McCarthy

Designee:  Frederick L. Riese

__________________________________				Yes

Philip T. Ashton

__________________________________				Yes

Daniel P. Lynch, Jr.

__________________________________				Yes

James J. Murphy, Jr.

__________________________________				Absent

Dr. Barbara Currier Bell

__________________________________				Yes

Edward S. Wilensky

Dated at New Britain, Connecticut, June 5, 2008.