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DECK:

[ Steel: Manufacturer: Type {e.g. wide rib): Thickness / Gauge: Yield Strength:

O LWIC (Form Deck): ‘ [ Cementitious Wood Fiber (Pullout Test Required):

[J Concrete: [] Pre-cast panels or [] Cast in Place

[] Wood (Pullout Test Required):

[] Fiber Reinforced Cement: [ [T Fiber Reinforced Plastic
[J Gypsum (Puliout Test Required): [ Plank or [ Poured
Other:

Additional Detail:

DECK or ROOF PANEL SECUREMENT:

Deck Or Roof Panel Fasteners:

Trade Name: Type:

Length: Size Washer:

If Weld:_Size: [ Weld: [ Washer:
Fastener / Weld Spacing: Zone 1": Zone 1: Zone 2 Zone 3:
Deck Side Lap Fastener Spacing: Zone 1" Zone 1: Zone 2: Zone 3

Additional Detail:

ROOF STRUCTURE {Include Size, Gage, Etc.):

[J Purlins O¢c o O Thickness:

Purlin: Zone 1": Zone 1: Zone 2: Zone 3
[J Joists [JWood or [ Steel

Joist Spacing Zone 1': Zone 1: Zone 2: Zone 3:
[OBeams [ TWood or [] Steel

Beam Spacing: Zone 1" Zone 1: Zone 2: Zone 3:
O Other:

Additional Detail:

PERIMETER FLASHING: (Atftach a detailed sketch of metal fascia, gravel stop, nailer, blocking, coping, etc.)

[J FM Approved Flashing

[ Other (applicable only when FM Approved system is not available)

Manufacturer/Trade Name:

Flashing Max Wind Rating:

Fascia / Coping Detail: Face Height: Thickness:

Hook Strip Detail: Height: Thickness: Fastener spacing

Nailer / Blocking Details Per FM Global Data Sheet 1-49? [] Yes [J No (Attach Details)
Nailer Securement: Diameter: Spacing: Embedment:

Additional Detail:

DRAINAGE:

For new construction: Has roof drainage been designed by a Qualified Engineer per FM Global Loss Prevention Data Sheet 1-54
and the local building code? [J Yes [] No_(Attach details)

For re-roofing and recovering: will the roof drainage be changed from the original design (i.e. drains inserted/covered/removed,
new expansion joints, blocked or reduced scupper size? [ Yes [ No
If yes, were the changes reviewed by a Qualified Engineer? [] Yes [] No _(Attach details)

Is secondary (emergency) roof drainage provided per FM Global Data Sheet 1-54? [] Yes [1 No_(Attach details)

Additional Detail:

ROOF MOUNTED EQUIPMENT: {Attach drawings, cafculations and any supporting detail.)

Roof mounted equipment secured per FM Global Loss Prevention Data Sheet 1-28 and the local building code? O Yes O No

Additional Detail:
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F Global Clients: submit completed form and completed RoofNav Contractor Package to local FM Global field office for review.

CONTACT INFORMATION: FM GLOBAL INDEX NUMBER:
ROOFING CONTRACTOR (NAME, ADDRESS, PROJECT NO.) | TELEPHONE NO.: CONTACT:
E-MAIL ADDRESS: FAX:
CLIENT SITE (NAME & ADDRESS) TELEPHONE NO.: CONTACT:
E-MAIL ADDRESS: FAX:

OVERVIEW OF WORK: (Submit 1 form per roof area)

Building Name & Number (provide building diagram as appropriate):

Type of Work: [J New Construction [J Recover (New roof over existing Roofing System)

[J Reroof (New cover/remove existing roofing system to deck) [] Other (describe)
Building Dimensions: Length: fi/m; | Width: f/m.; [ Height f/m.
Roof Slope: in. per ft. / degrees
Parapet Height ,max (in./m): [ Parapet Height ,min (in /m): (put “0” if not always present)
Roof Zone Width/Dimension*:
Zone 1" Zone 1: Zone 2: Zone 3:

FM Approved RoofNav Assembly Numbers (provide Assembly Number for individual roof zones as appropnate):

*Refer to FM Global Property Loss Prevention Data Sheet 1-28, Wind Design or RoofNav for determination of various zone
dimensions.

ROOF SURFACING:

[] None

[ Coating (Trade Name/Application Rate)

[J Granules (Application Rate)

[J Gravel/Slag (Application Rate)

[JBallast: [ Stone Size [ Pavers (Beveled, strapped or square edge); [ Other:
Ballast Weight (psf): Zone 1": Zone 1: Zone 2: Zone 3:

Additional Detail:

ROOF COVER / MEMBRANE:
{Provide ALL applicable details including trade name, type, number of plies, thickness, reinforced, adhesive, etc.)

Roof Cover: Trade Name:

Hail Rating Provided:

[ Single Ply: [ Adhered [ Fastened OBallasted
O Multi-Ply Built Up Roofing (BUR) [ Modified Bitumen

Number of Plies:

O Lap Width in/mm [0 Lap Adhesion Type

O Panel: [ Through Fastened Metal

[ Standing Seam metal
[ Fiber Reinforced Plastic (FRP}
[ other:

[ Spray Applied [ O Other:

Additional Detail:
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ROOF COVER / MEMBRANE SECUREMENT:

=

Roof Cover Fasteners: Trade Name:

\ Length: \ Diameter/No.:

Stress Plate/Batten: Trade Name: Size:

Row Spacing: Zone 1" Zone 1: Zone 2:

Zone 3:

Fastener Spacing: Zone 1': Zone 1: Zone 2: Zone 3:

Bonding Adhesive: Trade Name:

Adhesive Ribbon Width (in.):

Adhesive Ribbon Spacing (in.): Zone 1': Zone 1:

Zone 2: Zone 3:

Adhesive Application Rate (gal./sq.):

Additional Detail:

INSULATION / COVER BOARD:

Trade Name (ft. x. ft.)

Layer Insulation / Cover Board Board Dimensions | Thickness | Fastened | Adhered

(in.)

Tapered

(i

4. Next
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@
-3
K| X[ XX

5. Thermal Barrier

(I

Glass Fiber/Mineral Wool/Batt [ O Facer Type/Vapor Barrier

Other:

None

Additional Detail:

INSULATION / COVER BOARD SECUREMENT:

Insulation / Cover Board Fasteners: Trade Name:

Type: Size:

Stress Plate: Trade Name: Size:

Fastener Spacing: Zone 1": Zone 1:

Zone 2: Zone 3:

Bonding Adhesive: Trade Name:

Adhesive Ribbon Width (in.):

Adhesive Ribbon Spacing (in.): Zone 1" Zone 1:

Zone 2: Zone 3:

Adhesive Application Rate (gal./sq.):

Additional Detail:

BASE SHEET: (Include Trade Name, Type, and Width)

1 None

Trade Name: Width: [36in. [ 1 meter (39 1n.)
Fastened L] Adhered
Lap Width infmm Lap Adhesion Type
Air Retarder Vapor Retarder

Additional Detail:

BASE SHEET SECUREMENT:

Base Sheet Adhesive Name:

Adhesive Application Rate:

Base Sheet Fastener Trade Name: Type:

Head Diameter: Length:

Spacing: (Attached Sketches as necessary)

Spacing Along Laps: Zone 1" Zone 1: Zone 2: Zone 3:
No. Intermediate Rows: Zone 1" Zone 1: Zone 2: Zone 3
Spacing Along Intermediate Rows: Zone 1': Zone 1: Zone 2: Zone 3:

Additional Detail:
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