Applies to: Cabinet X-ray systems, open-beam analytical X-ray systems, industrial radiography X-ray machines, and real-time X-ray inspection systems used in Connecticut.

1. Training Purpose

Ensure workers understand radiation safety, device-specific hazards, regulatory requirements, and safe operating practices so they can use X-ray equipment without creating unnecessary exposure risks. (Regulations of Connecticut State Agencies R.C.S.A. 19-24-1 through 19-24-14, inclusive, Radiation Sources and Radioactive Material)

2. Training Requirements

A. Who Must Be Trained

- Authorized Operators – Individuals who will operate X-ray equipment independently.

- Supervised Users – May operate equipment only under direct supervision of qualified operators and after site orientation.

- Ancillary Staff – Workers who may enter the vicinity of X-ray equipment (housekeeping, security, office staff) receive awareness-level instruction only.

B. When Training Is Required

- Before assuming duties with X-ray equipment (R.C.S.A. Section 19-24-10)

C. When Training is Recommended

- When significant changes occur (procedures, new equipment, regulations)

- Annually for refresher training

3. Core Training Content (All Device Types)

A compliant training program should include the following fundamental subjects:

Radiation Safety Fundamentals

- Ionizing radiation concepts, units, exposure pathways (including x-ray leakage)

- Distinction between radiation and contamination

- Time–distance–shielding principles

- Biological effects of radiation (https://www.cdc.gov/radiation-health/index.html)

Regulatory and Program Requirements

- Applicable regulations (R.C.S.A. 19-24-1 through 19-24-14, inclusive)

- Worker rights and responsibilities

- Posting, labeling, restricted area rules

- Dosimetry and exposure limits (as applicable)

- Emergency contacts and incident reporting instructions

Site Specific Topics

- Authorized users and supervisory structure

- Location and use of equipment

- Security of equipment and restricted areas

- Storage and shutdown policies (if applicable)

Emergency Procedures

- Equipment malfunction response

- Area isolation and notifications

- Overexposure concerns and immediate actions

4. Device-Specific Training Modules

Training should be tailored to the operation, hazards, and features of each X-ray system type:

Cabinet X-ray Systems

- Interlock operation and door integrity checks

- Beam-on indicators and controls

- Proper loading, surveys, and routine safety checks

Open-Beam Analytical X-ray Systems (XRD/Analytical XRF)

- Open-beam hazards and scatter

- Shielding and interlocks

- Safe alignment procedures and hands-on survey exercises

Industrial Radiography X-ray Machines

- Field setup, barriers, and controlled areas

- Use of survey meters (if applicable)

- Emergency response (stuck exposure, unexpected beam on)

Real-Time X-ray Inspection Systems

- Conveyor/automation safeguards

- Guarding and interlocks

- Routine leakage surveys and high-throughput exposure controls

4. Training Methods

- Instructor-led or multimedia instruction

- Hands-on equipment operation

- Demonstrated performance before authorization

6. Instructor Requirements

- Training should be delivered by the Radiation Safety Officer (RSO), the equipment manufacturer, or a qualified individual familiar with the facility’s X-ray equipment and safety program.

7. Documentation (Required)

Maintain records of:

- Trainee names, dates of training, instructors

- Syllabus / topics covered

- Training results (Pass/Fail)

- Level of authorization (operator, supervised user, responsible individual)

- Annual refresher completion (recommended)