Name of Dam

CT ID No.

Page 1 of 60

Title Page

Emergency Action Plan (EAP)

 [Name of Dam]
[Name of Impoundment]
Connecticut Dam ID No. [XXXX]
[Name of Dam Owner]
Hazard Class [“C” or “B”]
[City/Town], Connecticut
[Date of EAP]

[Date of Revision / Update]

[Date submitted to DEEP]


Recommended: Insert a photograph of the dam here that provides an overview of the dam.
Recommended:  Include EAP Preparer’s name at the bottom.
Professional Engineer Certification

  The following certification must be signed by a Professional Engineer 

	“I hereby certify that the inundation map and the monitoring intervals were prepared and determined by me and are true and correct to the best of my knowledge, belief, and professional judgment.”



	
	     

	Signature of Professional Engineer
	Date

	     
     
	     

	Printed Name of Professional Engineer                Title

     

Name of Firm

 FORMTEXT 

     



Address of Firm


	CT P.E. Number


   Affix P.E. Stamp Here




Table of Contents
SECTION                                                                                                                                 Page No.
1. Executive Summary

1.1. Purpose




#
1.2. Facility Information




Physical Description of Dam & Related Components                                             
History of Dam




Drainage Area & Watercourse                                                                                 
1.3. Dam Breach Flood




Dam Breach Modeling Assumptions



Potential Impacted Area  




1.4. Abridged EAP for Field Implementation* 



1.5. Directions to the Dam




1.6. Location of Emergency Operations Center 



2. The Five-step EAP Process



2.1. EAP Overview

2.2. Warning Level Determination



Dam Monitoring




Early Warning




Final Warning




Monitoring Equipment & Supplies



Guidance for Warning Level Determining**



2.3. Notification & Communication



Communication with Authorities



Notification Charts




Emergency Radio Frequencies**



Emergency Services Contacts**


 
2.4. Expected Actions




2.5. Termination of Emergency
3. inundation areas    
3.1. Residents, Businesses & Infrastructure at Risk                                                                        

3.2. Evacuation Routes & Road Closures                                                                                         

3.3. Emergency Shelters                                                                                                                    

3.4. Dam Location Map                                                                                                                     

3.5. Dam Breach Inundation Map   
4. Maintenance - EAP Review & UPDATE
4.1. EAP Periodic Review                                                                                                                       
4.2. EAP Exercise                                                                                                                             
4.3. Updates                                                                                                                                     
5. Roles & Responsibilities
Appendices
Appendix A – Resources Available (Equipment, Materials & Manpower)

Appendix B – Forms 

 B–1   Contact Log


 B–2   Unusual or Emergency Event Log


 B–3   Dam Emergency Situation Report


Appendix C – Facility Plans & Supporting Information 

 C–1   Plan View of Dam**


 C–2   Reservoir Elevation-area-volume & Spillway Capacity Data**
 C–3   [Additional site specific data pertinent to the EAP] * 
Appendix D – Examples of Emergency Situations**
Appendix E – Dam Breach Inundation Analysis

Appendix F – Record Holders & Concurrences

 F–1   Record Holders of Control Copies
 F–2   Record of Updates to EAP
 F–3   Concurrences**
Appendix G – Glossary of Terms*
Appendix H – Abridged EAP for Field Implementation*
Note: *   Indicates information is optional. ** Indicates information is strongly recommended.
1   Executive Summary
1.1   Purpose
The purpose of this EAP is to reduce the risk of human life loss and injury and minimize property damage during an unusual or emergency event at  MACROBUTTON  AutomaticChange [name of dam].
1.2   Facility Information
[Name of dam] is located at [closest street address] in [City/Town], Connecticut.  The dam impounds [name of watercourse] to form [name of impoundment].  [Identify the owner(s) and operator(s) of the dam.] Please provide further directions if necessary. For example: “the dam can be accessed by hiking ¼ mile west behind the house located at 27 Lakeshore Drive”.
Physical Description of Dam & Related Components

[Provide a general description of the facility including the following: the length of dam; type of construction; the location(s) of the principal spillway, auxiliary spillway, and low-level outlet structure; and any other structures, such as dikes.]   

Year Built:        
Dam Owner:       
Height:       ft
Dam Operator:      
Drainage Area:       FORMTEXT 

     
 sq mi

Hazard Classification: 
Dam Designer:      
Latitude: 
Record Water Surface Elevation:

________ft (NAVD 88)  ________(date)

________ft (below dam crest)

See [site mapping, design data, etc.] provided in Appendix C. [Information provided in the appendix should include available mapping and data for the dam as pertinent to the EAP.  It is suggested that, at a minimum, a scale map of the dam be provided that shows major components of the site including outlet structures, points of access, fences, etc.   The map can consist of a drawing based on field measurements, an annotated aerial photograph, topographic map, or other available information.] 
History of the Dam 

[Describe the history of the dam as pertinent to the EAP.  Pertinent history could include, but is not limited to, previous occurrences of the dam being overtopped or breached, known areas of seepage or leakage, the effects that construction materials could have on the progression of a breach (such as the erodibility of embankment materials, the presence of core  walls, etc), and the location of low areas along the dam crest.]   
Drainage Area & Watercourse

The drainage area of [Name of Watercourse] at [Name of Dam] is approximately [XX square miles/acres] and extends through the communities of [list the City/Towns within the drainage area] 

[Include a description of the riverine system downstream of the dam.  Identify any features in the downstream area that could affect the progression of a dam breach flood wave, such as the presence of other dams, roadway embankments, watercourses or large wetland areas.] [Identify any purposes or uses associated with the upstream and downstream waters]  
1.3   Dam Breach Flood

An analysis has been performed for  MACROBUTTON  AutomaticChange [name of dam] to estimate the downstream areas that could be inundated by flood waters in the event of a breach of this structure.  The analysis was completed in [date of analysis] by [name of organization].  The dam breach flood and downstream inundated areas were determined by [describe hydraulic model, or method] and [if applicable, describe hydrologic model].  [For revised analyses, this section shall include a reference to the original.]   

The assumptions applied to the breach analysis and the potentially inundated areas are summarized below.  Detailed information on the impacted areas, including inundation mapping and a listing of people at risk, is provided in Section 4.  A discussion and supporting documentation for the dam breach analysis is provided in Appendix E.      
Dam Breach Modeling Assumptions

The potential area of inundation due to a breach of  MACROBUTTON  AutomaticChange [name of dam] as presented in this EAP is based on the following assumptions:
1. The pre-breach water level in the impoundment is at [insert water surface elevation or height/below the dam crest]
2. The pre-breach water level in the downstream reach is based on [identify flood event].

3. The time from breach initiation to full formation is [XX minutes/hours].  
4. The final breach bottom width is [XXX feet]. [Note: the definition of breach width (bottom width, average width, etc) varies according to the equation used.]
5. Downstream bridge openings are [assumed blocked/not blocked].
For the purposes for this EAP, breach initiation is defined as the beginning of rapid uncontrolled growth of the breach and full formation is defined as the point when significant lateral expansion has stopped. [Note: this is the definition of breach formation time used by Froehlich (1995 & 2008). The definition should be revised as appropriate if another equation is used to estimate the breach formation time.]
This analysis provides a conservative estimate of the dam breach outflow and the potentially inundated downstream areas.  However, the actual magnitude of the flood wave and the resulting downstream flood levels will be dependent on numerous factors that cannot be predicted in advance.  For example, the dam breach flood wave would be greater in magnitude if the water level in the impoundment is higher at the beginning of the failure.  Furthermore, downstream flood levels could be increased due to conditions such as debris clogging bridge/culvert crossings and others.  If these conditions exist, additional nearby properties may need to be evacuated.    
Potentially Impacted Downstream Areas 

See Section 4 for information on the residents, businesses and infrastructure at risk of being flooded should the dam fail and the estimated time for the flood wave to travel from the dam to those locations.
[Provide a general description of the downstream areas at risk of flooding. This information should include, but is not limited to, locations of residential neighborhoods, commercial and industrial areas, and heavily traveled roads at risk of flooding.  Identify the individual cities and towns in which potentially impacted residents, businesses and infrastructure are located.  
[Identify any downstream dams at risk of breaching due to the failure of the subject dam in this EAP.  Note if the inundation areas in this EAP account for a failure of those downstream dams.]

[(Optional): An evacuation zone, which is conservatively larger than the calculated dam breach inundation area, can be included in the EAP at the discretion of the dam owner and the EAP preparer.  It should be noted that the Regulations do not require evacuation zones to be included on the inundation mapping.  This should not be confused with the discussion of evacuation routes, which is required in the regulations (see Section 4 of this document).  If evacuation zones are defined and included on the inundation map(s), describe the method used to establish the buffer area between the evacuation zone and the inundation area.  For example, “the buffer area was established based on +4 vertical feet above the peak dam breach flood elevations to account for potential differences between the assumptions applied to the analysis and the actual field conditions that could occur during a breach event”.]
[(Optional, continued) When identifying evacuation zones, the dam owner and EAP preparer shall coordinate with the emergency management authority of the impacted downstream communities.  Pending acceptance by the local emergency management director(s), any representation or discussion of evacuation zones in the EAP must clearly state that they are preliminary.  For example, “This is a possible evacuation area which has been defined by the engineer who performed the dam breach analysis.  The area depicted herein is suggested by the engineer utilizing his/her knowledge of a possible dam breach scenario.  It cannot be considered the official evacuation zone until it is accepted by the emergency management authority(s) in (list each effected downstream community).”]
1.4   Abridged EAP for Field Implementation [Optional]
An abridged version of this EAP is provided in Appendix I.  The intent of the abridged EAP is to provide a condensed document that can be sent by email only in instances when the complete approved EAP is not readily available to users in an emergency.  DEEP will not be reviewing the abridged versions for accuracy or compliance with applicable regulations.  Please be advised that DEEP has concerns about the use of an unregulated abridged EAP and believes that the health and safety of the public will be best served by the use of a complete EAP by all parties identified as having a role or responsibility in the event of an emergency.

1.5   Directions to Dam 
The location of the dam is shown on the Dam Location Map provided in Section 4.4.
If using a GPS satellite based navigation system, the dam can be located using the following information:
· Latitude:         Longitude:      
· Approximate Street Address:      
Otherwise, detailed directions to the dam starting from [Location 1, Location 2, ……] are listed below: 
[Provide detailed directions to the Dam from easily identifiable locations, such as intersections of State roads, land marks, etc. in a concise narrative or bulleted list.]
1.6   Location of Emergency Operations Center 

The [City/Town] Emergency Operations Center ([City/Town] EOC) is located at [name of building and/or description of location].  The address and contact information is listed below:
· Street Address:      
· Latitude: 
· Phone Number:      
The location of the [City/Town] EOC is also shown on the Dam Location Map provided in Section 4.4.

[Provide the information above for each community located in the inundation area.] 

[(Optional) If the scale of the Dam Location Map is too large to show the EOC location in sufficient detail, a separate map is recommended to be included on this page, or inserted into the EAP after this page.]

2   The Five-step EAP Process
2.1   EAP Overview











2.2   Warning Level Determination
After monitoring of the dam has been initiated, the dam owner, operator, or their representative is responsible for determining if conditions warrant one of the following warning levels:
Dam Monitoring - Nonemergency event, slowly developing:
Monitoring of the dam shall be initiated when the National Weather Service announces a Flood Warning for the area or when the owner, operator, their representative, or engineer observes any of the following conditions:

· A marked increase in seepage through an embankment, particularly if evidence of a boil (release of seepage under pressure which tends to “float” away the material through which it flows) is observed. 

· An increase in the rate of rise of the impoundment such a non-overflow section(s) of the dam may be overtopped.

[The list of conditions that warrant initiation of the dam monitoring procedures shall be expanded to include any other site specific conditions deemed necessary by the owner, operator or a professional engineer retained by the owner.]

Responsible Personnel

Personnel responsible for monitoring of the dam, decision making, and implementing emergency repairs can be the owner, operator, or their designee(s).  The following individuals are responsible for monitoring activities:

	Personnel
	Affiliation
	Phone Number(s)

	[Name]

[Title (if applicable)]
	[Company/relationship]
	Office:

Home:

Mobile:

	
	
	


The following individuals are responsible for coordinating and implementing emergency repairs at the dam:

	Personnel
	Affiliation
	Phone Number(s)

	[Name]

[Title (if applicable)]
	[Company/relationship]
	Office:

Home:

Mobile:

	
	
	


Monitoring Procedures
[Provide the interval at which monitoring procedures at the dam should be conducted.  Monitoring of the dam shall be conducted at an interval that has been calculated by a professional engineer retained by the owner, to correspond with the particular hydrologic, hydraulic and structural components of the dam.  The monitoring interval may change depending on changing conditions.] 

The personnel listed in the Notification Chart shall be notified that monitoring procedures have been initiated in accordance with this EAP.  
Monitoring activities shall include viewing the dam and, if it is safe to do so, walking the dam crest at regular intervals to determine if any sloughing of the embankment, cracking, settlement, or movement of the dam has occurred. This shall also include the inspection of the toe of the dam and the abutment contacts to detect any signs of deterioration of the dam or its components, and inspection of the spillway(s) and outlet structure(s) for accumulations of debris.

All monitoring activities shall be documented on the Unusual or Emergency Event Log provided as Appendix B-2. At a minimum, the documentation shall include the following: 

· The date and time of each inspection interval, rainfall data, and reservoir level.

· Observation of any changes in the dam including sloughing of the embankments, cracking, settlement, movement, erosion, seepage, deterioration of abutment contacts, debris obstructing the spillway(s) or outlet structure(s), or any other sign the dam is deteriorating. 

· When observing seepage, the written record shall comment on location, amount of flow and whether the flow is clear, cloudy or muddy. 
· The written record shall comment on the extent, depth, and location of said conditions when observing movement, sloughing, or erosion of the dam. 

Note: See Guidance for Warning Level Determination table (Section 3.2) for assistance in evaluating specific events to determine if they are unusual or potential emergency situations.
Early Warning - Potential dam failure situation, rapidly developing:

This situation may eventually lead to dam failure and flash flooding downstream, but there is not an immediate threat of dam failure.  Remedial actions may be able to save the dam.  If an engineer has been designated, time permitting, they should be contacted to evaluate the situation and recommend remedial actions to prevent failure of the dam.  The dam owner, operator, or their representative should initiate remedial repairs (note local resources that may be available - see Appendix A. Time available to employ remedial actions may be hours or days. 

This warning level is also applicable when the water level in the impoundment is rising at a rate that may cause the outflow from the dam to increase significantly such that downstream areas and roads could be flooded, or people near the downstream channel could be endangered.  
[Outflow structures on the dam that could result in significant increases in the discharge to the downstream channel should be identified.  These structures typically include auxiliary spillways, fuse plug spillways, and the operation of large gates to prevent overtopping of the dam or reduce hydraulic loading.  If these types of structures are located on the dam, information should be provided herein that includes the water level when they begin operation and the manner in which water will be released downstream.  For example, fuse plug spillways can result in the immediate release of large flood wave, while the increase in discharge from an auxiliary spillway is typically more gradual.  If the dam includes outlet gates that have sufficient capacity to cause or appreciably increase flooding in the downstream area, this plan shall include appropriate notifications to alert the emergency management authority if the operator plans on opening these structures. 
The dam owner, operator, their representative, or engineer should closely monitor the condition of the dam and periodically report the status of the situation to the emergency management authority.  If the condition worsens and failure becomes imminent, the dam owner, operator, their representative, or engineer must immediately notify the emergency management authority that conditions warrant issuing a Final Warning.  
Final Warning - Urgent; dam failure appears imminent or is in progress:

This is an extremely urgent situation when a dam failure is about to occur or is occurring and cannot be prevented.  Flash flooding will occur downstream of the dam. 
Monitoring Equipment & Supplies
All inspections should be performed with proper safety equipment.  Means of remote communication (e.g., mobile phone or two way radio) should be maintained to allow prompt contact with emergency officials if unsafe conditions are found at the dam.  Additionally, the following steps will be taken to provide adequate lighting to view the dam at night…. [Describe the steps to be taken to provide adequate lighting to view the dam at night.  Arrangements for mobile high intensity lighting systems should be made to allow observations during darkness.  These systems may be available from the local fire department, local/state police, or the National Guard.  The availability of lighting systems must be confirmed as part of the preparation of this EAP.]  
[If applicable, provide a description of all automated monitoring equipment the owner, operator, or their representative will utilize to conduct monitoring, and a description of a testing procedure for such equipment that occurs at a minimum semi-annually, to ensure proper operation and maintenance.]

Note: see Appendix A for an inventory of available equipment, materials and manpower that can be utilized to respond to emergencies at the site.  This list should be maintained by the dam owner, operator, or their representative and revised as necessary.  It may be possible to enlist the service of a reliable construction contractor(s) who can be made available to supply needed manpower and equipment for emergency situations.  This equipment should be used to buttress the dam structure (e.g., raise the crest of the dam or buttress eroded embankment areas, tipping walls, etc.) before water levels rise appreciably, or if possible, to perform emergency repairs during flooding. 

[The Resources Available table shall include an inventory of emergency equipment and supplies and their location, and personnel which could be utilized by the dam owner, operator, or their representative to respond to emergencies at the site, including, but not limited to, clearing debris blocking the spillway, repairing surface erosion of an embankment, or placing sandbags.] 
Guidance for Warning Level Determination [Optional]
Guidance for determining the appropriate warning level for [Name of Dam] is provided in the table below.  Examples of conditions that would constitute an Early Warning or Final Warning at the dam are provided in Appendix D.  [This table should be modified as necessary to reflect features specific to the dam.]
	Event
	Situation
	Warning Level

	NWS Flood Warning
	A flood warning has been issued by the National Weather Service for the area in the general vicinity of the dam.
	Monitor

	New record water surface elevation
	This is similar to a first fill situation as the embankment has not had impounded at this elevation before
	Monitor 

	Sustained auxiliary spillway flow
	Minor flow in spillway with no active gully erosion
	Early Warning

	
	Spillway flow that would result in flooding of people downstream if the reservoir level continues to rise
	Final Warning

	
	Spillway flowing with an advancing headcut that is threatening the control section
	Final Warning

	Embankment overtopping
	Reservoir level is above design high water ([X.X] feet below the crest of the dam) 
	Early Warning

	
	Reservoir level is [XX] foot/inch or less below the dam crest, or overtopping the dam
	Final Warning

	Seepage
	New seepage areas in or near the dam
	Monitor

	
	New seepage areas with cloudy discharge or increasing flow rate
	Early Warning

	
	Seepage with discharge greater than [XX] gallons per minute
	Final Warning

	Sinkholes
	Observation of new sinkhole in reservoir area or on embankment

	Early Warning

	
	Rapidly enlarging sinkhole
	Final Warning

	Embankment cracking
	New cracks in the embankment greater than ¼-inch wide without seepage
	Monitor

	
	Cracks in the embankment with seepage
	Early Warning

	Embankment movement
	Visual movement/slippage of the embankment slope
	Monitor

	
	Sudden or rapidly proceeding slides of the embankment slopes
	Final Warning

	Instruments
	Instrumentation readings beyond predetermined values
	Monitor

	Earthquake
	Measurable earthquake felt or reported on or within 50 miles of the dam

	Monitor

	
	Earthquake resulting in visible damage to the dam or appurtenances
	Early Warning

	
	Earthquake resulting in uncontrolled release of water from the dam
	Final Warning

	Security threat
	Verified bomb threat that, if carried out, could result in damage to the dam
Damage to dam or appurtenances with no impacts to the functioning of the dam
	Early Warning

	
	Detonated bomb that has resulted in damage to the dam or appurtenances
	Final Warning

	Sabotage/ vandalism
	Damage to dam or appurtenance with no impacts to the functioning of the dam

	Monitor

	
	Modification to the dam or appurtenances that could adversely impact the functioning of the dam
	Monitor

	
	Damage to dam or appurtenances that has resulted in seepage flow 
	Early Warning

	
	Damage to dam or appurtenances that has resulted in uncontrolled water release
	Final Warning


2.3   Notification & Communication

After the warning level has been determined, the emergency management authority shall be notified immediately. 
Communication with Authorities
Initiation of Dam Monitoring - The dam owner, operator, their representative, or engineer should contact the emergency management authority.  The dam owner(s) or operator’s engineer should also be contacted, if one has been designated.  Describe the situation, and request engineering assistance on the next steps that should be taken.  
Early Warning - Emergency event, potential dam failure situation; rapidly developing: 
The following message may be used to help the dam owner, operator, representative or engineer to describe the emergency situation to emergency management authority:
 “This is _____Give your name and title, and provide name of owner & operator, if different. 

I am, OR [name of person is] presently on site monitoring the dam.

There is an emergency condition at [name of dam], located at [provide concise description of the location (such as the street name, and any additional instructions needed to find the dam)]. 


I have activated the Emergency Action Plan for this dam.  The following conditions have been observed [identify the conditions] and indicate the dam may be compromised and could lead to a potential failure.  

These conditions warrant an Early Warning notification, i.e. residents within the limits of the inundation area as depicted in the EAP should be warned that an evacuation of this area may be necessary and first responders should be prepared to evacuate the inundation area. 

Reference the Inundation Map, People At-Risk Table and evacuation routes identified in your copy of the Emergency Action Plan. 

 
I will advise you when the situation is resolved or if the situation gets worse.


I can be contacted at the following number ___________________. If you cannot reach me, please call the following alternative number ___________________.”
Final Warning - Urgent event; dam failure appears imminent or is in progress:
The following message may be used to help the dam owner, operator, representative or engineer to describe the emergency situation to emergency management authority:
 “This is _____Give your name and title, and provide name of owner & operator, if different. 


I am, OR [name of person is] presently on site monitoring the dam. 


There is an emergency condition at [name of dam], located at [provide concise description of the location (such as the street name, and any additional instructions needed to find the dam)]. 


I have activated the Emergency Action Plan for this dam.  The following conditions have been observed [identify the conditions] and indicate the dam is in imminent danger of failing, or is failing.


This is a Final Warning, i.e. residents within the limits of the inundation area as depicted in the EAP should be warned that an evacuation of this area is necessary.

Reference the Inundation Map, People At-Risk Table and evacuation routes identified in your copy of the Emergency Action Plan. 

 
I will continue to contact you and keep you up to date on the condition of the dam.


I can be contacted at the following number ___________________. If you cannot reach me, please call the following alternative number ___________________.”
[Optional: The following prescribed message may be used as a guide for the emergency management authority to communicate the status of the emergency with the public:  

SAMPLE MESSAGE FOR EMERGENCY MANAGEMENT AUTHORITY
EARLY WARNING (Potential failure/possible evacuation)

This is [Name and title of the Emergency Management Authority]

There is an emergency at [Name of the Dam] located _____________________________.

The Emergency Action Plan has been activated for this dam due to current conditions that may cause the dam to fail.

Please be prepared for a possible evacuation if conditions at the dam worsen. You will be notified when the situation is resolved or the situation gets worse.

FINAL WARNING (Imminent Failure/evacuate those at risk downstream)

This is [Name and title of the Emergency Management Authority]

This is an emergency. [Name of Dam] located ______________________________________ is failing/ or has failed.

Residents located in the downstream area must evacuate immediately.

Repeat. [Name of Dam] located _______________________________________________ is failing/ or has failed.

Evacuate immediately using the following evacuation route(s), or proceed immediately to high ground if you feel you can’t get to the evacuation route in time.
Evacuations Routes are as follows:

The following roads are closed:

Note: Be sure to discuss the use of a pre-scripted message for warnings issued by the emergency management authority with the emergency management authority. The Emergency Management Authority should decide if they want a pre-scripted message in your EAP and they should determine the content of that message. 
Dam Monitoring Notifications
Nonemergency
National Weather Service issues a Flood Warning for the Area, 

OR

Unusual event; slowly developing


Early Warning Notifications 
Emergency event rapidly developing;

 potential for dam failure














Final Warning Notifications 
Imminent dam failure; Evacuate downstream area












Emergency Services Radio Frequencies [Optional]
	Agency/Organization
	Radio Frequency (MHz)

	DEHMS Region [Number]
	

	State Emergency Operations Center (SEOC)
	46.16 (State Fire Radio Network)
145.11 (amateur radio)

145.03 (packet radio)

	[Local Police Channel]
	

	[Local/County Fire Dispatch/Operations]
	

	Area [number] Emergency Management
	

	
	

	
	

	
	

	
	


[Add additional organizations and corresponding radio frequencies as necessary for the specific location of the dam.]
Emergency Services Contacts [Optional]
	STATE
	Agency / Organization
	Principal contact
	Address
	Office telephone number
	Alternate telephone numbers

	
	[Name]
	[Name]
	[Address]
	[860-555-5555] 
	[860-555-5555] (H)

[860-555-5555] (C)

	
	DEEP Dispatch 
	24 hour Emergency
Locator Number
	79 Elm St. 3rd Floor
Hartford, CT
	
	860-424-3333


	
	State Dam Safety Official
DEEP Dam Safety Program
	Staff
	79 Elm St., Hartford, CT
	860-424-3706
	 (C)

	
	State Emergency Operations Center (SEOC)
	
	CT National Guard Armory, 360 Broad St, Hartford, CT
	860-566-3180
	

	
	CT Department of Emergency Management & Homeland Security (DEHMS) Director
	
	
	
	

	
	DEHMS Operations Chief
	
	
	
	

	
	CT Department of Transportation 24 Hour Emergency number 
	na
	
	800-695-0444
	

	
	CT State Police Message Center 
	na
	
	860-685-8190
	

	
	
	
	
	
	

	TOWN
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	OTHER
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


2.4   Expected Actions
If the police or fire department receives a 911 call (or anyone else receive notice) regarding observations of an unusual or emergency event at the dam, they should immediately contact the dam owner, operator, their representative, or engineer. After the dam owner, operator, their representative, or engineer determines the warning level, the actions listed below should be taken.  If time permits, the dam owner, operator, representative, or engineer (if there is one) should be contacted for consultation. 

Dam Monitoring - Nonemergency, unusual event; slowly developing:
A.
The dam owner, operator, their representative, or engineer should inspect the dam. At a minimum, inspect the full length of the upstream slope, crest, downstream toe, and downstream slope. Also, check the impoundment area, abutments, and downstream channel for signs of changing conditions.  If increased seepage, erosion, cracking, or settlement are observed, refer to the Guidance for Warning Level Determination (Section 3.2) for guidance in determining the appropriate warning level for the new condition and recommended actions.
B.
All contacts should be made per the Dam Monitoring notification chart.
C.  Record all contacts that were made on the Contact Checklist (Appendix B–1).  Record all information, observations, and actions taken in the Unusual or Emergency Event Log (Appendix B–2).  Note the time of changing conditions.  Document the situation with photographs and video, if possible.
Early Warning - Potential dam failure situation; rapidly developing:

A.
All contacts should be made per the Early Warning notification chart.   If an engineer has been designated, and time permits, request that he/she investigate the situation and recommend corrective actions. 
B.
The dam owner, operator, their representative, or engineer should contact the emergency management authority to inform him/her that conditions exist to warrant issuing an EARLY WARNING and if current conditions get worse, an emergency situation may require evacuation.  The emergency management authority should begin preparations for possible road closures and evacuations.
C.
The dam owner, operator, their representative, or engineer should provide updates to the emergency management authority.  These updates can assist emergency management authority in making timely decisions concerning the need for warnings, road closures, and evacuations.

D.
The emergency management authority should issue the EARLY WARNING to residents and businesses in the inundation/evacuation area using local notification procedures.

E.  The emergency management authority should also issue an EARLY WARNING through the National Weather Service.

F.  The emergency management authority should warn the Department of Transportation (DOT) and the local DPW/highway department(s) about possible impacts to bridges and roadways.  [Revise this    statement if state and/or local roads are not at risk.]
G.  The DOT is responsible for state road closures and detours.  The local DPW/highway department(s) is responsible for local road closures and detours.  [Revise this statement if state and/or local roads are not at risk.]
H.
If time permits, the dam owner, operator, their representative, or engineer should inspect the dam.  At a minimum, inspect the full length of the upstream slope, crest, downstream toe, and downstream slope.  Also, check the impoundment area, abutments, and downstream channel for signs of changing conditions.  If increased seepage, erosion, cracking, or settlement are observed, refer to the Guidance for Warning Level Determination table (Section 3.2) for guidance in determining the appropriate warning level for the new condition and recommended actions.
I.
Record all contacts that were made on the Contact Checklist (Appendix B–1). Record all information, observations, and actions taken on the Unusual or Emergency Event Log (Appendix B–2).  Note the time of changing conditions.  Document the situation with photographs and video, if possible.

J.
See the following discussion regarding possible remedial actions.  
Possible Remedial Actions

If time permits, the following emergency remedial actions should be considered for Early Warning conditions.  Immediate implementation of these remedial actions may delay, moderate, or prevent the failure of the dam.  Several of the listed adverse or unusual conditions may be apparent at the dam at the same time, requiring implementation of several modes of remedial actions.  Following implementation, the dam must be closely monitored to confirm the success of the remedial actions.  Time permitting, the actions should be developed in consultation with the dam owner’s or operator’s engineer, if one has been designated.  See Appendix A for sources of equipment and materials.
[The following adverse conditions and remedial actions are provided as an example.  The EAP preparer shall modify the conditions, and the corresponding remedial actions, listed below such that they are specific to the dam for which the EAP is being developed.]   

Embankment Overtopping [Revise as necessary] 
1. If the water level in the impoundment is no longer rising, place sandbags along the low areas of the top of the dam to control wave action, reduce the likelihood of flow concentration during minor overtopping, and to safely direct more water through the spillway.

2. Cover the weak areas of the top of the dam and downstream slope with riprap, sandbags, plastic sheets, or other materials to provide erosion-resistant protection.

Seepage & Sinkholes [Revise as necessary]
1. Open the principal spillway gate to lower the impoundment level as rapidly as possible to a level that stops or decreases the seepage to a non-erosive velocity. If the gate is damaged or blocked, pumping or siphoning may be required.  Continue lowering the water level until the seepage stops.

2. If the entrance to the seepage origination point is observed in the impoundment (possible whirlpool) and is accessible, attempt to reduce the flow by plugging the entrance with readily available materials such as hay bales, bentonite, soil or rockfill, or plastic sheeting.

3. Cover the seepage exit area(s) with several feet of sand/gravel to hold fine-grained embankment or foundation materials in place. Alternatively, construct sandbag or other types of ring dikes around seepage exit areas to retain a pool of water, providing backpressure and reducing the erosive nature of the seepage.

4. Prevent vehicles and equipment from driving between the seepage exit points and the embankment to avoid potential loss from the collapse of an underground void.

Embankment Movement [Revise as necessary]
1. Open outlet(s) and lower the impoundment to a safe level at a rate commensurate with the urgency and severity of the condition of the slide or slump. If the gate is damaged or blocked, pumping or siphoning may be required.

2. Repair settlement of the crest by placing sandbags or earth and rockfill materials in the damaged area to restore freeboard.

3. Stabilize slides by placing a soil or rockfill buttress against the toe of the slide.

Earthquake [Revise as necessary]
1. Immediately conduct a general overall visual inspection of the dam. 

2. Perform a field survey to determine if there has been any settlement and movement of the dam embankment, spillway, and low-level outlet works.

3. Drain the impoundment, if possible or if required. 

Final Warning - Urgent; dam failure appears imminent or is in progress:
A.
All contacts should be made per the Final Warning notification chart.   
B.
The emergency management authority must alert the public and immediately issue a FINAL WARNING to evacuate at-risk people and close roads as necessary using local notification procedures.

C.
The emergency management authority shall lead the efforts to carry out warnings, close roads, and evacuate people at risk downstream from the dam.

D.  The dam owner, operator, their representative, or engineer should provide updates to the emergency management authority to help him/her make timely decisions concerning the need for warnings, road closures, and evacuations.
E.   All parties should record all contacts that were made on the Contact Checklist (Appendix B-1).

F.
The dam owner, operator, their representative, or engineer should record all information, observations, and actions taken on the Unusual or Emergency Event Log (Appendix B–2). Note the time of changing conditions.  Document the situation with photographs and video, if possible.

G.
Advise people monitoring the dam to follow safe procedures. Everyone should stay away from any of the failing structures or slopes and out of the potential breach inundation areas.

H.  The emergency management authority should also issue an FINAL WARNING through the National Weather Service.

I.   The emergency management authority should warn the Department of Transportation (DOT) if state-owned roads could be impacted, and the local DPW/highway department about possible impacts to state and local bridges and roadways. [Revise this statement if state and/or local roads are not at risk.]
J.  The DOT is responsible for state road closures and detours.  The local DPW/highway department(s) is responsible for local road closures and detours.  [Revise this statement if state and/or local roads are not at risk.]
2.5   Termination

Whenever the EAP has been activated, an emergency level has been declared, all EAP actions have been completed, and the emergency is over, the EAP operations must eventually be terminated and follow-up procedures completed. 

Termination Responsibilities
The emergency management authority is responsible for terminating EAP operations and relaying this decision to the [City/Town] Emergency Operations Center (EOC) and the State DEEP Flood Response Center (FRC).  The following conditions and procedures are required prior to termination of a Final Warning event that has not caused the dam to fail:

· The event has passed (water level is receding).
· The dam has been inspected by the dam owner’s engineer and deemed safe. 
· The State DEEP Dam Safety Official has been contacted and agrees with the safe determination.
· The emergency management authority has been informed of the engineer’s determination and DEEP’s concurrence.
· The emergency management authority gives the all-clear notice.
It is then the responsibility of each group/person in the notification charts to make sure that the contacts listed above and below them is notified that the event has been terminated.  The emergency management authority should contact the following to terminate the emergency:

· The National Weather Service

· Department of Transportation
· Local Department of Public Works

· Any other private or public services that were assisting to issue warnings
· Downstream residents and business owners.
Note: The dam owner, operator, or their representative shall have the engineer who inspected the dam complete the Dam Safety Emergency Situation Report (Appendix B–3) to document the emergency event and all actions that were taken. The dam owner, operator, their representative, or engineer must distribute copies of the completed report to the State DEEP Dam Safety Official and the emergency management authority who coordinated the event. 

3   inundation areas 

3.1   Residents, Businesses & Infrastructure at Risk
[The following statement and table can be used when there is a small number of impacted downstream residences and businesses.] 

A major flood caused by a breach of the dam is estimated to inundate [number] homes, [number] businesses, and [number] roadways. These homes and businesses (marked on the inundation map) are located [describe general location].  Addresses, names, and contact information are listed in the table below. [Describe the local notification procedures that will be used to contact residents and businesses in the inundation area.  This shall be written in coordination with the emergency management authority of the impacted communities.]   

[Example table for a small number of impacted downstream residences and businesses. Includes individual downstream locations with phone numbers.]

	Street Number
	Residence/Business
	Address
	Phone Number

	
	
	
	860-555-555

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


[When there is a large number of impacted residences and businesses, the following statement and table can be used as an alternative.  Due to the large number of impacted residences/businesses, it would not be feasible to contact each individual by phone within the short amount of time required for evacuation.  An alternative means of notification, such as reverse 911, should be utilized, if feasible, and noted below.]

A major flood caused by a breach of the dam is estimated to affect numerous homes, businesses, roadways, and bridges.  There are too many properties to list individually.  The following list can be used to help coordinate evacuations.  The properties are approximately listed starting near the dam then moving downstream.  [Describe the local notification procedures that will be used to contact residents and businesses in the inundation area.  This shall be written in coordination with the emergency management authority of the impacted communities.]   

[Example table for a large number of impacted downstream residences and businesses. Includes the street numbers of the downstream locations, but does not include phone numbers.]

	Street Numbers
	Street Name
	Property Type
	Number of Properties

	1-45 all
	Old Stone Crossing
	Residential
	14

	62
	Albany Avenue
	Residential
	1

	
	
	
	

	
	
	
	

	
	
	
	


[(Optional) List the names and contact information for local radio stations, television stations, and any other media outlets relevant to the City/Town in question.  Information regarding contact procedures used by the emergency management authority should be included herein; this shall be coordinated with the local emergency management authority of the impacted communities.]
	Name
	Description
	Contact Information

	[Name of Media Outlet]
	[Television, Radio, etc.]
	

	
	
	

	
	
	

	
	
	

	
	
	


[The table below, which lists the flood wave arrival times and flood depths at critical downstream locations, should be included with either of the tables above.  It is strongly recommended that this information is also provided on the inundation map in the same tabular form as below, or as individual call-outs pointing to each location of interest.] 

	Location
	Distance from Dam (feet)
	Est. Peak Breach Travel Time (min)*
	Est. Max. Water Depth Increase (feet)
	Description of Est. Max. Water Depth Relative to Infrastructure

	[Road crossings, intersections, structures, etc.]
	
	
	
	[Example: “3.5 feet above bridge deck”]

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


*Estimated time for the peak of the breach flood wave to travel from the dam to downstream locations. Breach flooding will occur before the arrival of the peak of the flood wave.  
3.2   Evacuation Routes & Road Closures
[Evacuation routes and road closures shall be identified herein. The evacuation routes and road closures shall be coordinated with the emergency management director(s) in the impacted downstream communities.]  

[The engineer who performs the dam breach analysis will establish the inundated areas.  The emergency management authority will ultimately determine road closures and evacuation routes using the inundation map as guidance.]
3.3   Emergency Shelters
[Identify the name and address of local emergency shelter(s).  This information shall be coordinated with the emergency management authority of the impacted downstream communities.]

3.4   DAM LOCATION MAP [INSERT HERE]
[Provide a location map sufficient in scale to clearly show the following information: 
· The exact location of the impoundment in relation to the surrounding area. 
· [Recommended] The location of the Emergency Operations Center (EOC). 
· Other dams in the area, particularly on the downstream watercourse, 

· A delineation of the drainage area and its size noted in square miles. 

The location map shall include a north arrow, and a bar scale.]

3.5   DAM BREACH INUNDATION MAP [INSERT HERE]
[A dam breach inundation map shall be prepared, stamped and signed by a Connecticut licensed professional engineer.  The elevations shown on the map shall reference the Geodetic North American Vertical Datum (NAVD88).  The map shall show, at a minimum, the following features: 

· The name and address or location of the dam, 

· Pertinent downstream features such as buildings, homes, railroads, bridges, schools, hospitals, camp grounds, other dams, and any other significant facilities, etc., 

· The dam breach inundation area for wet weather with arrows indicating the direction of the flood wave, 

· A north arrow and bar scale, and 

· Pertinent downstream cross sections, such as roads (identify the road names). 
· A description of the method or computer model used to prepare the inundation map.
The regulations require the following information be provided in EAPs, but not specifically on inundation mapping. However, it is recommended that these items also be included on the inundation map(s) of space is available on the map: 

· An estimated timeline that shows arrival times of peak floodwaters expressed in hours and minutes and incremental increase in water depth above the baseline elevation at critical intersection(s), structure(s), or inhabited structure(s).  Note: this information is also provided in a table under Residents, Businesses & Infrastructure at Risk.  It is recommended that this table also be included on the inundation map, or provided as individual call-outs pointing to each location of interest.
· Identification of any road closures, evacuation routes, and the location of any emergency shelters.
4   Maintenance - EAP Review & UPDATE
4.1   EAP Periodic Review
The dam owner, operator, or their representative will review and, if needed, update the EAP at least once every two years, or more frequently as necessary to reflect significant changes. The EAP review will include the following:
•
Calling all contacts on the three notification charts in the EAP to verify that the phone numbers and persons in the specified positions are current. The EAP will be updated if any of the contacts have changed.

•
In addition, the dam owner, operator, or their representative will ask if the person contacted knows where the EAP is kept and if responsibilities described in the EAP are understood.

•
Calling the locally available resources to verify that the phone numbers, addresses, and services are current (See Appendix A).
4.2   EAP Exercise 
Section 22a-411a-2 RCSA requires EAPs to include a description of an exercise, or test to be conducted at a minimum of once every two years.  The exercise shall include participation of all appropriate personnel identified in the EAP that are responsible for providing emergency services in the event the EAP is initiated.  
[Descriptions of three types of EAP exercises are provided below. The Dam Owner may elect to conduct any one of the three exercise methods.  The preferred exercise method, which the Dam Owner will commit to using, should be identified in the EAP.  The DEEP recommends that owners of Class C dams conduct a Drill Exercise as described below at least once every six years.  Emergency Managers are encouraged to host town-wide or regional exercises that encompass multiple dams and include participation of multiple Dam Owners.] 
For the purposes of the exercises described below ‘Dam Owner’ may refer to the Dam Owner, Operator, their Representative, or Engineer.
[Example] Call-Out Exercise
The Dam Owner will conduct the Call-Out Exercise.  The Dam Owner will verify that all persons and telephone numbers on the Early Warning and Final Warning Notification Charts are current.  In addition to verifying personnel and contact information, the Dam Owner will verify that each contact can locate their copy of the EAP and that they understand their roles and responsibilities in the event of an emergency, as described in the EAP. 

The Dam Owner will contact the locally available resources provided in the EAP to verify contact information and ensure that the services are current. 

The Dam Owner will review the most recent Dam Inspection Report Form, any significant development or construction activity downstream of the dam, and any modifications to the dam or spillway.  The EAP must be updated to reflect any significant changes to the dam or downstream area and any changes in personnel or contact information. 

[Example] Tabletop Exercise

The Tabletop Exercise will be facilitated by the Dam Owner. The exercise will consist of a meeting and subsequent review of the EAP.  The Dam Owner, a representative from the Town, and any others with key responsibilities as identified in the EAP, should be present at the exercise. 

The Tabletop Exercise will begin with the facilitator presenting a scenario of an unusual or emergency event at the dam.  The scenario will be developed prior to the exercise.  Once the scenario has been presented, the participants will discuss the responses and actions that they would take to address, mitigate and resolve the scenario.  The facilitator will control the discussion, ensuring realistic responses and developing the scenario throughout the exercise.

The Dam Owner will also verify that all persons and telephone numbers on the Early Warning and Final 

Warning Notification Charts are current.  In addition to verifying personnel and contact information, the 

Dam Owner will verify that each contact can locate their copy of the EAP and that they understand their roles and responsibilities in the event of an emergency, as described in the EAP.  The Dam Owner will also contact the locally available resources provided in the EAP in order to verify contact information and ensure the services are current. 

The Dam Owner will review the most recent Dam Inspection Report Form, note any significant development or construction activity downstream of the dam, and any modifications to the dam or spillway.  The EAP must be updated to reflect any significant changes to the dam or downstream area and any changes in personnel or contact information. 
[Example] Drill Exercise

The Drill Exercise will be facilitated by the Dam Owner and will consist of a visit to the dam site, a simulated exercise, and subsequent review of the EAP.  The Dam Owner, persons responsible for the Dam Monitoring Procedure, a representative from the Town, and any others with key responsibilities as identified in the EAP should be present at the Drill Exercise. 

Participants of the Drill Exercise will visit the dam to familiarize themselves with the site prior to the initiation of the exercise.  If a site visit is not possible to coordinate, exercise participants may familiarize themselves with the site through the use of aerial photographs or topographical maps, and a review of the most recent inspection report for the dam.  Following the site visit, exercise participants will meet at the Emergency Operations Center (EOC) as identified in the EAP, to hold the exercise.  If the EOC is not available, an alternate location may be used. 

The facilitator will present a scenario of an unusual or emergency event at the dam.  The scenario will be developed prior to the exercise.  Once the scenario has been presented, participants will respond and activate the EAP as if the scenario were a real-life event.  The facilitator will develop the scenario throughout the exercise.  Once the scenario has been completed, the participants will discuss the responses and actions taken to address, mitigate, and resolve the scenario.  The facilitator will prepare a written summary of the exercise and the EAP should be updated as necessary. 

Note: While the Drill Exercise should be treated as an actual event, participants should clearly verbalize that this is a drill and not a real life event while making phone calls.  No actions should actually be taken (i.e. mobilizing emergency equipment, evacuations, etc.).  The purpose of the Drill Exercise is to test the EAP and facilitate the response to an actual event. 

4.3   Updates
The dam owner, operator, their representative, or engineer is responsible for updating the EAP document.  The EAP document held by the dam owner, operator, their representative, or engineer is the master document.  When revisions occur, the dam owner, operator, their representative, or engineer will provide a new complete EAP document with the update summary page (see Appendix F-2) to all the EAP document holders (see Appendix F-1).    
5   Roles and Responsibilities
[Optional] Each individual or representative of an organization listed below shall sign the Concurrences form provided in Appendix F-3, which states they have reviewed this plan and understand the tasks and responsibilities assigned to them. [Note: it is recommended, but not required in the regulations, that the above statement and the corresponding Concurrences form be included in the EAP.  Should the dam owner elect to omit this from the EAP, the above statement and form should be deleted.]
Dam Owner, Operator, or Representative ([name or title]) 
· Distribute this EAP to appropriate Control Copy Holders (see Appendix F-1).
· Review this EAP at least every two years and make revisions as needed (See Appendix F-2).

· Provide updated pages and an updates list to all EAP Control Copy Holders.

· Host and facilitate a periodic test of this EAP at least once every 2 years (See Section 5.2)

· Provide a list identifying personnel and their alternate(s) that would be utilized by the dam owner or operator(s) responsible for decision making and for implementing emergency repairs when the owner is absent.
· Initiate monitoring of the dam at the onset of conditions identified in this EAP and notify the emergency management authority that monitoring has begun (see notification charts).

· Determine if conditions warrant the notification of an Early Warning or Final Warning.  If not, continue monitoring the dam.

· If an Early Warning or Final Warning is warranted, immediately notify the emergency management authority (see notification charts). 

· Provide updates of the situation to the emergency management authority to help her/him make timely and accurate decisions regarding warnings and evacuations.

· Provide leadership to assure the EAP is reviewed and updated annually and copies of the updated EAP are distributed to all who received copies of the original EAP.
Note: It is important to remember that it is the responsibility of the dam owner, operator, their representative, or engineer to contact the emergency management authority to inform them of an emergency condition at the dam and issue the appropriate warning notification. The emergency management authority then has responsibility to order an evacuation and contact residents and businesses in the impacted areas if required.
CT Licensed Professional Engineer retained by dam owner ([name or title])
· Advise the dam owner, operator, their representative, of the warning level determination, if time permits.  [Optional; this is only applicable if one has been designated in the EAP.]
· Advise the dam owner, operator, their representative, of remedial actions to take if an Early Warning event occurs, if time permits.  [Optional; this is only applicable if one has been designated in the EAP.]
· In the event a Final Warning is issued, inspect the dam after flood waters begin to recede and provide the inspection report to the State Dam Safety Official for review and concurrence.

State Dam Safety Agency (CT DEEP, Dam Safety Section)

●
State-wide monitoring during flood emergencies; provide support and communication with the local emergency management authority(s).

●
Prior to a Final Warning being terminated by the emergency management authority, review and provide concurrence with the assessment provided by the dam owner’s engineer that the dam is in a safe condition
· Contact the National Weather Service (NWS) to coordinate the state-wide flood outlook.
Emergency Management Authority ([name or title])
· Serve as the primary contact person responsible for coordination of all emergency actions. 
· Maintain communications with the media.

· When an Early Warning is issued:


○

Prepare emergency management personnel to evacuate people at risk downstream if conditions worsen and a Final Warning is issued.


○

Initiate the warnings that an evacuation may be necessary to people at risk downstream of the dam. 


○

Alert the general public.

· When a Final Warning is issued:

· Initiate the order to emergency management personnel to begin evacuation of people at risk downstream of the dam. 

· Alert the general public.

· Decide when to terminate the emergency (see guidance provided in Section 3.5).

· Participate in an annual review and update of the EAP.

Note: For the purposes of this EAP, engineer refers to a professional engineer, licensed in the State of Connecticut, with experience in dam safety.  The Dam owner is not required to designate a professional engineer to be listed in the EAP.  However, in the event that an Early or Final Warning is issued and evacuations take place, the dam owner shall hire an engineer with the above qualifications to inspect the dam.  The Final Warning cannot be terminated until the dam has been deemed safe by the inspecting engineer, and the State Dam Safety Official concurs with his/her decision.  Refer to the termination procedures in Section 3.5.
Appendices - Forms, Glossary, Maps, and 
Supporting Data

Appendix A – Resources Available (Equipment, Materials & Manpower)

Appendix B – Forms 

 B–1   Contact Log [Optional]


 B–2   Unusual or Emergency Event Log


 B–3   Dam Emergency Situation Report


Appendix C – Facility Plans & Supporting Information

 C–1   Plan View of Dam [Recommended]
 C–2   Impoundment Elevation-Area-Volume & Discharge Capacity Data [Recommended]
 C–3   [Additional site specific data pertinent to the EAP] [Optional]
Appendix D – Examples of Emergency Situations [Optional]
Appendix E – Dam Breach Inundation Analysis
Appendix F – Record Holders & Concurrences

 F–1   Record Holders of Control Copies [Recommended]
 F–2   Record of Updates to EAP


 F–3   Concurrences [Recommended]
Appendix G – Glossary of Terms [Optional]
Appendix H – EAP Development Checklist [Recommended]
Appendix I – Abridged EAP for Field Implementation [Recommended]
Appendix A

Resources Available

 (Equipment, Materials & Manpower)
The [dam owner, operator, or their representative] has the following resources that can be utilized in the event of an emergency:
	Equipment
	Equipment Location
	Materials

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


[The statement and table above can be deleted if the dam owner/operator does not have access to the type of equipment and materials necessary to address emergency situations at the dam.] Locally available resources include:


	Heavy Equipment Service
& Rental
	Sand & Gravel Supply
	 Ready-mix Concrete Supply



	[Source/Company Name]
[Address]
[City/Town], CT
[Phone Number]
	[Source/Company Name]
[Address]
[City/Town], CT
[Phone Number]
	[Source/Company Name]
[Address]
[City/Town], CT
[Phone Number]

	[Add additional sources as deemed necessary.]
	
	

	Pumps
	Diving Contractor
	Sand Bags

	[Source/Company Name]
[Address]
[City/Town], CT
[Phone Number]
	[Source/Company Name]
[Address]
[City/Town], CT
[Phone Number]
	[Source/Company Name]
[Address]
[City/Town], CT
[Phone Number]


Appendix B -1 [Optional]
Contact Log
Dam name:     __________________________________________________________________                          

Location: [Street Name, City/Town Name, County Name], CT
Date _____________   

The following contacts should be made immediately after the dam monitoring has been initiated and/or when the warning level has been determined. (See Section 3.2). The person making the contacts should initial and record the time of the call and who was notified for each contact made.  See the Notification Charts for critical contact information and Emergency Services Contacts for contact information for other possible emergency services. 
DAM MONITORING ([see page X])
Person
Time
Contacted 


Contacted
Contacted
by

___ Emergency Management Authority
_____________
_____________
_____________
___ Dam Owner’s Engineer (if needed)
_____________
_____________
_____________
EARLY WARNING ([see page X]) 


Person
Time
Contacted


Contacted
Contacted
by

____ Emergency Management Authority
_____________
_____________
_____________
____ Dam Owner’s Engineer
_____________
_____________
_____________
____ DEEP Flood Response Center
_____________
_____________
_____________
____ State Dam Safety Official
_____________
_____________
_____________
FINAL WARNING ([see page X])
Person  
Time
Contacted


Contacted
Contacted
by

____ Emergency Management Authority   _____________
_____________
_____________
____ Dam Owner’s Engineer
_____________
_____________
_____________
____ DEEP Flood Response Center
_____________
_____________
_____________
____ State Dam Safety Official                   _____________
_____________
_____________
Appendix B - 2

Unusual or Emergency Event Log

(to be completed during the emergency)

Dam name:  [Name of Dam]      Emergency Management Authority [Person’s Name & Title]                    

When and how was the event detected? If the event started with a weather flood warning, then that should be listed here: ___________________________________________________________________________
_______________________________________________________________________________________
Weather conditions: ______________________________________________________________________
General description of the emergency situation: _______________________________________________________________________________________
_______________________________________________________________________________________
_______________________________________________________________________________________
Warning level determination: ______________  Made by: _______________________________________
Actions & Event Progression
	Date
	Time
	Rainfall Data
	Reservoir Level
	Action/Event Progression
	Recorded By

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


Report prepared by: _______________________________________  Date: _______________

Appendix B - 3

Dam Emergency Situation Report

(Complete following the termination of the emergency)

Dam name:  [Name of Dam]         Emergency Management Authority [Person’s Name & Title]
CT Dam ID No.: [                          ]
Dam location:  [Street Name, City/Town Name]         [County Name]        [Watercourse]       
                               (Street)             (City)                         (County)               (Stream/River)

Date:  __________
Time: __________


Weather conditions: ____________________________________________________________
General description of emergency situation: _________________________________________
_____________________________________________________________________________
_____________________________________________________________________________
_____________________________________________________________________________
Area(s) of dam affected: _________________________________________________________
_____________________________________________________________________________
_____________________________________________________________________________
_____________________________________________________________________________
Extent of dam damage:  _________________________________________________________
_____________________________________________________________________________
_____________________________________________________________________________
_____________________________________________________________________________
Possible cause(s): ______________________________________________________________
_____________________________________________________________________________
_____________________________________________________________________________
Effect on dam’s operation: _______________________________________________________
_____________________________________________________________________________
_____________________________________________________________________________
Initial reservoir elevation: _______________________
Time: ______________
Maximum reservoir elevation: ______________________
Time: ______________
Final reservoir elevation: _________________________
Time: ______________
Description of area flooded downstream/damages/injuries/loss of life: _____________________
_____________________________________________________________________________
_____________________________________________________________________________
Other data and comments: ________________________________________________________
Observer’s name and telephone number:_____________________________________________
Report prepared by: ________________________________________    Date: ______________
[Appendix C – 1: Plan View of Dam (Insert Here)] [Recommended]
Appendix C - 2 [Recommended]
Reservoir Elevation-Area-Volume 
& Discharge Capacity Data
[Name of Dam] 

[CT Dam ID No]
[The following table is provided as an example of how this data can be presented.  The EAP preparer should modify this table as deemed appropriate to present site specific data in a clear, well organized manner.  Alternatively, this data can be provided graphically as a series of curves.]   
	Elevation
	Reservoir Surface

(acres)
	Reservoir Storage

(ac-ft)
	Spillway Discharge

(ft3/s)

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	Elevation of Principal Spillway Crest

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	Elevation of Auxiliary Spillway Crest

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Appendix D [Recommended]
Examples of Emergency Situations

The following are examples of conditions that usually constitute an emergency situation that may occur at a dam.  Adverse or unusual conditions that can cause the failure of a dam are typically related to aging or design and construction oversights.  Extreme weather events that exceed the original design conditions can cause significant flow through the auxiliary spillway or overtopping of the embankment.  However, accidental or intentional damage to the dam may also result in emergency conditions.  The conditions have been grouped to identify the most likely emergency-level condition.  The groupings are provided as guidance only.  Not all emergency conditions may be listed, and the dam owner, operator, or their representative is urged to use conservative judgment in determining whether a specific condition should be defined as an emergency situation at the dam. 

[The conditions listed below are provided as examples.  The information presented should be modified as necessary to better reflect the subject dam in the EAP.] 

Pre-existing conditions on this dam: [Describe any known deficiencies that could adversely affect the safety or operation of the dam during flood conditions.  It is recommended that previous dam inspection reports be reviewed to identify any deficiencies.] 

General Conditions
Early Warning- Potential dam failure situation; rapidly developing:

1. Conditions are developing at the dam that could lead to a potential failure of the dam and may make evacuations necessary.

Final Warning- Urgent; dam failure appears imminent or is in progress:

1. Conditions exist at the dam that are likely to result in a failure of the dam.

Earth Spillway Flows

Early Warning - Potential dam failure situation; rapidly developing:
1.
Significant erosion or headcutting of the spillway is occurring, but the rate does not appear to threaten an imminent breach of the spillway crest that would result in an uncontrolled release of the impoundment.

2.
Flow through the earth auxiliary spillway is or is expected to cause flooding that could threaten people, homes, and/or roads downstream from the dam.
Final Warning - Urgent; dam failure appears imminent or is in progress:

1.
Significant erosion or headcutting of the spillway is occurring at a rapid rate, and a breach of the control section appears imminent.

2.
Flow through the earth auxiliary spillway is causing flooding that is threatening people, homes, and/or roads downstream from the dam.

Embankment Overtopping 

Early Warning - Potential dam failure situation; rapidly developing:
1.
The impoundment level is above the design high water elevation [X.X feet from the top of the dam], and/or the water is rising at a rate such that a non-overflow section of the dam may be overtopped.
Final Warning - Urgent; dam failure appears imminent or is in progress:
1.
The impoundment level is within ___ foot from the top of the lowest point on the dam crest and is rising at a rate such that a non-overflow section of the dam will be overtopped with 30 minutes, or is currently overtopping the dam. 

Seepage & Sinkholes
Early Warning - Potential dam failure situation; rapidly developing:

1.
Cloudy seepage or soil deposits are observed at seepage exit points or from internal drain outlet pipes.

2.
New or increased areas of wet or muddy soils are present on the downstream slope, abutment, and/or foundation of the dam, and there is an easily detectable and unusual increase in volume of downstream seepage.
3. There is a marked increase in seepage particularly if a boil carrying soil has formed.
4.
Significant new or enlarging sinkhole(s) near the dam or settlement of the dam is observed.

5.
Impoundment level is falling without apparent cause.

6.
The following known dam defects are or will soon be inundated by a rise in the reservoir: 


•
Sinkhole(s) located on the upstream slope, crest, abutment, and/or foundation of the dam; or


•
Transverse cracks extending through the dam, abutments, or foundation.

Final Warning - Urgent; dam failure appears imminent or is in progress:
1.
Rapidly increasing cloudy seepage or soil deposits at seepage exit points to the extent that failure appears imminent or is in progress.

2.
Rapid increase in volume of downstream seepage to the extent that failure appears imminent or is in progress.

3.
Water flowing out of holes in the downstream slope, abutment, and/or foundation of the dam to the extent that failure appears imminent or is in progress.

4.
Whirlpools or other evidence exists indicating that the reservoir is draining rapidly through the dam or foundation.

5.
Rapidly enlarging sinkhole(s) are forming on the dam or abutments to the extent that failure appears imminent or is in progress.

6.
Rapidly increasing flow through crack(s) eroding materials to the extent that failure appears imminent or is in progress.

Embankment Movement & Cracking

Early Warning - Potential dam failure situation; rapidly developing:

1.
Settlement of the crest, slopes, abutments and/or foundation of the dam that may eventually result in breaching of the dam.

2.
Significant increase in length, width, or offset of cracks in the crest, slopes, abutments, and/or foundation of the dam that may eventually result in breaching of the dam.

Final Warning - Urgent; dam failure appears imminent or is in progress:

1.
Sudden or rapidly proceeding slides, settlement, or cracking of the embankment crest, slopes, abutments, and/or foundation, and breaching of the dam appears imminent or is in progress.
Concrete/Masonry Movement &/or Cracking

Early Warning- Potential dam failure situation; rapidly developing:

1. Cracking, settlement and or movement of the masonry or concrete dam, spillway, training walls or other appurtenance of the dam training walls have occurred. The location of the cracking or settlement along with the severity of the cracking or movement does not pose an immediate threat to the safety of the dam.

Final Warning- Urgent; dam failure appears imminent or is in progress:

1.   Cracking, settlement and or movement of the masonry or concrete dam, spillway, training walls or other appurtenance of the dam training walls have occurred. The location of the cracking or settlement along with the severity of the cracking or movement is alarming and the stability of the dam can be considered compromised.
Appendix E
Dam Breach Inundation Analysis 

 [In general, the technical aspects of the dam breach analysis should be documented herein.  The analysis should be summarized in a well-organized and clear narrative.  At a minimum, the narrative should include a description of the input data sources (terrain data and vertical datum, bridge opening dimensions, etc.), assumptions regarding the field conditions at the time of the dam failure (antecedent conditions, overbank roughness values, etc.), and the assumptions applied to the breach formation (method for estimating the breach dimensions and formation time, failure mode, pre-breach water level behind the dam, etc.).  Any other information that the preparer feels will be helpful in understanding the analysis should also be included.] 

Appendix F - 1
Record Holders of Control Copies 

	Copy Number
	Organization
	Person Receiving Copy

	1
	[Organization Name]

[Address]
[City/Town], CT [zip code]
	[Title]

[Name of Person]

	2
	
	

	3
	
	

	4
	
	

	5
	
	

	6
	
	

	7
	
	

	8
	
	


Appendix F – 2 [Recommended]
Record of Updates to EAP

	Update Number
	Date
	Revisions Made
	By Whom

	1
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


Appendix F - 3 [Recommended]
Concurrences 
By my signature, I acknowledge that I, or my representative, have reviewed this plan and concur with the tasks and responsibilities assigned herein for me and my organization.

1.____________________________________________________________________________________

                           Signature                                               Organization                                                            Date

Printed name and title:  

2. ___________________________________________________________________________________

                             Signature                                               Organization                                                            Date

Printed name and title:  

3.____________________________________________________________________________________

                           Signature                                               Organization                                                            Date

Printed name and title:  

4.____________________________________________________________________________________

                           Signature                                               Organization                                                            Date

Printed name and title:  

5.____________________________________________________________________________________

                           Signature                                               Organization                                                            Date

Printed name and title:  

6.____________________________________________________________________________________

                           Signature                                               Organization                                                            Date

Appendix G [Optional]
Glossary of Terms
	Abutment
	The natural ground that borders on either end of the dam structure.

	Appurtenance
	Any structure or mechanism other than the dam itself which is associated with its operation.

	Arterial Roadway
	A roadway that provides a high level of mobility and that is frequently the route of choice for buses and trucks, as provided in the U.S. Department of Transportation document entitled “Highway Functional Classification Concepts, Criteria and Procedures, 2013 edition”.

	Boil
	A disruption of the soil surface due to water discharging from below the surface. Eroded soil may be deposited in the form of a ring (miniature volcano) around the disruption.

	Breach
	An alteration of a dam either deliberately or accidentally in such a way as to release its impounded waters resulting in partial or total failure of the dam.

	Class B Dam
	A significant hazard potential dam which, if it were to fail, would result in any of the following: (i) possible loss of life; (ii) minor damage to habitable structures, residences, including but not limited to, industrial or commercial buildings, hospitals, convalescent homes, or schools; (iii) damage to local utility facilities including water supply, sewage treatment plants, fuel storage facilities, power plants, cable or telephone infrastructure, causing localized interruption of these services; (iv) damage to collector roadways and railroads; or (v) significant economic loss. 

	Class C Dam
	A Class C dam is a high hazard potential dam which, if it were to fail, would result in any of the following: (i) probable loss of life; (ii) major damage to habitable structures, residences, including, but not limited to, industrial or commercial buildings, hospitals, convalescent homes, or schools; (iii) damage to major facilities, including public water supply, sewage treatment plants, fuel storage facilities, power plants, or electrical substations causing widespread interruption of these services; (iv) damage to arterial roadways; or (v) great economic loss.

	Collector Roadway
	A roadway that collects traffic from local roadways and connects traffic to arterial roadways, as provided in the U.S. Department of Transportation document entitled “Highway Functional Classification Concepts, Criteria and Procedures, 2013 edition”.

	Conduit
	A closed channel (round pipe or rectangular box) that conveys water through, around, or under the dam.

	Control Section
	A usually level segment in the profile of an open channel spillway above which water in the reservoir discharges through the spillway.

	Cross Section
	A slice through the dam showing elevation vertically and direction of natural water flow horizontally from left to right. Also, a slice through a spillway showing elevation vertically and left and right, looking downstream.

	CT ID Number
	A unique identifying number assigned to a dam registered and regulated by the State of Connecticut.

	Dam
	Any barrier of any kind whatsoever which is capable of impounding or controlling the flow of water, including but not limited to storm water retention or detention dams, flood control structures, dikes, and incompletely breached dams.

	Dam Failure
	A catastrophic breach characterized by the sudden, rapid, and uncontrolled release of impounded water, or a lesser breach that adversely affects the dam’s primary function of impounding water.

	Dam Height
	The vertical distance from the crest of the dam or similar structure to the downstream toe of such dam or similar structure.

	Dam Operator
	The person(s) in control of, or having responsibility for, the daily operation of the dam as designated by the owner on the dam registration form required by Section 22a-409-1(b) of the Regulations of Connecticut State Agencies (RCSA).

	Dam Owner
	The person(s) having legal ownership of the dam.

	Drains: toe, foundation, or blanket
	A water collection system of sand and gravel that typically pipes along the downstream portion of the dam to collect seepage and convey it to a safe outlet.

	Drainage Area (watershed)
	The geographic area on which rainfall flows into the dam.  The drainage area can be delineated using USGS StreamStats. StreamStats is an on-line GIS application that is available to the public free-of-charge.  http://water.usgs.gov/osw/streamstats/connecticut.html   

	Drawdown
	The lowering or releasing of the water level in a reservoir over time or the volume lowered or released over a particular period of time.

	Early Warning Notification
	An alert stage in which the local authorities are informed by the dam owner that a situation exists at a dam that could develop into a serious hazard to downstream inhabitants, making evacuation necessary.

	Emergency
	A condition of a serious nature which develops unexpectedly, endangers the structural integrity of a Class C or Class B dam, and requires immediate action.

	Emergency Action Plan (EAP)
	A formal document required to be submitted to the commissioner in accordance with section 22a-411a-2 of the Regulations of Connecticut State Agencies.

	Emergency Management Authority
	Any local, state, federal, or tribal agency responsible for emergency operations, planning, mitigation, preparedness, response, and recovery for all hazards.

	Emergency Operations Center (EOC)
	The location or facility where responsible officials gather during an emergency to direct and coordinate emergency operations, to communicate with other jurisdictions and with field emergency forces, and to formulate protective action decisions and recommendations during an emergency.

	Evacuation Map
	A map showing the geographic area downstream of a dam that should be evacuated if it is threatened to be flooded by a breach of the dam or other large discharge.

	Final Warning Notification
	A warning in which the local authorities are informed by the dam owner that a failure of the dam is a likely possibility and residents downstream should be evacuated immediately.

	Flood
	Any high flow, overflow, or inundation by water which causes or threatens damage to persons or property.

	Flood Response Center (FRC)
	The state DEEP coordination center for major flood events affecting the State of CT.

	Freeboard
	Vertical distance between a stated water level in the reservoir and the top of dam.

	Gate, slide or sluice
	An operable, watertight valve to manage the discharge of water from the dam.

	Groin
	The area along the intersection of the face of a dam and the abutment.

	Hazard Potential
	The probable damage that would occur if the structure failed, in terms of loss of human life and economic loss or environmental damage.

	Instantaneous Sunny Day Breach
	A condition where there is a dam breach with no concurrent flooding from other sources.  This is considered a dangerous breach event because people are not expecting a flood without a storm or snowmelt.  For modeling purposes, instantaneous means that the full breach of the dam occurs with zero formation time.

	Instrumentation
	An arrangement of devices installed into or near dams that provide measurements to evaluate the structural behavior and other performance parameters of the dam and appurtenant structures.

	Inundation Map 
	A map sufficient in graphic detail and of a scale that clearly shows the downstream inhabited areas and the inundation zones with features and other related information required in section 22a-411a-2(b) of the Regulations of Connecticut State Agencies.

	Outlet Works (principal spillway)
	An appurtenant structure that provides for controlled passage of normal water flows through the dam.  

	Piping
	The progressive development of internal erosion through a dam by water, appearing downstream as a hole or seam discharging water that contains soil particles.

	Probable Maximum, Precipitation (PMP), or Flood (PMF) 
	The theoretically greatest precipitation or resulting flood that is meteorologically feasible for a given duration over specific drainage area at a particular geographical location.

	Riprap
	A layer of large angular rock generally placed on an embankment or along a watercourse as protection against wave action, erosion, or scour.

	Risk
	A measure of the likelihood and severity of an adverse consequence.

	Seepage
	The natural movement of water through the embankment, foundation, or abutments of the dam.

	Slide
	The movement of a mass of earth down a slope on the embankment or abutment of the dam.

	Spillway (auxiliary or emergency)  
	The appurtenant structure that provides the controlled conveyance of excess water through, over, or around the dam.

	Spillway Capacity
	The maximum discharge the spillway can safely convey with the reservoir at the maximum design elevation.

	Spillway Design Flood or “SDF”
	The largest flood that a given structure is designed to pass safely.

	Spillway Crest
	The lowest level at which impoundment water can flow through/over the spillway.

	State Emergency Operations Center (SEOC)
	The State’s coordination center for emergency services during any major emergency affecting the State of Connecticut.

	Structure
	The dam, its appurtenances, abutments and foundation.

	Tailwater
	The body of water immediately downstream of the embankment at a specific point in time.

	Toe of Dam
	The base portion of the impounding structure which intersects with natural ground at the upstream and downstream sides.

	Top of Dam (crest of dam)
	The elevation of the uppermost surface of a dam embankment which can impound water.


Appendix H [Optional]
Abridged EAP for Field Implementation
A recommendation for the contents of the abridged version of this EAP is provided herein.  The abridged EAP includes information essential to implementing the plan during emergency situations.  This does not take the place of the full EAP.  The intent of the abridged EAP is to provide condensed document that can be sent by email, is focused on emergency response and can be used for field reference should this plan be implemented.       

[The abridged version may be provided in electronically on a CD/DVD or flash drive.  The entire document (i.e. narrative, tables and maps) should be contained in one file that is readable on computers and portable devices with non-proprietary software, such as a pdf.  Furthermore, the file size should be less than 5 MB, such that it can be more readily sent by email.]
The following sections of the EAP are recommended to be included in the abridge version:       

· Title Page (Note: The title page of the abridged EAP should include a statement that it is not the full EAP and that the full EAP should be referred to during non-emergency situations)
· Executive Summary

· Roles & Responsibilities
· Guidance Table for Warning Level Determination

· Table of Downstream residents/businesses/schools, etc. …  Impacted by Flood Wave

· Table of Flood Arrival Times & Flood Depths

· Evacuation Routes

· Road Closures
· The Five-Step EAP Process

· Inundation Map
· Appendix A – Resources Available
· Appendix B – Contact Log

· Appendix B-2 – Unusual or Emergency Event Log
· Appendix C-2 – Reservoir  Elevation-Area-Volume & Discharge Capacity Data
This template is provided by the DEEP Dam Safety Section.  However, this format is not required by the Regulation.  This template should be modified, as necessary, to ensure the specific features of the subject dam are accommodated and the resulting EAP is useful and easy to follow.  At a minimum, the information provided in an EAP must meet the requirements of 22a-411a-1 and 2 of the Regulations of Connecticut State Agencies (RCSA).





The dam owner and EAP preparer should coordinate with the agencies who will be responsible for providing emergency services during plan activation when developing this plan and preparing an inundation map.





Some of the information in this template is identified as “Optional” or “Recommended”.  This information is not specifically required by the Regulations.  Items that are optional or recommended may by entire sections of the template or specific statements and guidance within the sections.  It is the responsibility of the dam owner and EAP preparer to read and understand the Regulations.  If there is any question whether specific items in the template are required, the EAP preparer should refer to the 22a-411a-1 and 2 (RCSA). 





The dam owner or person preparing the EAP may also call the DEEP Dam Safety Program at 860-424-3706 with any questions regarding the preparation of their EAP. 





Including recommended sections will help the preparer assemble a complete EAP that will meet the minimum requirements of the regulation. Please also refer to the Checklist and the Questions and Answers document both available on the Dam Safety webpage:  � HYPERLINK "http://www.ct.gov/deep/dams" �www.ct.gov/deep/dams� 











1. NWS Announces Flood Warning, or 2. Unusual Event Slowly Developing





Termination & Follow-up











Save People





Evacuate











Save the Dam





Protective Actions











Continue Monitoring Dam











Notifications





Final Warning List











Notifications





Dam Monitoring List








Notifications





Early Warning List











Final Warning


Urgent;


Dam Failure is Imminent, or is in Progress








Dam Monitoring 


NWS Issues Flood Warning in Area, or


Unusual Event; 


Slowly Developing








Early Warning


Potential Dam Failure Situation; 


Rapidly Developing








Assess Situation & Initiate Dam Monitoring Procedures





Detect Event





Warning Level Determination





Notification & Communication





Expected Actions





Termination & Follow-up





Note: This chart is provided as an example.  It shall be modified, as necessary, by the EAP preparer to reflect the circumstances specific to each dam.




















Dam Owner, Operator or Representative


 [Title (if applicable)]


[Name]


[Phone Number]     (Office)


[Phone Number]     (Home)


      [Phone Number]       (Mobile)





Emergency Management Authority


[Name]


[Phone Number]    (Office)


 [Phone Number]     (Home)


  [Phone Number]     (Mobile)








Dam Owner’s/Operator’s Engineer (If needed)


 [Organization Name]


[Contact Name]


 [Phone Number]    (Office)


 [Phone Number]     (Home)


  [Phone Number]     (Mobile)








(1)





(2)





State Dam Safety Official


CT DEEP





Dam Safety Program 


(8 am – 4:30 pm)





860-424-3706   (Office)











Emergency Management Authority


[Name]


[Phone Number]    (Office)


 [Phone Number]     (Home)


  [Phone Number]     (Mobile)








DEEP Dispatch (24/7)


  


860-424-3333 


  








Dam Owner’s/Operator’s Engineer


 [Organization Name]


[Contact Name]


 [Phone Number]    (Office)


 [Phone Number]     (Home)


  [Phone Number]     (Mobile)








(1)





(3)





(2)





See the Emergency Services Contacts table for contact information for back-ups to the persons shown above and other emergency personnel.  





Dam Owner, Operator or Representative


[Title (if applicable)]


[Name]


[Phone Number]     (Office) [Phone Number]     (Home)


  [Phone Number]     (Mobile)








Note: This chart is provided as an example.  It shall be modified, as necessary, by the EAP preparer to  reflect circumstances specific to each dam. 




















Note: Include CT DOT for state road closures and the local highway department for local road closures. 











[City/Town] Emergency Operations Center (EOC)


[Location]





[City/Town Highway Department] 


 [Phone Number]





[Add other contacts as necessary] 





National Weather Service


508-823-2262


508-824-2714





[City/Town Police Chief]


 [Phone Number]








State Emergency Operations Center (SEOC)


860-566-3180


508-824-2714





CT Department of Transportation (If needed)


860-894-2610


 





[City/Town Chief Executive Officer]


[Phone Number]





See Section 3.3 for prescripted messages.





Note:


1, 2, etc., denotes call sequence








Note: It is possible to have an instantaneous sunny day breach occur. See the Glossary of Terms in Appendix G.





State Dam Safety Official


CT DEEP





Dam Safety Program 


(8 am – 4:30 pm)





860-424-3706    (Office)








Emergency Management Authority


[Name]


[Phone Number]    (Office)


 [Phone Number]     (Home)


  [Phone Number]     (Mobile)








DEEP Dispatch (24/7)


  


860-424-3333


  








Dam Owner’s/Operator’s Engineer


 [Organization Name]


[Contact Name]


 [Phone Number]    (Office)


 [Phone Number]     (Home)


  [Phone Number]     (Mobile)








(1)





(3)





(2)





See the Emergency Services Contacts table for contact information for back-ups to the persons shown above and other emergency personnel.  





Dam Owner, Operator or Representative


[Title (if applicable)]


[Name]


[Phone Number]     (Office) [Phone Number]     (Home)


  [Phone Number]     (Mobile)








Note: This chart is provided as an example.  It shall be modified, as necessary, by the EAP preparer to circumstances specific to each dam. 




















Note: Include CT DOT for state road closures and the local highway department for local road closures. 











[City/Town] Emergency Operations Center (EOC)


[Location]








[City/Town Highway Department]


 [Phone Number]





State Emergency Operations Center (SEOC)


860-566-3180


508-824-2714











National Weather Service


508-823-2262


508-824-2714








[City/Town Police Chief]


 [Phone Number]








CT Department of Transportation


860-894-2610





[City/Town Chief Executive Officer]


[Phone Number]





[Add other contacts as necessary] 





See Section 3.3 for pre-scripted messages.





Note:


1, 2, etc., denotes call sequence











PAGE  

Revision Date: __________ 


