## CSO SUMMARY
This is a summary of the combined sewer overflow data showing approximate number of events and gallons.
UTILITY | TOTAL DAYS OF OVERFLOW | TOTAL # of REPORTS | TOTAL ESTIMATED FLOW IN GALLONS | Ash Creek Events | Ash Creek Volume (Gallons) | Black Rock Harbor Events | Black Rock Harbor Volume (Gallons) | Bridgeport Harbor Events | Bridgeport Harbor Volume (Gallons) | Burr Creek Events | Burr Creek Volume (Gallons) | Cedar Creek Events | Cedar Creek Volume (Gallons) | CT River Events | CT River Volume (Gallons) | Gully Brook Conduit Events | Gully Brook Conduit (Gallons) | Island Brook Events | Island Brook Volume (Gallons) | Johnson's Creek Events | Johnson's Creek Volume (Gallons) | Mill River Events | Mill River Volume (Gallons) | Naugatuck River Events | Naugatuck River (Gallons) | New Haven Harbor Events | New Haven Harbor Volume (Gallons) | North Branch Park River & Conduit Events | North Branch Park River & Conduit Volume (Gallons) | Norwalk River Events | Norwalk River (Gallons) | Park River Conduit and Park River Auxillary Conduit Events | Park River Conduit and Park River Auxillary Conduit Volume (Gallons) | Pequonnock River Events | Pequonnock River Volume (Gallons) | Quinnipiac River Events | Quinnipiac River Volume (Gallons) | Shetucket Events | Shetucket Volume (Gallons) | South Branch Park River Events | South Branch Park River Volume (Gallons) | Thames River Events | Thames River Volume (Gallons) | West River Events | West River Volume (Gallons) | Yellow Mill Pond Events | Yellow Mill Pond Volume (Gallons)
Bridgeport East | 8 | 12 | 3620000 | [16 empty] | 2 | 950000 | [24 empty] | 10 | 2670000
Bridgeport West | 20 | 105 | 65750000 | 10 | 4930000 | 4 | 1570000 |  |  | 16 | 19070000 | 2 | 2230000 |  |  |  |  | 3 | 440000 | [14 empty] | 70 | 37510000
GNHWPCA | 30 | 60 | 13853000 | [18 empty] | 12 | 1895000 |  |  | 15 | 2941000 | [8 empty] | 27 | 6765000 | [6 empty] | 6 | 2252000
MDC | 82 | 50 | 524114000 | [10 empty] | 15 | 80878000 | 1 | 1578000 | [10 empty] | 12 | 280919000 |  |  | 19 | 157095000 | [6 empty] | 3 | 3644000
Norwalk | 0 | 0 | 0
Norwich | 58 | 290 | 928317 | [34 empty] | 218 | 837198 |  |  | 72 | 91119
Waterbury | 0 | 0 | 0
SUMMARY | 198 | 517 | 608265317 | 10 | 4930000 | 4 | 1570000 | 0 | 0 | 16 | 19070000 | 2 | 2230000 | 15 | 80878000 | 1 | 1578000 | 3 | 440000 | 2 | 950000 | 12 | 1895000 | 0 | 0 | 15 | 2941000 | 12 | 280919000 | 0 | 0 | 19 | 157095000 | 70 | 37510000 | 27 | 6765000 | 218 | 837198 | 3 | 3644000 | 72 | 91119 | 6 | 2252000 | 10 | 2670000
|  |  |  | Events Check | 517
|  |  |  | Gallons Check | 608265317
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.
· Reports with zero (0) flow reported are not counted as events, days or flow.
· Total Days Counted are unique days of flow for each permittee. Ex: 7/2 - 7/4 would be 3 unique days. All other reports within that time frame are counted under that one day.
· Total number of reports is unique for each utility as the breakout of how the CSO events are grouped will be different.

## SSO SUMMARY
The first two sections count the number of events and volume amounts for each type of Sanitary Sewer Overflow (SSO) for each municipality and in total | [28 empty] | This secion keeps track of the approximate gallons spilled from SSOs by municipality - a combined total of CSOs and SSOs is on the Reached Water Summary Tab
THIS IS 2025 DATA SUMMARIZED FOR THE 2026 REPORT
Municipality | # of SSO Events | # of NPDES Permitted Bypasses | # ot TOTAL EVENTS | All Events Total Estimated Gallons | # Reached Water | # Excessive Flows - Storm Event | Volume (gallons) Excessive Flows - Storm Event | # Electrical Equipment Failure | Volume (gallons) Eletrical Equipt Failure | # Mechanical Equipment Failure | Volume (gallons) Mech Equipt Failure | # Other - Sewer Break, Crack or Failure | Volume (gallons) Other - Sewer Break, Crack or Failure | # Other - Contractor or Operator Error or other mechanical | Volume (gallons) Other - Contractoror Operator error or other mechanical | # Sewer Line Blockage - Grease | Volume (gallons) Line Blockage - Grease | # Sewer Line Blockage - Rags | Volume (gallons) Line Blockage - Rags | # Sewer Line Blockage - Roots | Volume (gallons) Line Blockage - Roots | # Sewer Line Blockage - Debris (Bricks, Carts,Silt, etc) | Volume (gallons) Line Bolckage - Debris (Bricks, Carts, Silt, etc) | # Sewer Line Blockage - Other | Volume (gallons) Link Bolckage - Other | # Unknown Cause | Volume (gallons) Unknown Cause | Unnamed Waterbody (gallons) | Ash Creek (gallons) | Beaver Brook (gallons) | Betts Brook (gallons) | Bridgeport Harbor / LIS (gallons) | Bruce Brook (gallons) | Byram River (gallons) | Cedar Creek / LIS (gallons) | Connecticut River (gallons) | Cove River (gallons) | Eugene Pond (gallons) | Farmington River (gallons) | Folly Brook Dike (gallons) | Goodwives River (gallons) | Great Swamp (gallons) | Greenwich Cove / Harbor (gallons0 | Gulfstream (gallons) | Gully Brook Conduit (gallons) | Housatonic River (gallons) | Island Brook (gallons) | Keeler Brook (gallons) | Lake Forest Creek (gallons) | Lake Phipps (gallons) | Lake Wackawana (gallons) | Long Island Sound (gallons) | Mad River (gallons) | Mill Brook (gallons) | Mill River (gallons) | Mohegan Brook (gallons) | Moosup River (gallons) | Muddy Gutter Brook (gallons) | Naugatuck River (gallons) | New Haven Harbor (gallons) | Norwalk River (gallons) | Old Field Creek (gallons) | Park River (incl N, S & Conduit) (gallons) | Paulk Hill Brook (gallons) | Pequabuck River (gallons) | Pequannock River (gallons) | Pine Marsh Creek (gallons) | Piper Brook (gallons) | Pomperug River (gallons) | Quinnipiac River (gallons) | Radey Pond (gallons) | Rawlins Brook (gallons) | Rooster River (gallons) | Scantic River (gallons) | Shaw Cove (gallons) | Shetucket River (gallons) | Stamford Harbor East Branch (gallons) | Thames River (gallons) | Tom Brook (gallons) | Trout Brook (gallons) | Troy Brook (gallons) | Two-Mile Brook (gallons) | Union Pond (gallons) | West River (gallons) | Willimantic River (gallons) | Yantic & Yantic West River (gallons) | Yellow Mill Channel (gallons)
Ansonia | 4 | 0 | 4 | 41000 | 2 |  |  |  |  | 4 | 41000 | [70 empty] | 11000
Beacon Falls | 1 | 0 | 1 | 25 | 0 | [16 empty] | 1 | 25
Berlin | 1 | 0 | 1 | 30000 | 0 | [6 empty] | 1 | 30000
Bloomfield (MDC) | 1 | 0 | 1 | 0 | 0 | [8 empty] | 1 | 0
Branford | 1 | 0 | 1 | 30 | 0 | [10 empty] | 1 | 30
Bridgeport | 28 | 16 | 44 | 68160520 | 7 | 16 | 68140000 | [6 empty] | 1 | 500 | 20 | 19070 | 3 | 620 |  |  | 1 | 100 | 2 | 130 | 1 | 100 |  | 500 |  |  | 17890000 | 950 |  | 47250000 | [11 empty] | 500 |  | 500 | [16 empty] | 10020 | [6 empty] | 6000 | [13 empty] | 100
Bristol | 7 | 0 | 7 | 84505 | 2 | [10 empty] | 1 | 50 | 3 | 7450 | 1 | 5 |  |  |  |  | 2 | 77000 | [37 empty] | 77000
Brookfield | 2 | 0 | 2 | 50500 | 0 | [6 empty] | 1 | 10500 | [12 empty] | 1 | 40000
Canton | 1 | 0 | 1 | 950 | 0 | [10 empty] | 1 | 950
Cheshire | 1 | 0 | 1 | 2000 | 1 | [10 empty] | 1 | 2000 | [52 empty] | 2000
Cromwell (Mattabassett) | 3 | 0 | 3 | 2172888 | 3 | 3 | 2172888 | [28 empty] | 2172888
Danbury | 3 | 0 | 3 | 1600 | 1 | [10 empty] | 1 | 1000 | 2 | 600 | [31 empty] | 100
Darien | 2 | 0 | 2 | 150 | 1 | [6 empty] | 1 | 60 | [12 empty] | 1 | 90 | [13 empty] | 90
Derby | 3 | 0 | 3 | 2833030 | 2 |  |  | 1 | 583000 | [6 empty] | 1 | 30 | [8 empty] | 1 | 2250000 | [18 empty] | 2833000
East Hampton | 2 | 0 | 2 | 10950 | 1 | [6 empty] | 1 | 9750 | [12 empty] | 1 | 1200 | [30 empty] | 1200
East Hartford (MDC) | 3 | 0 | 3 | 300 | 0 | [10 empty] | 2 | 200 |  |  |  |  | 1 | 100
East Haven (GNHWPCA) | 2 | 0 | 2 | 108 | 0 | [10 empty] | 2 | 108
East Windsor | 1 | 0 | 1 | 380000 | 1 | [20 empty] | 1 | 380000 | [8 empty] | 380000
Enfield | 1 | 0 | 1 | 33000 | 1 | [6 empty] | 1 | 33000 | [60 empty] | 33000
Fairfield | 2 | 0 | 2 | 1650 | 2 | [8 empty] | 1 | 1500 |  |  | 1 | 150 | [32 empty] | 1500 | [14 empty] | 150
Farmington | 1 | 0 | 1 | 4500 | 0 | [6 empty] | 1 | 4500
Glastonbury | 2 | 0 | 2 | 525 | 0 | [10 empty] | 1 | 25 |  |  | 1 | 500
Griswold (Jewett City) | 1 | 0 | 1 | 5 | 0 |  |  | 1 | 5
Greenwich | 3 | 0 | 3 | 7600 | 3 | [6 empty] | 2 | 5500 | [12 empty] | 1 | 2100 | 2100 | [5 empty] | 3000 | [8 empty] | 2500
Groton | 6 | 0 | 6 | 305 | 3 |  |  |  |  | 2 | 40 | 1 | 5 |  |  | 1 | 100 |  |  |  |  | 2 | 160 | [54 empty] | 45
Hamden (GNHWPCA) | 4 | 0 | 4 | 729 | 1 | [6 empty] | 1 | 300 |  |  | 2 | 54 | 1 | 375 | [35 empty] | 300
Hartford (MDC) | 12 | 52 | 64 | 612306750 | 57 | 53 | 612290090 |  |  |  |  | 2 | 1900 |  |  | 1 | 800 |  |  |  |  | 3 | 9790 | 4 | 1170 | 1 | 3000 | [8 empty] | 612297700 |  |  |  | 900 |  |  |  |  | 3000 | [17 empty] | 2800
Harwinton | 1 | 0 | 1 | 100 | 0 | [8 empty] | 1 | 100
Killingly | 2 | 0 | 2 | 170 | 0 |  |  |  |  | 1 | 120 | [6 empty] | 1 | 50
Lisbon | 1 | 0 | 1 | 1000 | 0 | [6 empty] | 1 | 1000
Manchester | 5 | 0 | 5 | 4800 | 1 | [12 empty] | 3 | 4000 | 1 | 500 |  |  |  |  | 1 | 300 | [55 empty] | 500
Meriden | 1 | 0 | 1 | 75 | 0 | [10 empty] | 1 | 75
Milford | 3 | 0 | 3 | 170 | 0 | [10 empty] | 1 | 100 |  |  | 2 | 70
Montville | 4 | 0 | 4 | 950 | 1 |  |  |  |  | 1 | 200 | 2 | 500 |  |  |  |  | 1 | 250 | [36 empty] | 200
Naugatuck | 4 | 0 | 4 | 16500310 | 2 | 1 | 10500000 | 1 | 6000000 |  |  |  |  | 1 | 10 | [6 empty] | 1 | 300 | [35 empty] | 16500000
New Britain | 3 | 0 | 3 | 2090 | 0 | [10 empty] | 2 | 590 | 1 | 1500
New Haven (GNHWPCA) | 8 | 44 | 52 | 100791323 | 44 | 44 | 100789200 |  |  |  |  | 1 | 75 |  |  | 4 | 1869 |  |  |  |  | 1 | 90 | 1 | 19 | 1 | 70 | [32 empty] | 100789200
New London | 2 | 0 | 2 | 673970 | 1 | [8 empty] | 1 | 50 | 1 | 673920 | [57 empty] | 673920
New Milford | 1 | 0 | 1 | 500 | 0 | [10 empty] | 1 | 500
Newtown | 1 | 0 | 1 | 500 | 1 | [8 empty] | 1 | 500 | [63 empty] | 500
North Haven | 4 | 0 | 4 | 1895 | 0 | [6 empty] | 1 | 500 | 1 | 450 | 1 | 900 |  |  | 1 | 45
Norwalk | 6 | 0 | 6 | 50266 | 5 |  |  |  |  | 1 | 48800 | 2 | 971 | 1 | 200 | 1 | 110 | 1 | 185 | [11 empty] | 110 | [16 empty] | 48800 | [12 empty] | 1156
Norwich | 15 | 0 | 15 | 1661946 | 7 | 1 | 500 |  |  | 1 | 0 | 4 | 1552886 | 3 | 107342 | 1 | 200 | 4 | 800 | [6 empty] | 1 | 218 | [48 empty] | 940833 |  | 54600 | [7 empty] | 665513
Orange | 6 | 0 | 6 | 2365 | 0 |  |  |  |  | 1 | 45 | 2 | 1350 |  |  |  |  | 1 | 20 |  |  | 1 | 500 | 1 | 450
Plainfield | 7 | 0 | 7 | 2310 | 2 |  |  | 2 | 1000 | [6 empty] | 2 | 110 | 1 | 50 |  |  | 1 | 850 | 1 | 300 | [28 empty] | 500 |  |  | 500
Plymouth | 4 | 0 | 4 | 310 | 1 | [10 empty] | 1 | 200 | 2 | 60 | [6 empty] | 1 | 50 | [10 empty] | 50
Ridgefield | 1 | 0 | 1 | 2500 | 1 | [6 empty] | 1 | 2500 | [28 empty] | 2500
Rocky Hill (MDC) | 1 | 0 | 1 | 90 | 0 | [6 empty] | 1 | 90
Seymour | 1 | 0 | 1 | 1 | 0 | [20 empty] | 1 | 1
Shelton | 3 | 0 | 3 | 750 | 0 | [10 empty] | 1 | 250 |  |  |  |  | 2 | 500
Simsbury | 4 | 0 | 4 | 1190 | 1 | 1 | 250 | [10 empty] | 1 | 15 |  |  |  |  | 2 | 925 | [13 empty] | 900
South Windsor | 4 | 0 | 4 | 2397 | 3 |  |  | 1 | 520 | 1 | 777 | [12 empty] | 2 | 1100 | [10 empty] | 2397
Southbury | 2 | 0 | 2 | 2170 | 1 | [10 empty] | 2 | 2170 | [51 empty] | 1920
Southington | 2 | 0 | 2 | 27 | 0 | [6 empty] | 1 | 2 |  |  |  |  | 1 | 25
Stafford | 1 | 0 | 1 | 10000 | 1 |  |  |  |  | 1 | 10000 | [73 empty] | 10000
Stamford | 3 | 0 | 3 | 7596 | 1 |  |  | 1 | 7291 | 1 | 300 | [12 empty] | 1 | 5 | [51 empty] | 7291
Stonington | 1 | 0 | 1 | 9 | 0 | [18 empty] | 1 | 9
Suffield | 1 | 0 | 1 | 750 | 1 |  |  |  |  | 1 | 750 | [60 empty] | 750
Thomaston | 1 | 0 | 1 | 500 | 0 | [6 empty] | 1 | 500
Tolland | 1 | 0 | 1 | 200 | 1 | [6 empty] | 1 | 200 | [50 empty] | 200
Torrington | 4 | 0 | 4 | 3100 | 2 | [12 empty] | 2 | 800 | [6 empty] | 2 | 2300 | [16 empty] | 500 | [36 empty] | 300
Trumbull | 2 | 0 | 2 | 95 | 0 | [6 empty] | 2 | 95
Waterbury | 5 | 0 | 5 | 2105 | 3 |  |  | 1 | 25 | [6 empty] | 1 | 50 |  |  | 1 | 30 | 1 | 1250 |  |  | 1 | 750 |  |  | 1250 | [22 empty] | 800
Waterford | 1 | 0 | 1 | 100 | 0 | [6 empty] | 1 | 100
West Hartford | 22 | 0 | 22 | 36063520 | 14 | 15 | 36038980 | [6 empty] | 1 | 90 | 5 | 24360 | [8 empty] | 1 | 90 | [40 empty] | 21208000 | [11 empty] | 14854800
West Haven | 7 | 0 | 7 | 645 | 4 |  |  |  |  | 1 | 100 | 1 | 65 |  |  | 4 | 380 | [6 empty] | 1 | 100 | [11 empty] | 80 | [12 empty] | 100 | [11 empty] | 100 | [21 empty] | 65
Windsor (MDC) | 3 | 0 | 3 | 25180 | 1 |  |  |  |  | 1 | 25000 |  |  |  |  | 2 | 180 | [21 empty] | 25000
Windsor Locks | 1 | 0 | 1 | 3600 | 0 | [16 empty] | 1 | 3600
Woodbury | 1 | 0 | 1 | 30000 | 1 | [14 empty] | 1 | 30000 | [49 empty] | 30000
Woodridge (GNHWPCA) | 1 | 0 | 1 | 30000 | 0 |  |  |  |  | 1 | 30000
SUMMARY | 249 | 112 | 361 | 842005195 | 188 | 134 | 829931908 | 8 | 6591841 | 18 | 157132 | 34 | 1656349 | 13 | 110742 | 66 | 730381 | 29 | 16950 | 8 | 31150 | 16 | 17265 | 16 | 4208 | 19 | 2757269 | 2100 | 500 | 1250 | 110 | 17890000 | 950 | 3000 | 47250000 | 614852985 | 80 | 50 | 25900 | 900 | 90 | 2500 | 2500 | 500 | 3000 | 2833000 | 500 | 48800 | 500 | 100 | 100 | 1500 | 800 | 500 | 300 | 200 | 500 | 1200 | 16500000 | 100789200 | 1156 | 100 | 2800 | 200 | 77000 | 10020 | 150 | 21208000 | 1920 | 2000 | 30000 | 750 | 6000 | 33000 | 673920 | 940833 | 7291 | 54645 | 500 | 14854800 | 300 | 11000 | 500 | 65 | 10000 | 665513 | 100
The 2 towns highlighted in RED include 2 small reports that were not closed by the time this report was finalized in February 2026. | [6 empty] | Event Count | 361
[7 empty] | Gallons Count | 842005195
[29 empty] | TOTAL REACHED WATER: |  | 838806178
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.

## REACHED WATER SUMMARY
This secion keeps track of the approximate gallons spilled by municipality - a combined total of CSOs and SSOs
Municipality | Unnamed Waterbody (gallons) | Ash Creek (gallons) | Beaver Brook (gallons) | Betts Brook (gallons) | Black Rock Harbor / LIS (gallons) | Bridgeport Harbor / LIS (gallons) | Bruce Brook (gallons) | Burr Creek (gallons) | Byram River (gallons) | Cedar Creek / LIS (gallons) | Connecticut River (gallons) | Cove River (gallons) | Eugene Pond (gallons) | Farmington River (gallons) | Folly Brook Dike (gallons) | Goodwives River (gallons) | Great Swamp (gallons) | Greenwich Cove / Harbor (gallons0 | Gulf Stream (gallons) | Gully Brook Conduit (gallons) | Housatonic River (gallons) | Island Brook (gallons) | Johnsons Creek (gallons) | Keeler Brook (gallons) | Lake Forest Creek (gallons) | Lake Phipps (gallons) | Lake Wackawana (gallons) | Long Island Sound (gallons) | Mad River (gallons) | Mill Brook (gallons) | Mill River (gallons) | Mohegan Brook (gallons) | Moosup River (gallons) | Muddy Gutter Brook (gallons) | Naugatuck River (gallons) | New Haven Harbor (gallons) | Norwalk River (gallons) | Old Field Creek (gallons) | Park River (incl N, S & Conduits) (gallons) | Paulk Hill Brook (gallons) | Pequabuck River (gallons) | Pequannock River (gallons) | Pine Marsh Creek (gallons) | Piper Brook (gallons) | Pomperug River (gallons) | Quinnipiac River (gallons) | Radey Pond (gallons) | Rawlins Brook (gallons) | Rooster River (gallons) | Scantic River (gallons) | Shaw Cove (gallons) | Shetucket River (gallons) | Stamford Harbor East Branch (gallons) | Thames River (gallons) | Tom Brook (gallons) | Trout Brook (gallons) | Troy Brook (gallons) | Two-Mile Brook (gallons) | Union Pond (gallons) | West River (gallons) | Willimantic River (gallons) | Yantic & Yantic West River (gallons) | Yellow Mill Channel (gallons)
Ansonia | [57 empty] | 11000
Beacon Falls
Berlin
Bloomfield (MDC)
Branford
Bridgeport |  | 4930500 |  |  | 1570000 | 17890000 | 950 | 19070000 |  | 49480000 | [11 empty] | 440500 | 950000 |  | 500 | [16 empty] | 37520020 | [6 empty] | 6000 | [13 empty] | 2670100
Bristol | [40 empty] | 77000
Brookfield
Canton
Cheshire | [45 empty] | 2000
Cromwell (Mattabassett) | [10 empty] | 2172888
Danbury | [26 empty] | 100
Darien | [15 empty] | 90
Derby | [20 empty] | 2833000
East Hampton | [33 empty] | 1200
East Hartford (MDC)
East Haven (GNHWPCA)
East Windsor | [10 empty] | 380000
Enfield | [49 empty] | 33000
Fairfield | [27 empty] | 1500 | [14 empty] | 150
Farmington
Glastonbury
Griswold (Jewett City)
Greenwich | 2100 | [7 empty] | 3000 | [8 empty] | 2500
Groton | [53 empty] | 45
Hamden (GNHWPCA) | [30 empty] | 300
Hartford (MDC) | [10 empty] | 693175700 |  |  |  | 900 |  |  |  |  | 1581000 | [18 empty] | 441660800
Harwinton
Killingly
Lisbon
Manchester | [58 empty] | 500
Meriden
Milford
Montville | [31 empty] | 200
Naugatuck | [34 empty] | 16500000
New Britain
New Haven (GNHWPCA) | [30 empty] | 1895000 |  |  |  |  | 103730200 | [9 empty] | 6765000 | [13 empty] | 2252000
New London | [50 empty] | 673920
New Milford
Newtown | [54 empty] | 500
North Haven
Norwalk |  |  |  | 110 | [19 empty] | 48800 | [12 empty] | 1156
Norwich | [51 empty] | 1778031 |  | 145719 | [7 empty] | 665513
Orange
Plainfield | [29 empty] | 500 |  |  | 500
Plymouth | [12 empty] | 50
Ridgefield | [16 empty] | 2500
Rocky Hill (MDC)
Seymour
Shelton
Simsbury | [13 empty] | 900
South Windsor | [10 empty] | 2397
Southbury | [44 empty] | 1920
Southington
Stafford | [60 empty] | 10000
Stamford | [52 empty] | 7291
Stonington
Suffield | [47 empty] | 750
Thomaston
Tolland | [39 empty] | 200
Torrington | [18 empty] | 500 | [37 empty] | 300
Trumbull
Waterbury |  |  | 1250 | [25 empty] | 800
Waterford
West Hartford | [43 empty] | 21208000 | [11 empty] | 14854800
West Haven | [11 empty] | 80 | [13 empty] | 100 | [11 empty] | 100 | [21 empty] | 65
Windsor (MDC) | [13 empty] | 25000
Windsor Locks
Woodbury | [46 empty] | 30000
Woodridge (GNHWPCA)
SUMMARY | 2100 | 4930500 | 1250 | 110 | 1570000 | 17890000 | 950 | 19070000 | 3000 | 49480000 | 695730985 | 80 | 50 | 25900 | 900 | 90 | 2500 | 2500 | 500 | 1581000 | 2833000 | 440500 | 950000 | 48800 | 500 | 100 | 100 | 1500 | 800 | 500 | 1895300 | 200 | 500 | 1200 | 16500000 | 103730200 | 1156 | 100 | 441660800 | 200 | 77000 | 37520020 | 150 | 21208000 | 1920 | 6767000 | 30000 | 750 | 6000 | 33000 | 673920 | 1778031 | 7291 | 145764 | 500 | 14854800 | 300 | 11000 | 500 | 2252065 | 10000 | 665513 | 2670100
| TOTAL GALLONS REACHED WATER: |  |  | 1447071495
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.