## Slide 1: Redistribution Considerations for Pfizer & BioNTech’s COVID-19 Vaccine
December 11, 2020
For global document, need to change footer.

## Slide 2
01
02
03
04
05
06
07
08
09
10
11
12
Why Transport or Redistribute Vaccine?
Overview
Points of Distribution (POD) Responsibilities
Vial & Tray Requirements
Storage Options
Redistribution Overview
Packaging Specifications
Temperature Change Considerations
Assembling Packing & Redistribution Supplies
Preparing to Transport or Ship
Transporting or Shipping
Receiving

## Slide 3: Why Transport or Redistribute Vaccine?
Pfizer does not recommend redistribution of Pfizer & BioNTech’s COVID-19 vaccine as part of regular operations because of increased risks to the vaccine. Understanding that redistribution may be required and encouraged by local regulatory authorities, Pfizer has provided the following guidance to reduce the risks to the vaccine during redistribution.
Potential redistribution example scenarios:
Transport to an off-site or satellite clinic
Transport to remote communities with lower population density
Transport to long term care facilities (LTCF)
Transport to another site to avoid wastage
Pharmacy to hospital/clinics
Distributor/wholesaler to ultimate point of use (POU)

## Slide 4: The purpose of this document is to provide key considerations around Pfizer & BioNTech’s COVID-19 vaccine candidate (BNT162b2) to assist vaccine planning personnel and coordinators with the deconsolidation1 and redistribution of the vaccine. This information is provided for educational purposes only, to assist under extraordinary pandemic conditions if redistribution cannot be avoided. Pfizer does not oversee or control deconsolidation1 or redistribution after delivery and any redistribution is being taken solely at the redistributor's risk and responsibility.
Deconsolidation1 and redistribution scenarios in this document include:
Shipping full trays (195 vials per tray) at:
‑90ºC to ‑60ºC (-130ºF to ‑76ºF) freezer temperature
2 – 8 ºC (35.6° to 46.4°F) refrigeration temperature
OR
2-8°C
Shipping individual vials or full trays at:
1Breaking down the vaccine trays into smaller, portable packaging for redistribution or taking full trays and distributing at 2 to 8 degrees C temperatures. In addition, taking full trays and redistributing at ULT temperatures.
Specific considerations unique to these two scenarios have been called out separately where applicable. If they have not been called out separately, considerations are applicable for both.
If vials are removed from frozen conditions, they should be transported at refrigeration temperatures (2 – 8 ºC).
Overview

## Slide 5: Points of Distribution (POD) Responsibilities
Deconsolidating the Thermal Shipper (container that vaccines arrive in) and trays into smaller, portable packaging for redistribution.
Identifying their own shipping container and temperature monitors that meet the cold storage requirements of Pfizer & BioNTech’s COVID-19 vaccine for redistribution.
Transporting vaccines in the POD’s own packaging using their own selected carriers.
Ensuring all ancillary supplies, education materials, and EUA fact sheets required to administer the vaccine are also redistributed.
Transporting diluents with their corresponding vaccine (in separate containers due to unique storage requirements) so there are always equal amounts of vaccines and diluents for reconstitution. Diluent storage and handling requirements should always be adhered to by PODs when transporting and redistributing.
A POD is a site that directly receives a vaccine shipment from Pfizer and then chooses to redistribute part of all the of shipment to another location responsible for administering the vaccines.

## Slide 6: Vial & Tray Requirements
Frozen vials should be stored upright whenever possible. It is understood the vials may roll around in the trays when being moved in and out of frozen storage.
Caution should be taken while handling frozen vial trays to avoid damage to vials.
It is recommended that whenever possible that frozen vials are transported in unopened, full cartons.
During transportation, frozen vials that are unsecured could become damaged.
Do not open the vial trays or remove vials until you are ready for thawing or use.
Vials & Trays
Thawed vials should be kept upright during refrigerated storage.
An appropriate container should be used to minimize the potential for vials to be jostled. If vials are inadvertently bumped, they should be righted, however the risk to the product is minimal and vials which are temporarily knocked over may still be used.
Vials are glass and should be handled with care. Visual inspection prior to use should be carried out.
Thawed vials should be securely packed when transported.

## Slide 7: Storage Options
2-8°C
The original packaging that the vaccine arrives in – the Thermal Shipper – maintains a temperature range of -90ºC to -60ºC (-130ºF to 76ºF). Storage within this temperature range is not considered an excursion from the recommended storage condition.
Vial removal from trays should be done directly from the thermal shipper.
The Thermal Shipper may be used as temporary storage for up to 30 days from delivery.
Pfizer Thermal Shipper
Ultra Low Temperature Freezer (ULTF)
Refrigerator
Vials should be stored in a ULTF between -80ºC and -60 ºC (-112°F to -76°F), protected from light and kept in the original packaging.
Vials are stable for up to 6 months at -80ºC to -60ºC after the expiration date on the vial and tray.
Vials are stable for up to 5 days (120 hours) at 2-8ºC.
CAUTION: During the unpacking process, you might feel resistance when trying to remove the box that holds the vial trays. Do not apply force to remove the box. Use the 2 bands wrapped around each vial tray to remove the trays from the thermal shipping container.

## Slide 8: Redistribution Overview: Full Trays at ULT Freezer Temps
Thermal Shipper Arrives at Point of Delivery (POD) at -90ºC to -60ºC
Trays are deconsolidated (vials should not be removed from trays) and re-packaged for transport at -90ºC to -60ºC to Points of Use (POU)
1
3
4
Vaccines are transported at -90ºC to -60ºC by courier/transport provider to POU
Container arrives at POU(s)
Trays are transferred to ULT freezer(s) at -80ºC to -60ºC
6
5
More details around each step are provided on the following slides.
2
Trays are stored at freezer temperature (-90ºC to -60ºC in the Thermal Shipper or at -80ºC to -60ºC in a ULT freezer) until ready for redistribution

## Slide 9: Redistribution Overview: Vials or Trays at Refrigeration Temps
Thermal Shipper Arrives at Point of Delivery (POD) at -90ºC to -60ºC
Individual vials or full trays are deconsolidated and re-packaged for transport at 2-8ºC to Point(s) of Use (POU)
1
3
4
Vaccines are transported at 2-8ºC by courier/transport provider to POU
Container arrives at POU(s)
Vaccines are transferred to refrigerator at POU(s) at 2-8°C
6
5
More details around each step are provided on the following slides.
2
Trays are stored at freezer temperature (-90ºC to -60ºC in the Thermal Shipper or at -80ºC to -60ºC in a ULT freezer) until ready for redistribution until ready for redistribution
2-8°C

## Slide 10: Specifications for Pfizer & BioNTech’s COVID-19 Vaccine Candidate (BNT162b2) Packaging
Vials
Trays
Thermal Shipper
2 mL type 1 glass preservative free multi-dose vial (MDV)
MDV has 0.45 mL frozen liquid drug product
5 doses per vial after dilution
Single tray holds 195 vials
975 doses per tray
Minimum 1 tray (975 doses) or up to 5 trays (4875 doses) stacked in a payload area of the shipper
Payload carton submerged in dry ice pellets
Thermal shipper keeps ULT -90ºC to -60ºC (-130ºF to -76ºF) up to 10 days if stored at 15°C to 25°C (5° to 77°F) temperatures without opening
Thermal shippers are reusable and designed to be temporary storage containers for up to 30 days from delivery, by replenishing dry ice every 5 days. It is recommended that the thermal shipping container not be opened more than 2 times a day, and shouldn’t be opened for more than 3 minutes at a time.
Dry Ice Pod Holds the top layer of dry ice.
Vial Trays Vial trays look like small pizza boxes. Each vial tray contains multiple dose vials. Each thermal shipping container will have up to 5 vial trays inside.
Box that Holds the Vial Trays Box within the thermal shipping container that includes the vial trays. This box has handles and can be fully removed from the thermal shipping container.
Foam Lid Top foam lid that includes an embedded temperature monitor device and remains connected to the box.
Thermal Shipping Container Outer box of the thermal shipping container.

## Slide 11: Pfizer & BioNTech’s COVID-19 Vaccine Candidate (BNT162b2) Temperature Change Considerations
Ultra Low Temperature Freezer (ULTF)
-80ºC to -60 ºC (-112°F to -76°F)
or Thermal Shipper
-90ºC to -60ºC (-130ºF to 76ºF)
2-8°C Container
Once vaccine has been thawed, it should not be re-frozen.
SAMPLE SCENARIO
A point of delivery (POD) has several trays of vaccine stored in an ultra low temperature freezer (ULTF). An immunizer assigned to vaccinate at a local long term care facility (LTCF) picks up 5 vials for the day that will be transported in a portable 2-8°C container from the POD. At the end of the day, she returns the unused, undiluted vials to the POD to be stored at 2-8°C. These vials can not be re-frozen.

## Slide 12: Assembling Packing & Redistribution Supplies
General Guidelines
Only full trays (195 vials) should be redistributed at freezer temperatures
Individual vials and trays must be redistributed at 2-8ºC, subject to the following recommended actions
Trays or cartons that house the vials should be designed as small as possible so that vials are packaged securely and should protect the product from the distribution environment.
Tray or carton materials should be capable of withstanding exposure to the product’s required temperature setting.
Consider robust materials for packaging, specifically to withstand dry ice transport and condensation.
Tray should be able withstand the weight of the vials it is intended to transport.
If intended to carry by hand, consider final weight of packaging for those who will be transporting the vaccines.
It is recommended that protection and security devices (i.e. seals) be incorporated into all packaging to prevent tampering.
If using Phase Change Material (PCM) coolant, fire testing/storage capacity constraints should be considered.
Whenever possible, use packaging that has been tested to industry standards.

## Slide 13: Assembling Packing & Redistribution Supplies
Redistribution Container Considerations
When selecting a thermal container for redistribution, ensure the packaging is fit for purpose and meets the Pfizer & BioNTech COVID-19 vaccine cold chain requirements.
It’s recommended that thermal containers have been tested against recognized standards (i.e. ISTA, ASTM). Make sure the containers and pack-outs are qualified to meet the required temperatures.
Payload area needs to be capable of accommodating a thermal/insulated glove to remove the product.
Coolant is typically dry ice for this type of container.
  Avoid liquid nitrogen as a coolant, which can damage the vials and stoppers. Consider inner thermal packaging material that can withstand the condensation of dry ice.
Provide dangerous goods training on handling dry ice.
Vials should never be in direct contact with dry ice.
Consider freezer & refrigerator capabilities to condition coolant media (i.e. gel packs or PCM).
If using PCM, conduct appropriate testing/storage related to fire concerns (EHS).
Considerations if Shipping Full Trays in Freezer
(-90° to -60°C)
2-8°C
Considerations if Shipping Vials or Trays in Refrigerator (2° to 8° C)

## Slide 14: Assembling Packing & Redistribution Supplies
Temperature Monitoring Devices
Temperature monitoring devices are critical to ensure awareness of the vaccine temperature at all times.
When selecting a temperature monitoring device for redistribution packaging, be sure to follow local board of health guidelines. See appendix for list of temperature monitoring device vendors.
Do not use Pfizer’s temperature monitoring device included in the Thermal Shipper for redistribution
High & low temperature alarms
LCD Indicators (alarm or OK)
Current temperature reading or method for accessing temperature requirements
Integration to data analysis software (software compliant with 21 CFR Part 11 Systems)
Recording interval with a minimum of every 15 minutes
Start-up delay option
Certified by the local governing body in charge of temperature monitoring and standards
Considerations for Temperature Monitoring Devices that Adhere to Good Practice (GxP) Requirements:
Probe or probeless
  Some probeless temperature monitoring devices stop displaying temperature and require the display to acclimate to ambient temperatures before reading for dry ice shipments.
  If re-icing is occurring, make sure if using probes, the temperature monitors are properly secured to ensure appropriate readings.
If using a -90° to -60°C container, the temperature monitoring device should have a minimum -90°C temperature measurement range. Make sure when you are selecting a device that it’s capable of monitoring a wider temperature range than the required storage conditions.

## Slide 15: Preparing to Transport or Ship
General Guidelines
Portable vaccine refrigerator and freezer units are considered the best option for vaccine transport. Portable vaccine refrigerator and freezer units that have built-in temperature regulation are optimal.
Vials should be stored upright whenever possible. It is understood the vials may roll around in the trays when being moved in and out of storage.
Thawed vials should be securely packed when transported.
Caution should be taken while handling frozen vial trays to avoid damage to vials.
Temperature tracking logs/alarms should be put in place for full trays and loose vials during transfer activities, pack-out, deconsolidation and redistribution.
If transporting in a container with dry ice, avoid direct contact of paperboard materials with dry ice. Vials should never be in direct contact with dry ice.

## Slide 16: Preparing to Transport or Ship
General Guidelines (continued)
Do not submerse vials in cold water or ice water bath.
Visible ice formation on outside of thermal container may be an indication of internal temperatures exceeding low range of –90°C.
Point of Distribution (POD) should leverage their existing handling and packaging expertise and POD Standard Operating Procedures (SOPs) and protocols for transport preparation.
Meeting cold storage requirements of product at distribution center is essential.
Vials must be transported un-diluted. Do not transport vials after dilution.
Select appropriate mode of transportation based on final weight of packaging.
Avoid leaving containers in areas where they are exposed to direct sunlight.

## Slide 17: Preparing to Transport or Ship
Transferring full trays to an Ultra-Low Temperature (ULT) container (-90° to -60°C)
Trays that arrive in frozen trays with 195 vials – which are kept closed – should not be at room temperature for longer than 5 minutes.
Before repacking the vials into another thermal shipping container for transport, bring the vials back to -90° to -60°C (ULTF or Pfizer Thermal Shipper) before transferring to new container.
Pfizer does not recommend the re-use of its Thermal Shipper for redistribution due to the potential for damage to the container and to ensure that it is returned no later than 30 days after receipt.
A centralized ultra low temperature freezer (ULTF) point of distribution (POD) receives vaccine shipment in a Pfizer Thermal Shipper then after a few days redistributes some quantity to another site with a ULTF.
EXAMPLE

## Slide 18: Preparing to Transport or Ship
Transferring vials or full trays to a refrigerated container (2° to 8°C)
Based on current stability studies, a tray of 25 vials or 195 vials may take up to 2 or 3 hours to thaw in the refrigerator, respectively, whereas a fewer number of vials will thaw in less time. Vials may be stored in the refrigerator for up to 5 days (120 hours).
If less than a full tray is repacked for redistribution, POD will need to provide smaller packaging unit that is transported via reputable courier or a temperature control vehicle (TCV).
Repacking should be done in a 2° to 8°C environment whenever possible. Otherwise, time at room temp should be tracked and minimized to stay within the 2-hour allowance for room temperature.
If using 2° to 8°C for transportation, POD needs to have a process to ensure that the 12 hours available for transportation at 2° to 8°C is not exceeded.
The 12 hours available for transportation should be included as part of the total allowable 120 hours of product stability at 2° to 8°C.
EXAMPLE
A centralized ultra low temperature freezer (ULTF) point of distribution (POD) receives vaccine shipment in a Pfizer Thermal Shipper then after a few days redistributes to a rural area or point of use (POU) with a 2° to 8°C refrigerator.
2-8°C

## Slide 19: Preparing to Transport or Ship
Labeling of Packaging for Shipping
Ensure appropriate United Nations Number markings as indicated in the IATA Dangerous Goods Regulations are indicated on the outside of the packaging based on the type of battery used for the temperature monitoring device.
If shipping in a -90° to -60°C using dry ice, thermal container should be marked with Dry Ice UN1845.

## Slide 20: Transporting or Shipping
General Guidelines
Product packaging for transportation or shipping
  An appropriate container should be used to minimize the potential for vials to be jostled. If vials are inadvertently bumped, they should be righted, however the risk to the product is minimal and vials which are temporarily knocked over may still be used.
  If being transported outside of original trays, vials must be packaged securely to avoid breakage and to prevent vials from rolling during transport.
  It is recommended that whenever possible that frozen vials are transported in unopened, full cartons.
  Product should be stored in an insulated container filled with dry ice or gel packs. Vials should avoid direct contact with dry ice.
  Packaging should include a temperature monitoring device in/on the insulated container as required by local health boards
During transportation, frozen vials that are unsecured could become damaged.
Thawed vials should be kept upright during refrigerated storage.

## Slide 21: Transporting or Shipping
General Guidelines (continued)
Rough handling of the thermal shipping container is linked to excessive sublimation of dry ice cooling below -90°C (if dry iced is used)
Temperature should be controlled and monitored during transportation
Action/review required in case of incident during transportation (e.g. temp deviation, off-road, unexpected box opening, delay, etc.)
Ensure that commercial courier/transport provider is licensed to provide commercial transportation and has experience in handling pharmaceutical products/dry ice (if dry ice is used)
In remote locations or where infrastructure is limited, drones could be a mode of transport for redistribution ensuring appropriate testing.

## Slide 22: Transporting or Shipping
Temperature Control Vehicle (TCV) Shipping When Available
TCV or refrigerated truck should maintain temperature at 15-25°C throughout transport
2-8°C container should be used in addition to the TCV maintaining temperature
Ideally, same day service is used with an insulated container filled with dry ice or gel packs to ensure product is kept at the right temperature (max 12 hours transportation time at 2-8°C)
TCV or refrigerated truck can be used for both larger shipments to direct points and milk runs (defined routes with drop-offs at specific points) and deliveries for large or small shipments to multiple points
Tracking
Shipment tracked through TCV or device GPS tracking capabilities for real-time shipment status milestones and alerts
HUB
CLINIC 4
CLINIC 1
“Milk Run”
CLINIC 3
CLINIC 2
Notes: A Milk Run is a delivery method used to transport mixed loads from various suppliers to one customer. Instead of each supplier sending a truck every week to meet the needs of one customer, one truck (or vehicle) visits the suppliers to pick up the loads for that customer. This method of transport got its name from the dairy industry practice, where one tanker used to collect milk from several dairy farms for delivery to a milk processing company.

## Slide 23: Transporting or Shipping
Parcel Shipping When TCV Shipping Not Available
Expedited transportation service with an insulated container containing dry ice / gel packs to ensure product is kept at the right temperature
Commercial Couriers/Integrators – Same day or earliest next day delivery service is ideal or fastest available delivery service
Consider the level of delivery service that the site needs for visibility and event response
Tracking
Shipment tracked through traditional courier/integrator tracking services to ensure on-time delivery and exception response

## Slide 24: Transporting or Shipping
Air Transport
Air transport of thawed vials at 2-8°C on pressurized and unpressurized aircraft
  Vials must be securely packed in a 2-8°C temperature controlled container appropriate for use on an aircraft
  On unpressurized flights, temperature-controlled containers must maintain 2-8°C even if the outside air temperature is < 2°C to prevent the vials from refreezing.
2-8°C
Air transport of frozen vials at -60 to -80°C on dry ice
  Follow FAA (Federal Aviation Administration) / IATA (International Association of Transportation Authorities) guidelines for shipping dry ice on aircrafts.
  The equilibrium temperature of dry ice changes as a result of air pressure. Unpressurized aircraft transporting the vaccine on dry ice should not exceed an altitude of 25,000 feet in order to maintain the vaccine within the labeled storage condition.

## Slide 25: Receiving
General Guidelines
Confirm the receiving point of use (POU) has the necessary ancillary supplies to support vaccine storage and administration.
Ensure the receiving POU is staffed appropriately and able to administer the vaccine within the stability timeline.
Prior to redistribution and accounting for transport time, make sure there will be enough product stability time left for the receiving POU to be able to administer the vaccine.
Clearly communicate with receiving POU on exact time of vaccine delivery to ensure readiness.
Receiving POU must be an authorized COVID-19 vaccine site by local health boards.

## Slide 26: Receiving
Storage Considerations at point of use (POU)
While planning the redistribution strategy, ensure receiving POU has the appropriate ability and capacity to store product at the necessary temperature.
Check vaccine temperature upon arrival at the receiving POU and store vaccines at recommended temperatures immediately.
If there is a temperature excursion, please contact Pfizer using this link.
Immediately upon arrival at the receiving POU, vaccines should be stored in an appropriate storage unit with a temperature monitoring device. Follow these guidelines for monitoring and recording storage unit temperature:
  If the device displays min/max temperatures, this information should be checked and recorded.
  If the device does not display min/max temperatures, then the current temperature should be checked and recorded a minimum of two times (at the start and end of the workday).
If vaccines cannot be stored in an on-site storage unit, they should be kept in the portable vaccine storage unit using the following guidance:
  Place a temperature monitoring device (preferably with a probe in a thermal buffer) as close as possible to the vaccines, and check and record temperatures hourly.
  Keep the container closed as much as possible.
Returning Leftover Vaccine
Follow local health board guidelines for storing vaccine at temporary or off-site locations. Some local health boards may require all unused/undiluted vaccine be returned to a registered hub site at the end of the day for longer-term storage.

## Slide 27: Appendix

## Slide 28: Placeholder: Secondary Packing & Redistribution Supplies
West Rock | www.westrock.com
American Container | www.acontainers.com
Green Bay Packaging | www.gbp.com
Keystone Folding Co | www.keyboxco.com
Industrial Plastics Belgium | www.iplast.be
This content is provided to share information and is not an endorsement of individual companies

## Slide 29: Temperature Monitoring Device Suppliers
Elpro | https://www.elpro.com/applications/pharma-logistics/
Berlinger | https://www.berlinger.com/temperature-monitoring/products-hardware/productdetail/product/show/Produkt/q-tag-clm-doc-d/
Cryopak | https://www.cryopak.com/temperature-monitors/data-loggers/iminiplus-dry-ice/
Hanwell | https://hanwell.com/hanwell-icespy-wireless-temperature-monitoring/
Logmore | https://www.logmore.com/
LS Technology | https://www.loggershop.co.uk
Oceasoft | https://www.oceasoft.com/
Omega | https://www.omega.com/en-us/control-and-monitoring-devices/data-loggers/temperature-and-humidity-data-loggers/p/OM-CP-CRYO-TEMP-Logger
Onset | https://www.onsetcomp.com/intemp
Sensitech | https://www.sensitech.com/en/products/monitors/conventional/
TipTemp | https://www.tiptemp.com/Products/Cyrogenic-Temperature-Recorders/APSREC001-Single-Use-Dry-Ice-Recorder.html
This content is provided to share information and is not an endorsement of individual companies

## Slide 30: Placeholder: Thermal Shipper Suppliers
Softbox | https://www.softboxsystems.com/
Cold Chain Technologies | https://www.coldchaintech.com/
Sofrigam | https://sofrigam.com/en
Pelican Biothermal | https://pelicanbiothermal.com/
va-Q-tec | https://va-q-tec.com/en/
Sonoco Thermosafe | https://www.thermosafe.com/
AeroSafe | https://www.aerosafeglobal.com/
This content is provided to share information and is not an endorsement of individual companies

## Slide 31: Placeholder: Transport Suppliers
FedEx | https://www.fedex.com/
UPS | https://www.ups.com/
Marken | https://www.marken.com/
World Courier | https://www.worldcourier.com/
This content is provided to share information and is not an endorsement of individual companies