REPORT OF THE SANITARIAN INSPECTION

OF LICENSED INFIRMARY IN AN EDUCATIONAL INSTITUTION

- GENERAL INFORMATON

D/B/A Name of the Infirmary:  ____________________________________________________

Infirmary Telephone #:  __________________________	   Date of Inspection:  ____________

School Name: __________________________________________________________________

School Address: ________________________________________________________________

Name & Title of Person(s) Interviewed:

Contact Person at School (For Sanitarian Purposes):  __________________________________

II.	HOUSKEEPING EQUIPMENT & MAINTENANCE

Housekeeping Services

Provided by the School: ____________________	Outside Contractor:  _________________

Housekeeping Services

Provided by an Outside Contractor:  ___________	Outside Contractor: __________________

Maintenance Services

Provided by the School:  ___________________	Outside Contractor: ___________________

Name & Address of Outside Contractor:  ____________________________________________

Comment on Cleanliness of Premises & state of repair of equipment:  _____________________

______________________________________________________________________________

III.  PHYSICAL PLANT

Temperature of hot water within the facility ____________(required range = 110 F to 120 F)

Water Supply

Public ___________	Private Well _______________	Type of Well:  __________

For Private water supply provide the Date of last bacteriological exam:  ___________________

If above is greater than six months collect sample on this visit:

Provision for Emergency Lighting:

Battery Backup ____________________	Generator:  ________________________________

System tested this visit:  ________________________________

Bathroom Facilities:

Toilets, Showers, Sinks cleaned & disinfected daily:  _________________________________

Comment on general cleanliness & state of repair:  ____________________________________

Type of Ventilation:  ___________________________________________________________

If windows, inspect screen on this visit:  ______________________________________

Sewage Disposal

Sanitary sewers ______________	Subsurface sewage disposal system (SSSD) ____________

For SSSD provide

Frequency of Cleaning ______________	Documentation reviewed: ___________________

Disposal of pumping by licensed contractor:  _______________________________________

Name & Address of Licensed Contractor:  _________________________________________

Inspected for overflow:  _________________________________________________

Refuse Disposal

Storage without nuisance or hazard _______________	Site of final disposal:  ___________

Frequency of Collection, from the Infirmary_______________	From the school __________

Provision for medical waste disposal ________________________________________________

IV.  DIETARY FACILITIES

Refrigeration available in infirmary for food storage __________	Temperature _____________

Type of food prepared in infirmary:  Snacks _______    Light meal _______  Main meal ______

Food prepared in school kitchen _________________________________________________

(N.B Food Service Inspection Form to be attached) ____________________________________

Potentially hazardous food meet temperature requirements during transportation to & storage in infirmary.

Dishwasher in infirmary _________________	Temp.____________   C12 ____________

Disposable single service dishes used ________________________________

V.  LAUNDRY

Laundry services provided by school ______________________________________________

Water Temperature _________________	Sorting space adequate _____________________

Comment on cleanliness of laundry equipment _____________________________________

Name & address of outside contractor for laundry services ____________________________

Linen storage in infirmary

Clean in separate area __________________	Soiled in separate area _________________

VI.  SAFETY

Comment on pesticide storage & use in infirmary

Name & address of school pest control contractor ___________________________________

Is pest control program appropriate?  _______________________________________________

Is there evidence of vermin?  _____________________________________________________

VIII.  SUMMARY

CHECK ONE

[    }  This infirmary DOES NOT meet all applicable aspects of the local & state sanitary codes

and the following violations are noted:

Deadline for correction:  ___________________		Re-Inspection Planned  __________

(date)

Re-Inspection done _____________

The following recommendations are also made:

Or

[    ]  I certify that this infirmary meets all applicable aspects of the local & state sanitary codes.

Recommendations:

Signature ____________________________________________________________________

Name (Print) _________________________________________________________________

Title ________________________________________________________________________

Department ___________________________________________________________________

Address ______________________________________________________________________

_______________________________________________________________________

Phone Number ________________________________________________________________