## Header P25
| 4D | No
Site Code | George Washington Univ. Hosp | Yes
Site Name | Fletcher Johnson
Address | Georgetown Univ. Hosp.
City | One Judiciary Sq.
State | Reeves Ctr.
Zip Code | Rhode Island
Estimated time of completion | Sibley Hospital
St. Elizabeth's Hospital
Project Contact Name | UDC Bldg. 41
Company:
Tel:
Email
Location of Equipment (Room Number/Floor)
Donor Site
BDA Equipment Brand & Model
DAS Equipment Brand & Model
Number of Remote Units
Is there a commercial DAS Radio System?
Is there another private DAS Radio System (building management/security)?

## CheckList P25
Site Code: |  |  | 0
Site Name |  |  | 0
Address |  |  | 0
Item | Check | Document | The vendor shall
Site address |  | Header tab | Provide that information in the "Header P25" tab
Project PM contact info |  | Header tab | Provide that information in the "Header P25" tab
Lead Installer/Integrator BDA vendor certificate |  | pdf | Attach a pdf file as evidence of that certificate
Lead Installer/Integrator DAS vendor certificate |  | pdf | Attach a pdf file as evidence of that certificate
Construction permit |  | pdf | Attach a pdf file as evidence of that permit
Donor site(s) identified |  | Header Tab | Provide that information in the "Header P25" tab
Location of equipment (room number) |  | Header tab | Provide that information in the "Header P25" tab
BDA Equipment Brand & Model |  | Header tab | Provide that information in the "Header P25" tab
DAS Equipment Brand & Model |  | Header tab | Provide that information in the "Header P25" tab
Number of Remote Units |  | Header tab | Provide that information in the "Header P25" tab
Pre-existing coverage test (if applicable) |  | pdf | Attach a pdf file as evidence of that coverage.
Battery Back up calculations |  | Word/Excel | Attach a file showing the relevant calculations for the selected battery backup configuration
Statement Battery Emergency generator-when installed |  | Word/Excel | Attach a file
CTS Uplink Evaluation Spreadsheet (attached to tech rqts) |  | Excel | Attached for to update with project specifics
Link budgets downlink |  | Excel | Attach a file with the relevant information
Network Layout with labeling (Riser diagram): |  | pdf | Attach pdf file showing the design
Floor Plans |  | pdf | Attach a file with the relevant information including: - the location of donor anatenna - the name of donor site -the location of the distribution antennas - a ruler that allows to obtain a scale of the floorplan for each floor - the cable path
Coverage maps (1 for each floor) |  | pdf | Attach a pdf file as evidence of that coverage. The downlink coverage plots shall show coverage for one channel assuming 12 channels transmitting on each band.
BOM |  | Excel/Word/pdf | Attach file with the relevant information
Equipment Specifications Documentation
Donor antenna |  | pdf | Provide the spec sheets and selected configuration if applies
Surge protector |  | pdf | Provide the spec sheets and selected configuration if applies
Splitters/couplers |  | pdf | Provide the spec sheets and selected configuration if applies
RF cables |  | pdf | Provide the spec sheets and selected configuration if applies
BDA |  | pdf | Provide the spec sheets and selected configuration if applies
Fiber Head end (if applicable) |  | pdf | Provide the spec sheets and selected configuration if applies
Fiber remote (if applicable) |  | pdf | Provide the spec sheets and selected configuration if applies
DAS antenna |  | pdf | Provide the spec sheets and selected configuration if applies
Batteries |  | pdf | Provide the spec sheets and selected configuration if applies
Are there commercial BDA installed? |  | Header | If yes detail
Are there private BDA installed? (building mgt or security) |  | Header | If yes detail
Intermod calculations (if other radio system) |  | pdf | Attach a file showing the relevant calculations
Local shutdown solution |  | Pdf/Word | Provide detailed solution