ITEM #1113431A - #16 AWG, 6 TWISTED PAIR, COMMUNICATION CABLE

ITEM #1113434A - #16 AWG, 6 TWISTED PAIR, FIGURE 8, COMMUNICATION CABLE

Article M.16.14 - Control Cable

3 - Cable  Add the following:

The communication cable shall be solid conductor, shielded, twisted pair with 600 V polyethylene insulation and polyethylene jacket. The 6 Pair Overhead cable shall be figure 8 type with 6650 lb. test, integral messenger and shall conform in all respects to IMSA Specification 20-4. The 6 Pair cable shall conform in all respects to IMSA Specification 20-2. The Contractor shall furnish a manufacturers warranty that the cable is resistant to damage and deterioration by sustained contact with greases and oil.

Article 11.13.03 - Construction Methods Add the following:

Communication cable shall be installed in new and existing conduit, handholes, attached to utility poles or supported on messenger as shown on the plans or as directed by the Engineer. Communication cable shall be installed continuously without splices from termination point to termination point. Cable termination shall be only on an approved termination panel inside the controller cabinet and on terminal blocks inside a cable closure (type A). All cable pairs that enter a controller cabinet and the cable closure shall be terminated as shown on the typical installation plan The pair numbers and colors for traffic signal interconnect are shown on the plans.

The pair overhead cable shall be attached to utility poles indicated on the plans in accordance with the Communications Cable Attachment List. It shall be the Contractors responsibility to coordinate his activities on a continuing basis with each of the involved utility companies. A minimum of 12” (300mm) clearance shall be maintained above the highest existing communication cable (Frontier Communications [formerly AT&T] or CATV). A minimum of 40” (1000mm) clearance shall be maintained below the lowest power cable (Eversource [formerly Northeast Utilities] or United Illuminating) attachment.

The sag shall match that of the next lower communication cable. In no case shall the figure 8 communication cable be allowed to sag into or near existing cables. A Chicago Grip No.1659 or equivalent shall be used to grip the jacketed messenger when pulling and tensioning the figure 8 cable. At corners and ends, the strand shall be dead-ended with strandvises. At corners, the strand shall be cut and the polyethylene jacket removed from the strand. The ends of the strand coming through the chuck of both strandvises shall be overlapped and bonded together using a bolt guy clamp (J1061) or equivalent. At cable closure locations the strand shall be cut and the jacket removed from a sufficient length of strand. A strand vise shall be installed to reattach the strands. This will provide slack in the conductors to properly connect to the terminal blocks without the use of jumpers.

At closures where there is a full cable cut but no branch circuit, bond all the cable shields together.

At branch circuit closures bond the shields of all cables that enter cable closures and ground the shield in the cabinet as shown on the typical installation plan.

Where the support strand will be connected to a vertical grounding conductor and there is no closure near the pole, only the jacket of the strand shall be removed. The jacket around the shield shall not be cut. At the end of each workday notify the electric company to complete the connection to the vertical ground.

Provisions shall be made such that in the event of a cabinet knockdown, wherein accidental overvoltage conditions could be produced in the interconnect cable; the location experiencing the problem will be isolated. No other location shall be damaged. In addition, protective devices shall be furnished and installed by the Contractor to positively isolate and protect the system against damage from lightning.

Article 11.13.04 - Method of Measurement:  Add the following:

3.	The quantity of communication cable to be paid for under these items shall be the actual number of linear feet (meters) of the cable specified, installed, tested, terminated at the points specified, and accepted in place.

Article 11.13.05 - Basis of Payment:  Add the following:

- Communication Cable shall be paid for at the contract unit price per linear foot (meter) for "#16 AWG, (Type), Communication Cable" which price shall include furnishing, installing, connecting and testing the communication cable of the type specified. The price shall also include standoff brackets; grounding and bonding hardware; overvoltage and lightning protection; furnishing all labor, tools, materials, equipment, storage, transportation and other incidentals necessary to complete the work.

Pay Item	 Pay Unit

#16 AWG, (Type), Communication Cable	 L.F. (m)