SECTION 1.07 – LEGAL RELATIONS AND RESPONSIBILITies

Article 1.07.13 – Contractor's Responsibility for Adjacent Property, Facilities and Services is supplemented as follows:

The following company and representative shall be contacted by the Contractor to coordinate the protection of their utilities on this project 30 days prior to the start of any work on this project involving their utilities:

| Mr. Britton Wilson | Mr. Shawn McComiskey |
| --- | --- |
| District 1 Electrical Supervisor | District 2 Electrical Supervisor |
| Department of Transportation | Department of Transportation |
| Hartford, Connecticut | Colchester, Connecticut |
| (860) 566-3156/3157 | (860) 537-8942/8943 |

| Mr. Arnold Ozols | Mr. Gabriel Gonzalez |
| --- | --- |
| District 3 Electrical Supervisor | District 4 Electrical Supervisor |
| Department of Transportation | Department of Transportation |
| Milford, Connecticut | Southbury, Connecticut 06488 |
| (203) 878-1869 | (203) 264-9590 |

| Mr. | Mr. |
| --- | --- |
| Cablevision of Connecticut | Eversource |
| , CT 06 | , CT 06 |
| (203) | (860) |

| Mr. | Mr. |
| --- | --- |
| Frontier Communications | United Illuminating |
| , CT 06 | , CT 06 |
| (860) | (203) |

The following Department representative shall be contacted by the Inspector or Field Engineer to coordinate an inspection of the service entrance into the controller/flasher cabinet for controllers within the State right-of-way. The request for inspection shall include digital field photos of the service conduit and grounding that has been installed (refer to Section 10.00 for complete list of required field photos). When ready for inspection, the Contractor should be present for the release of the connection of electrical service. The local Building Department shall be contacted for electrical service inspections for controllers located on Town roads located within the respective municipality.

Property & Facilities

Department of Transportation

Newington, CT 06111

DOT.BUILDINGCODEINSP@CT.GOV

Please provide the electrical service request number provided by the power company. This is a Work Request (WR) Number provided by Eversource (formerly Northeast Utilities [CL&P]) or a Work Order Number provided by United Illuminating (UI). For State-owned traffic signals in Eversource territory, contact the Department’s Traffic Electrical Unit to obtain the WR Number.  For State-owned traffic signals in UI territory, contact the Department’s Traffic Electrical Unit to obtain a Request for Metered Service to provide to UI to obtain the Work Order Number. The street address is required for release to local power companies (Groton Utilities or Wallingford Electric).