NOTICE TO CONTRACTOR – RECENT REVISIONS

The Contractor is hereby notified that the following Traffic Engineering Special Provisions have been revised:

Section 1.07 – Legal Relations and Responsibilities

- Included digital field photos of conduit runs and grounding to the service inspection requirements.

Section 1.08 – Prosecution and Progress

- Added language regarding underground utility mark outs.

Section 10.00 – General Clauses for Highway Illumination and Traffic Signal Projects

- Clarified deliverables to include an additional copy of wiring diagrams and schematics left in the cabinet.

- Included conduit in trench to the required digital field photos.

0980020A – Construction Surveying

- Added language indicating the contractor is responsible for hiring a professional underground utility locator, when necessary.

1017032A – Service (Metered)

- Added language to include Eversource’s new metered service requirements.

1107011A – Accessible Pedestrian Signal and Detector Type A

- Updated references to latest edition of MUTCD.

- Added pushbutton is to be within 10” maximum lateral reach of a pedestrian in the ramp landing area

- Extended the maximum length for extension brackets to 24”.

110600XA – Pedestrian Signal Countdown

- Updated references to MUTCD.

111711XA – Rectangular Rapid Flashing Beacon (RRFB) Type A&B

- Revised the warning message in accordance with latest edition of MUTCD.

- Added pushbutton is to be within 10” maximum lateral reach of a pedestrian in the ramp landing area

- Extended the maximum length for extension brackets to 24”.

The Contractor is hereby notified that the following Traffic Engineering Guide sheets are included:

GS_Light Standard and Foundation

- Added bracket lengths and updated foundation and grounding detail.

TR-1002_01 – Traffic Control Foundations

- Extending the minimum depth for pedestal foundations from 30” to 36”.