NOTICE TO CONTRACTOR – eversource METERED SERVICE

The Contractor is hereby notified that all service installations in Eversource territory will require the installation of an electric meter, unless otherwise noted on the plan(s). Any fees for service materials and equipment that are to be furnished and installed by Eversource shall be confirmed by the contractor and included in the price for item #1017032A – SERVICE (METERED). Refer to the special provision for pertinent details.