CONNECTICUT DISTRIBUTED GENERATION POLICY WORKING GROUP

REGULAR MEETING AGENDA

Tuesday, March 29, 2022

9:00 AM – 11:00 AM

Location: Microsoft Teams

9:00 AM – 9:05 AM		Introduction and Adoption of Meeting Minutes

UI Hosting Capacity Map Presentation - Hosting Capacity - (uinet.com)

- UI gave demonstration on its new PV hosting capacity maps

- The maps are geared towards PV deployment

- Peak loads tend to be between 5-8 p.m. but can depend on customer mix along a particular circuit

- Took 20-30% of peak to calculate minimum daytime loading

- Section-level information does not include projects in queue; feature may be added at a future date

- HCM upgrades involving GIS databases can take longer to implement because they require manual work/data cleansing

- Maps currently do not show back-feeding from one circuit to another through a connected bus

- Three constraint categories: thermal, voltage, and reverse flow

- The map does not show what is causing capacity restrictions, could be a simple fix or could be more complicated

- Noel asked whether there was any way to mitigate costs of impact studies because in Massachusetts, 200kW rooftop systems are triggering impact studies

  - UI responded that the cost of impact studies have come down over time but because projects can be so location specific

- HCM does not currently show substations but UI will look into adding

  - Members commented that Eversource recently added substations to their HCM

- Noel stated that having a list of substations that are at or near capacity would also be helpful

- UI intends to update the HCM on a quarterly basis but is looking for ways to leverage automation to increase update frequency

  - Celia stated that monthly updates would be most helpful

Non-residential Cost Sharing

- Working Group members agree that the proposal should go to PURA

- Need to determine form and content of proposal

Action Items

- Working Group members to submit details regarding non-residential cost sharing proposal