## FixtureStandards
State or Entity | Year Passed* | Year took Effect* | Toilets | Showerheads | Urinals | Res Lavatory Faucets | Res Kitchen Faucets | Public Lav Faucet | Requires WaterSense Sprinkler Spray Bodies | Condition | Link(s) | Notable Strengths | Arguable Weakness
National | 1992 | 1994 | 1.6 gpf | 2.5 gpm | 1.0 gpf | 2.2 gpm | 2.2 gpm | 2.2 gpm | N/A | N/A | Code of Federal Regulations
WaterSense | WaterSense launched 2006 |  | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | N/A | N/A |  |  | WaterSense Specifications
California | 2015 | 2016 | 1.28 gpf | 1.8 gpm | 0.125 gpf | 1.2 gpm | 1.8 gpm (2.2 boost) | 0.5 gpm | Yes | "..sold or offered for sale…" | CA Title 20, section 1605.3 |  | Faucet and showerhead flow rates arguably too low.
Colorado | 2019 | 2021 | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 1.8 gpm (2.2 boost) | 0.5 gpm | Yes | "...prohibits the sale of… unless they are WaterSense-listed…" & "...Sold as new in Colorado.." | SB 14-103 | Tied to WaterSense
HB 19-1231
Georgia | 2010 | 2012 | 1.28 gpf | 2.5 gpm | 0.5 gpf | 1.5 gpm | 2.0 gpm | 0.5 gpm | No | Toilets point of sale, all other fixtures new construction. | SB 370 | Tied to WaterSense
Illinois (Lake Michigan Permitees only) | 2014? | 2014 | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | N/A | N/A | No | "The adoption of ordinances requiring that new and replacement plumbing fixtures be a labeled WaterSense product, as specified by USEPA." | Title 17 | Tied to WaterSense | Only pertains to Lake Michigan Basin, vague language.
Texas | 2009 | 2014 | 1.28 gpf | 2.5 gpm | 0.5 gpf | 2.2 gpm | 2.2 gpm | 2.2 gpm | No | "A person may not sell, offer for sale, distribute, or import into the State of Texas a plumbing fixture for use in the state unless the plumbing fixture meets the water saving performance standards..." | Title 30
Vermont | 2018 | 2020 | 1.6 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 1.8 gpm (2.2 boost) | 0.5 gpm | Yes | "The rules shall provide for the following minimum efficiency standards for products sold or installed in this State" | Title 9 Chapter 074 |  | Toilets at 1.6 gpf
Washington | 2019 | 2021 | 1.28 gpf | 1.8 gpm | 0.125 gpf | 1.2 gpm | 1.8 gpm (2.2 boost) | 0.5 gpm | Yes | "This chapter applies to the following types of new products sold, offered for sale, or installed in the state" | RCW 19.260.040 |  | Tied to California Standards. Faucet and showerhead flow rates arguably too low.
Nevada | 2019 | 2020 | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | N/A | N/A | No | "Additionally, each county and city shall prohibit by ordinance the sale and installation..." &"...construction begins on or after January 1, 2020, and each existing residential, commercial or industrial structure which is expanded or renovated on or after January 1, 2020" | NRS 278.582 | Tied to WaterSense | This law is not the clearest in terms of how it is structured and its applicability
New York | 2019 | 2022 | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 2.2 gpm | 0.5 gpm | No | "...distribute, sell, offer for sale, import or install…" | A2286 | Comprehensive set of conditions
Hawaii | 2019 | 2021 | 1.6 gpf | 1.8 gpm | 1.0 gpf | 1.2 gpm | 1.8 gpm (2.2 boost) | 0.5 gpm | Yes | "...products sold or installed in the State." | HB 556 |  | Tied to California Standards. No toilets/Urinals. Faucet and showerhead flow rates arguably too low. Toilets at 1.6 gpf
*Some states have standards from different years. For example, Colorado passed its initial laws in 2014 and they became effective in 2016. Recent standards for faucets and sprinkler spray bodies were adopted in 2019 and are effective 2021.
**Faucet flow rates are at 60psi.
***Showerhead flow rates are at 80 psi, except New York and Georgia which list 80 psi.

## WaterLoss
State | Audits Required | AWWA Software Required | Frequency | Validation Required | Technical Assistance | Leak detection required? | Leak correction? | Law Link
Georgia | Yes | Yes | Annual | Yes | Yes | Yes | Yes | Rule 391-3-33
Indiana | Yes | Yes | Annual | Yes | Yes | Yes | No | SA No. 4
Washington | Yes | No | Annual | Yes | Yes | Yes | Yes | WAC 246-290-820
Wisconsin | Yes | No | Annual | No | Yes | Yes | Yes | PSC 185.85
Arizona* | Yes | No | Annual | No | Yes | No | Yes | Currently Unavailable
Nevada | Yes | Yes | Annual | No | No | No | No | NRS 704.6622
Texas | Yes | No | Annual | No | Yes | Yes | Yes | Section 358.6
California** | Yes | Yes | Retailers = Annual Wholesalers = Every 5 Years | Retailers = Yes Wholesalers = No | Yes | No | No | SB-555
Colorado | Colorado Water Loss Initiative
*Arizona law currently unavailable. The state is undertaking a large effort via the Arizona M36 Water Loss Technical Assistance Program Pilot
https://new.azwater.gov/sites/default/files/AZ%20PIlot%20WLTAP%20FINAL%20Report.pdf
**California is in the process of adopting ground breaking volumetric water loss performance standards .
https://www.waterboards.ca.gov/water_issues/programs/conservation_portal/docs/waterlosscontrol/2020/proposed_waterloss_overview_14april2020.pdf

## Landscape
State or Entity | Description | Link
Georgia | Water Stewardship Act (SB 370) includes statewide outdoor watering restrictions. Watering is allowed daily but only between the hours of 4 p.m. and 10 a.m. | Water Stewardship Act (SB 370)
| Adoption and Implementation of Outdoor Watering Schedules Document | Watering Schedule Guidance Document Link
California | State prohibits: - Hosing off sidewalks - Watering lawns in a manner that causes runoff, or within 48 hours after measurable precipitation | Executive Order B-40-17
Southwest Florida Water Management District | Watering Restrictions for a regional water management authority. Twice per week watering. | SWFWMD Restrictions
Irrigation Association | Model Irrigation Ordinance | Ordinance Webpage
Massachusetts | List of Outdoor Water Use Restrictions for Cities, Towns, and Golf Courses in MA (not state-level restrictions, just tracking) | MA City and Town Restrictions
Texas Living Waters | Water Conservatoin by the Yard: Statewide Analysis of Outdoor Water Savings Potential in Texas with a focus on local restrictions | Document Link